REPUBLIC OF TAJIKISTAN

CASA 1000 COMMUNITY SUPPORT PROJECT (CSP)

ENVIRONMENTAL AND SOCIAL MANAGEMENT FRAMEWORK (ESMF)

December 13, 2018

Table of Contents

List of Abbreviations & Acronyms	3

Executive Summary	4

I. 	Project Context	8

II. 	Project Description	9

III.	Policy and Regulatory Framework	12

3.1.       National Legal Framework for Environmental Protection and Assessment	12

3.1.1.	Relevant National Laws and Regulations and International Treaties				 12

3.1.2.	National Laws and Regulations on Environmental Protection					 12

3.1.3.  National Legislation and International Conventions Pertaining to Forced Child and Adult Labor	 17

3.2.        World Bank Environmental Assessment Requirements	17

3.3         Comparison of National and World Bank EA requirements	18

IV. 	Baseline Analysis	20

V.	Potential Environmental and  Social Impacts and Proposed Mitigation Measures	20

5.1.	Potential negative environmental and social impacts							20

5.2.	Proposed EHS mitigation measures									25

5.3.        Social Risks											27

VI.	Objectives, Stakeholders and Institutional Arrangements	27

6.1. Project Implementation & EA responsibilities					        28

VII. ESMF Implementation: Steps & Procedure	29

7.1.       ESMF Implementation at the Subproject Level	29

7.2.     Site screening to identify the environmental and social impacts of new 10 kV lines (transmission lines) to be installed under Component 1A	35

7.3.      Ensuring labor safety during oil testing and handling of transformer PCBs			                37

VIII. 	Environmental Supervision, Monitoring & Reporting	42

IX.      Citizen-Centric Mechanisms For Implementation	43

9.1.     Public outreach											 43

9.2.     ESMF disclosure and public consultations								 43

9.3.     Managing Feedback and Grievance Redress for Effective Implementation				               44

9.4.     Communication & Process										 46

9.5.     World Bank Grievance Redress									 47

9.6.     Community Monitoring										 48

X.	Capacity building for EA activities	48

XI.	Funding for EA activities									 49

Annexes

Annex 1. Villages in COI of CASA-1000 TL	50

Annex 2. Baseline Environmental & Social Analysis	53

Annex 3. Environmental Screening Checklist 	65

Annex 4. Social Screening checklist	72

Annex 5. Results of environmental and social screening	73

Annex 6. Environmental and Social Impact Assessment Report Outline	  74

Annex 7. Environmental and Social Management Plan Containt and Format	                                                             75

Annex 8. Environmental & Social Management Checklist for Small Construction and Rehabilitation Activities	 79

Annex 9. Basic guidelines on consultations									 93

Annex 10. Voluntary Land Donation Form									 94

Annex 11. Example of Template for Grievance Redress Log							 95

Annex 12. Minutes of consultations with interested parties on draft Environmental and Social Management

Framework												96

# List of Abbreviations & Acronyms

| ACM | Asbestos-containing materials |
| --- | --- |
| BP | Bank Procedures (World Bank) |
| BT | Barki Tojik |
| BT PMU | Barki Tojik CASA 1000 Project Management Unit |
| CEP | Committee for Environmental Protection |
| CDD | Community-Driven Development |
| DEP | Department on Environmental Protection |
| DRS | Districts under Republican Subbordination |
| EE | Ecological Expertise |
| EHS | Environmental, Health and Safety issues |
| ESIA | Environmental & Social Impact Assessment |
| EA | Environmental Assessment |
| ESMP | Environmental and Social Management Plan |
| ESMF | Environmental and Social Management Framework |
| ES PMU | Energy Sector PMU under the Ministry of Energy and Water Resources |
| FI | Financial Institution |
| GP | Good Practice (World Bank) |
| GOT | Government of Tajikistan |
| GFP | Grievance Focal Point |
| GRM | Grievance Redress Mechanism |
| IDA | International Development Association / World Bank |
| IP | Indigenous Peoples |
| IR | Involuntary Resettlement |
| JPC | Jamoat Project Commission |
| M&E | Monitoring and Evaluation |
| MIS | Management information system |
| NGO | Non-Governmental Organization |
| NSIFT | National Social Investment Fund of Tajikistan |
| OP | Operational Policies (World Bank) |
| O&M | Operations & Maintenance |
| PAP | Project Affected Person |
| PCR | Physical Cultural Resources |
| PDO | Project Development Objective |
| PMC | Project Management Consultants (same as Supervision Consultants) |
| PMU | Project Management Unit |
| PIU | Project Implementation Unit |
| PFI | Participating Financial Institution |
| RPF | Resettlement Policy Framework |
| RAP | Resettlement Action Plan |
| PCBs | Polychlorinated biphenyls (in power transformer oil) |
| SEE | State Ecological Expertise |
| PSC | Project Supervision Consultants |
| TA | Technical Assistance |
| VPC | Village Project Committee |
| WB | World Bank |
| WUA | Water User Association |

# Executive Summary

- Project Development Objective. The Project Development Objective is to increase quality of and access to energy, social and economic infrastructure services, and contribute to the strengthening of local governance capacity in communities in the project area.

- Project Location and Beneficiaries. The project will be implemented in all villages that lie within the CASA1000 corridor of impact (CoI), defined as 1.5 kilometres from either side of the CASA1000 Transmission Line (TL). The CASA-1000 TL extends from Sugdh province in the north bordering the Kyrgyz Republic to Khatlon province in the south. There are 60 villages in the CoI, traversing 24 Jamoats and 14 districts (2 in Sughd Province, 4   in RRS and 8 – in Khatlon region). In addition, the project will support target areas in Isfara district, in Sughd province and the enclaves and border villages near the CASA1000 TL in the Kyrgyz Republic. It is estimated that 130,000 people live within the CoI, and 73,000 in target areas in Isfara. At the institutional level, Barki Tojik, the Energy Sector PMU, NSIFT, 24 Jamoat Councils/Administrations and over 60 community-based organizations will benefit from the project through capacity building aligned with their institutional responsibilities.

- Project Description. As described in the CASA1000 Project Appraisal Document (component 3), the Community Support Projects, in each of the four CASA1000 countries, will adopt a community-driven development (CDD) approach, through which communities prioritize their needs, select sub-projects to be implemented, and directly implement or monitor sub-project implementation. Through this process and the associated capacity building, the proposed project will also support the development of local governance in target areas. It will consist of four Project components: Component 1 “Support for Rural Electricity Supply Improvements” (Barqi Tojik/ES PMU) will support investments to subcomponent 1A on Village Power Supply Improvements, subcomponent 1B Isfara substation (construction and reinforcement of 110/10 kV, Barki Tojik distribution networks, including lines and substations, and supply networks to new Makhala) and Rural Village Electricity Improvements in Border areas (construction and reinforcement of 110/10 kV, connection to 110 kV line distribution networks, including lines and substations. This will also include adjustment infrastructure to connect new Makhala Vahdaat, system expansion and reinforcement in Makhala Vahdaat). Additionally the subcomponent 1C will support Energy-related Project Management, M&E and Communications; Component 2 “Community-led Investments in Socio-Economic Infrastructure” (NSIFT for (2A)Subgrants to communities in CoI; Facilitating Partner for (2B)	Subgrants to communities in Border areas) will finance subgrant allocations to Jamoats to support priority small-scale socio-economic infrastructure investments at village-level, in the corridor of Impact and in the Border areas; Component 3 “Support for Community Mobilization and Local Capacity Building” (NSIFT) will support community mobilization and local capacity building in the COI and Isfara target areas; and Component 4 “Project management, and monitoring and evaluation, and communications” (NSIFT)  will finance the incremental costs of NSIFT for overall project coordination, management and supervision of implementation, procurement, financial management, including project audits, and the overall MIS.

- Potential Environmental and Social Impacts. Potential environmental impacts could be associated with noise, dust, air and water pollution, solid waste management, biodiversity degradation. Possible social risks and impacts could include: misplaced expectations of benefit-sharing from local communities residing outside of the jamoats through which the CoI passes, depriving individuals of land and other assets in the guise of voluntary donations, health hazards, and labor issues (including relying on child labor for agricultural activities). Such possible impacts are typical for small scale construction/rehabilitation works for different infrastructures and various energy supply or energy efficiency activities. They tend to be site specific and temporary by nature and can be easily mitigated by applying national laws and World Bank safeguards requirements, and by ensuring sufficient capacity-building and technical assistance is provided to implementing agencies and community organizations responsible for subproject implementation, effective communication and awareness-raising, and a functional project grievance redress mechanism.

- Project Environmental Category. This is a category B project as per World Bank safeguard policies and procedures (OP/BPGP 4.01 on Environmental Assessment). Since the CSP is a community-driven development project, it is not possible to identify subprojects and their specific environmental and social impacts in advance of the communities’ planning and prioritisation process. The environmental assessment will therefore follow a framework approach as outlined in this document. Per World Bank OP/BP 4.01 requirements, the ESMF will require a simple and/or a partial Environmental and Social Assessment and/or preparation of an Environmental and Social Management Plan for subprojects to be selected for further financing. Furthermore, it is expected the selected subprojects will not be located in protected areas, critical habitats or culturally or socially sensitive areas. This will be ensured during the subprojects screening and the ESIA process. Category A subprojects that may cause significant environmental impacts will not be eligible for support and are specified in the “negative list” included in the ESMF and in the Project Operations Manual (POM). The OP 7.50 on International Waters is triggered as the project will finance sub-projects which may affect international waterways: rehabilitation of on-farm irrigation and rural water supply and sanitation subprojects. These investments are expected to involve only rehabilitation of existing networks within the original boundaries and design parameters of the irrigation and water supply and sanitation schemes. No new abstraction is expected. Respectively the project will not adversely change the quality or quantity of water flows to the other riparian and it will not be adversely affected by the other riparian. Consequently, an exception to the external notification requirements of OP 7.50, set forth in paragraph 7(a) for the project has been obtained from VPU on December 12, 2018.

- Environmental and Social Management Framework. The ESMF will ensure that any activities supported by the CSP will not create serious adverse impacts on the local environment and local communities and that there is effective application of the World Bank’s safeguard policies and the Government of Tajikistan’s laws and regulations for adequate mitigation of any residual and/or unavoidable impacts. The ESMF will guide the Environmental and Social Impact Assessment process, relevant to the proposed project activities. Overall its main goal is to avoid, minimize or mitigate, potential negative environmental and related social impacts caused by the project implementation. The ESMF provides the following: (a) the national and WB safeguards rules and procedures; (b) environmental and social impacts associated with the proposed investments and generic mitigation measures; (c) guidelines on conducting sub projects environmental screening, as well as ESIA, including defining mitigation measures and monitoring activities for different types of activities; (d) roles and responsibilities in EA process and in supervision and reporting; (e) ESMP and ESMP Checklist to be applied within the EA process; and (f) capacity building activities to ensure an efficient ESMF implementation. The ESMF also includes institutional strengthening and capacity building activities will include special training on identifying and addressing environmental and social safeguards issues. Any subproject requiring involuntary land acquisition, impacting on assets, or causing negative impact on economic livelihoods or standard of living will not be funded.

- Institutional Capacity to Perform Environmental and Social Safeguards Activities. An assessment of Barki Tajik, the Energy Sector Project Management Unit (ESPMU), NSIFT, local government entities and subproject implementors and beneficiaries, - the parties to be involved in the project implementation, shows that a basic level of capacity exists to perform ESIA-related activities and to implement ESMF provisions, especially at the Barki and NSIFT levels. The assessment also identifies needs for additional capacity building activites and support, in particular, for the local level institutions and subprojects’ beneficiaries. In this regard, the Project will support public outreach and training and technical assistance activities to ensure that environmental and social safeguards requirements are fully implemented. Training and capacity building activities will focus on Barki Tajik, ES PMU, NSIFT, Facilitating Partners and Jamoat Project Commissions.

- Environmental and social supervision and monitoring. Environmental supervision and monitoring during project implementation will provide information about the project environmental impacts and the effectiveness of applied mitigation measures. Such information enables the subproject beneficiaries and the Bank to evaluate the success of mitigation as part of project supervision, and, allows corrective action to be taken when needed. The ESMF requires that monitoring section of the ESMPs should provide: (a) details, of monitoring measures, including the parameters to be measured, methods to be used, sampling locations, frequency of measurements; and, (b) monitoring and reporting procedures to (i) ensure early detection of conditions that necessitate mitigation measures, and (ii) furnish information on the progress and results of mitigation; and (c) institutional responsibilities.

- Reporting. Supervision of the ESMF and ESMPs implementation will be the responsibility of the Barki Tajik and SIFT and involved communities, which periodically (on quarterly basis) will prepare short reports on ESMPs implementation to be submitted to the Barki Tajik PMU and SIFT, which will compile these reports and semi-annually will present short information about the ESMP implementation as part of the Progress Reports to the WB.

- Integration of the EMPs into project documents. The ESMPs provisions will form part of the design documents for the project, and, will be included in construction contracts for selected subprojects, both into specifications and bills of quantities. Respectively the Contractors will be required to include the cost of ESMP requirements in their financial bids and required to comply with them while implementing the project activities. The bidding documents for selecting the contractors will include specifications that would ensure effective implementation of environmental, health and safety performance criteria by the winning bidder and in particular: (i) preventing/limiting disturbance of soils and vegetation removal to the minimum; (ii) prevent soil compaction as well as other potential impacts; (iii) ensuring that all ground disturbing activities are conducted consistent with the construction requirements; (iv) developing a traffic management plan that include measures to ensure work zone safety for construction workers and the travelling public; (v) conducting all activities on installing new electrical equipment, implementing civil works, etc., will be done with due care, ensuring labor safety; etc.  The contract with winning bidder will include necessary also an obligation to inform the comm’unities representatives and the Barki Tajik PMU and SIFT of any significant Environmental, Health and Safety (EHS) accidents and events among subcontracted project workers.

- ESMF disclosure and public consultations. The NSIFT and ES PMU posted draft ESMF on  November 19 and 21, 2018 at websites of NSIFT (www.nsift.tj) and JSHC “Barki Tojik” (www.barkitojik.tj). During the period from December 4 to December 8, 2018, NSIFT with ES PMU conducted public consultations on draft ESMF in 4 districts of Khatlon and Sughd provinces (Kushoniyon, Jaihun, Isfara, Jabbor Rasulov). All interested stakeholder organizations including local government representatives such as local branches of the CEP, health and labour departments, local khukumats, jamoats and mahalla leaders, and local NGOs from the target sites were invited. Overall the participants largely accepted the draft document and based on the obtained feedback the ESMF was revised/updated by December 12, 2018. The final version of the ESMF was officially submitted to the World Bank for disclosure in English on the WB external webpage on December 13, 2018. The Tajik, and Russian versions will be also posted on the webpage of the NSIFT and ES PMU and used for project implementation.

# project context

- Despite 15 years of strong economic growth and progress in poverty reduction, Tajikistan has yet to fulfill its potential for sustainable and inclusive development. Approximately seventy percent of the population, predominantly in rural areas and small towns, continues to suffer from energy deficits due to variability in water flows and electricity demand. 75 percent of Tajikistan’s population, and 80 percent of its poor, live in rural areas where access to quality infrastructure and social services is lacking. Rural-urban disparities in access to social services are illustrated through examples such as access to piped/improved water, which is 36 percent in rural areas compared to 72 percent in urban areas. A 2012 survey of 2,000 households found overall low levels of satisfaction with education quality throughout the country’s five regions, with only 19 percent of rural households expressing satisfaction. There are no notable institutionalized processes through which citizens or civil society participate in decision-making on local development priorities or resource allocation or hold subnational administrations to account for service delivery performance.

- Tajikistan relies on hydropower for 92 percent of its power supply and therefore has excess energy supply during the summer months. To leverage this excess supply, it has entered into a regional agreement with Kyrgyz Republic, Afghanistan and Pakistan to create a regional electricity market– the Central Asia South Asia Regional Electricity Market (CASAREM). As part of this agreement, summer surplus electricity resources from Central Asia will be supplied to meet unmet demand in South Asia. The first phase of this agreement is the Central Asia-South Asia Electricity Transmission and Trade Project (CASA-1000), which aims to facilitate electricity trade by putting in place the commercial and institutional arrangements and the transmission infrastructure to enable a trade of roughly 1,300 megawatts of electricity. The CASA-1000 project is therefore aimed at improving the reliability and efficiency of electricity services and increasing the energy export potential of Tajikistan (and the Kyrgyz Republic).

- The Tajikistan portion of CASA-1000 is a 170-km transmission line that extends from Sughd province in the north bordering the Kyrgyz Republic through the Districts of Republican Subordination (DRS) to Khatlon province in the south, through approximately 60 villages in 24 jamoats and 14 districts (rayons). The transmission line’s 3-km (1.5 km on either side of the transmission line) corridor of impact (CoI) includes communities that are economically and socially vulnerable with limited access to public infrastructure and services. Like much of the country, communities in the CoI suffer from winter energy shortages. However, a 500kV high-voltage transmission line will not directly provide electricity to communities located nearby.

- To share the benefits expected from the CASA-1000 project and create a supportive environment for the project, Community Support Projects (CSPs) are being implemented in all four countries party to CASA-1000, including Tajikistan, as a mean to mitigate social risk and maximize the socio-economic benefits of the energy investments. Specifically, the CSPs will be predicated on a community driven development approach to ensure that local investments are tailored to community needs and enjoy broad support. In addition, due to its proximity to the CASA1000 Transmission Line as it traverses Batken in Kyrgyz Reppublic, the project will include support for communities in the district of Isfara near the Kyrgyz-Tajik border and the Tajik enclave of Vorukh some 20 kilometers inside the Kyrgyz Republic. Moreover, the CSPs will each establish a mechanism through which the longer-term benefits-sharing mechanism, the Community Development Fund, will benefit communities and individuals located within the area of the CASA1000 project.

- PROJECT DESCRIPTION

- Project Development Objective. The Project Development Objective is to increase quality of and access to energy, social and economic infrastructure services, and contribute to the strengthening of local governance capacity in communities in the project area.

- Project Location and Beneficiaries. The project will be implemented in all villages that lie within the CASA1000 corridor of impact (CoI), defined as 1.5 kilometres from either side of the CASA1000 Transmission Line (TL). The CASA-1000 TL extends from Sugdh province in the north bordering the Kyrgyz Republic to Khatlon province in the south. There are 60 villages in the CoI of the newly constructed parts of the TL, traversing 24 Jamoats and 14 districts. In addition, the project will support target areas in Isfara district, in Sughd province and the enclaves and border villages near the CASA1000 TL in the Kyrgyz Republic. It is estimated that 130,000 people live within the CoI, and 73,000 in target areas in Isfara. At the institutional level, Barki Tojik, the Energy Sector PMU, NSIFT and 24 Jamoat Councils/Administrations will benefit from the project through capacity building aligned with their institutional responsibilities.  The preliminary list of villages and the description of the project environmental and social baseline are presented in Annexes 1 and 2.

- Description. As described in the CASA1000 Project Appraisal Document (component 3), the Community Support Projects, in each of the four CASA1000 countries, will adopt a community-driven development (CDD) approach, through which communities prioritize their needs, select sub-projects to be implemented, and directly implement or monitor sub-project implementation. Through this process and the associated capacity building, the proposed project will also support the development of local governance in target areas. It will consist of 4 Project components: Component 1 “Support for Rural Electricity Supply Improvements” (Barqi Tojik/ES PMU) will support investments to subcomponent 1A on Village Power Supply Improvements, subcomponent 1B Isfara substation (construction and reinforcement of 110/10 kV, Barki Tojik distribution networks, including lines and substations, and supply networks to new Makhala) and Rural Village Electricity Improvements in Border areas (construction and reinforcement of 110/10 kV, connection to 110 kV line distribution networks, including lines and substations. This will also include adjustment infrastructure to connect new Makhala Vahdaat, system expansion and reinforcement in Makhala Vahdaat). Additionally the subcomponent 1C will support Energy-related Project Management, M&E and Communications; Component 2 “Community-led Investments in Socio-Economic Infrastructure” (NSIFT for (2A) Subgrants to communities in CoI; Facilitating Partner for (2B)	Subgrants to communities in Border areas) will finance subgrant allocations to Jamoats to support priority small-scale socio-economic infrastructure investments at village-level, in the corridor of Impact and in the Border areas; Component 3 “Support for Community Mobilization and Local Capacity Building” (NSIFT) will support community mobilization and local capacity building in the COI and Isfara target areas; and Component 4 “Project management, and monitoring and evaluation, and communications” (NSIFT)  will finance the incremental costs of NSIFT for overall project coordination, management and supervision of implementation, procurement, financial management, including project audits, and the overall MIS.

- Component 1: Support for Rural Electricity Supply Improvements. This component will support investments to improve the quality and reliability of electricity in the 60 villages located within the 3-km Corridor of Impact (CoI). Subcomponent 1A will fund improvements to the quality and reliability of electricity supply by upgrading village level infrastructure to an agreed service standard. Most of the work will involve: (i) replacement of old, and where necessary and installation of new supply-level 10 kV/0.4 kV transformers; (ii) replacement of deteriorated wood poles with concrete poles; and/or (iii) replacement/ installation of new 10 kV lines and 0.4 kV self-supporting insulated wire.  These investments in power supply improvements will help communities access a more regular and reliable power supply, reduce technical losses, improve voltage conditions in the main load areas of the target villages, and reduce health and safety risks associated with an aging system. where existing power supply capacity is insufficient, higher level electricity infrastructure (rehabilitation of 110/35 kV distribution substation - replacing transformers/disconnectors, relay protection, circuit breakers, telecommunication devices, etc.). Such measures to improve power supply will help communities’ access to the power supply, reduce technical losses and improve voltage conditions in the main load areas of the affected villages. Subcomponent 1B includes two linked sets of investments: on Isfara 2 110/10 kV substation and System Expansion and Reinforcement in Makhala Vahdat, which will cover construction and reinforcement of 110/10 kV, Barki Tojik distribution networks, including lines and substations, and supply networks to new Makhala) construction and reinforcement of 110/10 kV. These investments will help Barki Tojik to efficiently meet load growth, by supplying power to Makhala Vahdat, the township being created for 2535 households who are self-relocating from the townships/Jamoats of Vorukh, Chorkuh and other neighboring areas.

- Component 2: Community-Led Investments in Socio-Economic Infrastructure. This component will support small-scale social and economic infrastructure investments in the 60 villages through which the CoI passes. It consists of two subcomponents: Subcomponent 2A. Subgrants to villages in Corridor of Impact and Subcomponent 2B. Subgrants to communities for village investments in border areas. Through a participatory and fully transparent process, villages will assess and identify local problems and priorities, establish their own priorities for investment, and identify 2 rounds of subproject activities that will address their needs. The formula for the village-level grant allocation will be dependent on the final alignment of the transmission line and will be included in the Project operations Manual.

- Under component 2, communities will be facilitated to select a priority subproject investment from an open menu of social and economic infrastructure, facilities and services. The menu of investment options for selection through community-driven participatory planning processes will include energy efficiency investments (e.g. glazing/roofs in schools), street lighting, rehabilitation of irrigation and water supply and sanitation systems, village roads, school extensions/replacement of roofs, kindergartens, health units, and/or economic infrastructure (e.g. farm machinery maintenance). A negative list will be included in the Operations Manual. In Subcomponent 2B, the proposed Project investments are intended to promote inclusive local development platforms in these border areas in Tajikistan that complement the activity already approved in the Kyrgyz Republic CASA1000 CSP (and supporting grants). Vorukh and Chorkuh Jamoats/Townships will be the focus of Project investments under Subcomponent 2B, including 50 densely-populated villages and neighborhoods, with a total population of approximately 73,000. Communities in the Tajik border and enclave communities will be facilitated to select from the same open menu of socio-economic infrastructure subprojects as for Subcomponent 2A. In addition, a second category of border area socio-economic investments will be eligible for financing. These would be subprojects that: (i) promote opportunities for enhanced cooperation, (ii) improve community safety and security, (iii) promote livelihoods opportunities for youth, and/or (iii) complement community-based investments in adjacent communities on the Kyrgyz side of the border.

- Non-eligible activities for Component 2 subprojects are listed in Table 1 below.

Table 1. List of Non-Eligible Activities for CSP Subprojects

Require physical relocation or displacement

Will cause negative impact on income/livlihood resources

Involve any kinld of forceful evictions of people

Negatively impact assets of individual(s) or household(s)

Do not meet the required technical and quality specifications

Have negative environmental or social impacts that are irreversible, create cumulative impacts and/or cannot be adequately mitigated;

Exclude the poor/marginalized population or otherwise vulnerable groups;

Do not provide equal pay for equal work for women and men;

Are financed, or scheduled to be financed, by the government or other development partners;

Include the payment of compensation for land or asset loss from the proceeds of the World Bank financing or other government sources;

Finance the construction of any new dams or the rehabilitation of existing dams including structural and or operational changes;

Finance private goods, government offices or religious buildings;

Involve activities that use forced /child labor

Involve activities that cause or lead to child abuse, child labor exploitation or human trafficking; No child under the age of 15 should work on the construction, rehabilitation or maintenance of a sub-project.

Entail the purchase or use of drugs, military equipment or other potentially dangerous materials and equipment, including chain saws, pesticides; insecticides; herbicides; asbestos (including asbestos-containing materials); or other investments detrimental livelihoods including cultural resources;

Involve development of new settlements or expansion of existing settlements in critical habitats, protected areas or areas proposed for certain levels of national protection (e.g., reserved forests).

- Selection criteria for subproject proposals submitted by communities will be agreed and defined in the Project Operations Manual. All subprojects will meet poverty reduction and gender equity goals and provide evidence that the community mobilization and decision-making has been undertaken genuinely, that proposals are included in Jamoat Development Plans that they are technically viable (through a technical checklist provided by the district) and have sub-project sustainability and O&M plans, that any necessary coordination with other donors has taken place.  Activities for sub project applications that are selected for funding will be coordinated with other Bank and donor projects where relevant.

- Component 3: Support for Community Mobilization and Local Capacity Building. This component will support community mobilization and local capacity building in the COI and Isfara target areas via four subcomponents. Сomponent 3A, 3B and 3C. Support for Community Mobilization and Capacity Building, Social Accountability and Local Capacity Building will be implemented by NSIFT to carry out and/or contract NGO facilitating partners for initial project orientation; mobilizing communities and Jamoat administrations to participate in the CSP; facilitating local decision-making, subproject proposal development and planning processes; and carrying out a set of defined social accountability, transparency and oversight activities. This component specifically requires a focus on women and youth. It will also include training and capacity building for Jamoats (on local development planning, financial management, conflict resolution and dialogue and governance), supporting them to carry out their mandated functions and to engage in the project.

- Subcomponent 3D:  Support for Border Communities will be implemented in the Jamoats/Townships of Vorukh and Chorkuh in Isfara. The subcomponent will support tailored activity in these border and enclave communities, helping to address the gap in infrastructure and services in these localities many of which contribute to the root cause of cross-border tensions, local-level violence and the conflict seen over the last decade. Additional support under this subcomponent will include: (i) building the capacity and resilience of local institutions, (ii) engaging youth in investment planning, and (iii) promoting strategic planning on border area development. It will ensure all key stakeholders and groups are included, focusing particularly on youth, women and local leadership.

- The services of international or national NGOs will be procured to implement activities that will consist of: introducing CASA-1000 and the CASA-1000 CSP to local authorities - districts, jamoats and villages-through which the CoI passes; mobilizing communities and jamoat administrations to participate in the CSP; facilitating local development planning processes with particular emphasis on the participation of youth and women; technical assistance for subproject design and proposal development; and training and capacity building for accounting, procurement, bookkeeping, subproject implementation, monitoring, and operations and maintenance.

- Component 4: Project management, and monitoring and evaluation, and communications. This component by its 3 sub-components will support overall project management by NSIFT and provide capacity building support where needed. NSIFT. This component will provide funds for NSIFT to carry out overall project management (including FM and procurement functions, grievance redress, communications and monitoring and evaluation support, and management of Facilitating Partners). The subcomponent will also contribute to the regular coordination with a few national stakeholders, namely, Barki Tajik and the Energy Sector PMU (ES PMU), and the Ministry of Finance (MoF), and the Facilitating Partner of the Isfara activities (defined under Subcomponent 3D). The project will fund and NSIFT will also manage a Beneficiary Feedback Mechanism (BFM), which will include a Grievance Redress Mechanism (GRM), which will provide a formal channel for feedback from communities on any matter concerning the CSP, and specifically collect, process and address safeguards complaints. Subcomponent 4B will also support community-level monitoring which includes participatory assessments of outcomes and results. Activities funded under Subcomponent 4C for communications will complement the scope of work carried out by the communications firm already engaged to support overall CASA1000 and CASA1000-CSP communications.

- POLICY AND REGULATORY FRAMEWORK

3.1 National Legal Framework for Environmental Protection and Assessment

3.1.1.	Relevant National Laws and Regulations and International Treaties

- An overview of laws and regulations that have relevance for environmental and social issues for the Tajikistan CSP is as follows (see table 2).

Table 2. List of National Laws and Regulations

| - Law on Environment Protection (2011, amended 2017) - Water Code (2000, amended 2012) - Land Code (1996, amended 2016) - Law on Land Administration (2008, amended 2016) - Law on Sanitary and Epidemiological Safety of the Population (2003, amended 2011) - Law on Pastures (2013) - EA National Legal Framework Law on Ecological Expertise (2012) - Law on Environmental Expertise (2012) - Law on State Ecological Expertise (2012) - Law on Dekhkan Farms (2016) | - The Law on Freedom of Information - Law on Public Associations - Law on Public Meetings, Demonstrations and Rallies (2014) - Law “On Self-Government Bodies in Towns and Villages (1994, amended 2009 and 2017) - Article 8 of the 1997 Labor Code - Law No. 762 on Parents Responsibility for Children’s Upbringing and Education - ILO Conventions ratified by Tajikistan to address child labor including: ILO Convention No. 138 on Minimum Age for Admission to Employment (26 November 1993); ILO Convention No.182 on Worst Forms of Child Labor (8 June 2005); and the UN Convention on the Rights of the Child CRC (25 November 1993). |
| --- | --- |

3.1.2. National Laws and Regulations on Environmental Protection

- The Law on Environmental Protection (2011, amended 2017) stipulates that Tajikistan's environmental policy should prioritize environmental actions based on scientifically proven principles, and to balance consideration of economic and other activities that have an impact on the environment with that on nature preservation and sustainable use of resourcesTo secure public and individual rights to a safe and healthy environment, the Lawrequiresthat an environmental impact assessment for any activity that could have a negative impact on the environment. It also defines environmental emergencies and ecological disasters and prescribes the order of actions to be taken in such situations, including the obligations of officials and enterprises to prevent and eliminate adverse consequences, and liabilities of the persons or organizations that caused damage to the environment or otherwise violated the Law. The Law also establishes state, ministerial, enterprise and public control over compliance with environmental legislation, which is affected by the Committee for Environment Protection, the Sanitary Inspectorate of the Ministry of Health, the Inspectorate for Industrial Safety and the Mining Inspectorate. Public control is carried out by public organizations or trade unions and can be exercised with respect to any governmental body, enterprise, entity or individual.

- Article 12 of the Law on Environmental Protection proclaims the right of citizens to live in a favorable environment and to be protected from negative environmental impacts. Citizens also have the right to environmental information (Article 13), as well as to participate in developing, adopting, and implementing decisions related to environmental impacts (Article 13). The latter is assured by public discussion of drafts of environmentally important decisions and public ecological reviews. Public representative bodies have an obligation to take into consideration citizens’ comments and suggestions.

- The Water Code (2000, last amendment 2012) stipulates the policies on water management, permitting, dispute resolution, usage planning and cadaster.  It promotes rational use and protection of water resources exercised by all beneficiaries and defines the types of water use rights, authority and roles of regional and local governments for water allocations among various users, collection of fees, water use planning, water use rights and dispute resolution.  The Code provides Water User Associations with the mandate to operate and maintain on-farm irrigation and drainage infrastructure.

- The Land Code (1996, last amendment 2016) defines the types of land use rights, the authority and the role of regional and local governments for land allocation, collection of land taxes, land use planning, land use right mortgaging and settlement of land disputes. It defines the rights of land users and lease holders and specifies the use of a special land fund for the purpose of land privatization and farm restructuring. The law does not provide for purchase or sale of allotted land. The Land Code regulates land relations and it is directed at the rational “use and protection of land and fertility of the soil… .” The land may be used in a rational manner only and the Code allows local authorities to decide what constitutes “rational” land use. It also includes mechanisms that make it possible to take the land-use permit away from farmers, including in situations where land use causes land degradation. This decision is taken by the rayon administration.

- The Law on Land Administration (2008, last amendment 2016) obliges the authorities to map and monitor the quality of land, including soil contamination, erosion and water logging.

- The Law on Sanitary and Epidemiological Safety of the Population (2003, amended in 2011) introduced the concept of sanitary and epidemiological expertise that establishes the compliance of project documentation and economic activities with the state sanitary and epidemiological norms and rules, as well as strengthened provisions on sanitary-hygienic, anti-epidemic and information measures.

- The Law on Pastures (2013) defines the basic principles of pasture use, including protection of pastures and the environment, and attraction of investments for more effective use and protection of pastures. The Law specifies the powers of local administrations to control environmental safety and pasture use in accordance with state regulations and standards. The law prohibits the implementation of a few activities in pastures, such as cutting down trees or bushes, building roads, misuse of grazing land, pollution of the environment with waste, and grazing of livestock beyond the established rate. The law requires users to ensure effective use of pastures, including protection of pastures against degradation and pollution. It provides geobotanical research on pastures to assess the potential productivity of natural forage land.

- The Law on Dekhkan Farms (2016) provides the legislative basis for the establishment and operation of private dehkan farms. While, according to the Law of 2009, dehkan farms were subjects of economic activities that carry out activities without the formation of a legal entity, the new Law allows dekhkan farms to obtain the status of legal entities. It also clarifies and fixes the rights of members of dehkan farms as land users. The law improves the management of dehkan farms and defines the rights and duties of their members. It allows farmers to legally erect field camps on land as temporary buildings, which makes it possible to significantly improve productivity at the agricultural season. The law requires dehkan farms to take measures to improve soil fertility and improve the ecological status of lands, make timely payments for water and electricity, and provide statistical information to government agencies.

- The EA National Legal Framework Law on Ecological Expertise (2012) stipulates that the mandatory cross-sectoral nature of state ecological “expertise” (SEE) shall be scientifically justified, comprehensive, and objective and which shall lead to conclusions in accordance with the law. The SEE precedes decision-making about activities that may have a negative impact on the environment. Financing of programs and projects is allowed only after a positive SEE finding, or conclusion, has been issued. The following activities and projects will be subject to state ecological review: a) draft state programs, pre-planning, pre-project, and design documentation for economic development; b) regional and sectoral development programs; c) spatial and urban planning, development, and design; d) environmental programs and projects; e) construction and reconstruction of various types of facilities irrespective of their ownership; f) draft environmental quality standards and other normative, technology, and methodological documentation that regulates economic activities; g) existing enterprises and economic entities, etc. This law also stipulates that all types of economic and other activities shall be implemented in accordance with existing environmental standards and norms, and that sufficient environmental protection and mitigation measures will be put into place to prevent and avoid pollution and enhance environmental quality. ESA studies that have analyzed the short- and long-term environmental, genetic, economic, and demographic impacts shall be evaluated prior to making decisions on the selection of sites, construction or reconstruction of facilities, irrespective of their ownership. If these requirements are violated, construction will be terminated until necessary improvements are made, as prescribed by the Committee for Environmental Protection and/or other duly authorized control bodies, such as sanitary, geological, and public safety agencies.

- The Law "On Environmental Expertise" was approved in 2012 and the GoT the subsequently adopted the following in pursuance of this legislation:

- The Procedure of environmental impact assessment (adopted by the Resolution of the Government of the Republic of Tajikistan as of 01.08.2014 №509 providesguidelines on the composition, order of development, coordination and approval of design estimates for construction of facilities, buildings and structures and EIA chapters, SEA and feasibility documents;

- The List of objects and the types of activities for which preparation of documentation on the environmental impact assessment is mandatory (adopted by the Resolution of the Government of the Republic of Tajikistan as of 01.08.2014 №509). This extensive list contains 180 types of activities that are grouped according to four environmental impact categories (from (I) "high risk" to (IV) "local impact"). If the facility is not included in the list, then it is not required to pass an EIA or a SEE.

- EIA responsibilities. Conducting the EIA study is the responsibility of the project proponent. The Procedure for carrying out the EIA (Government Resolution No. 509 of 2014) establishes general requirements for contents of the EIA documentation. The State Ecological Expertise for all investment projects is the responsibility of the Committee for Environmental Protection under Government of Tajikistan (CEP) and its regional offices. Furthermore, according to the 2012 Law on the State Ecological Expertise, all civil works, including rehabilitation, should be assessed for their environmental impacts and the proposed mitigation measures reviewed and monitored by the CEP.

- Screening categories. The laws on Environment Protection and EE stipulate that the Government is to approve a list of activities for which the completeEIA is mandatory. The current guidelines for EIAs do not provide for any preliminary assessment of the project to decide on the need for an EIA (screening) ordefine the scope of the EIA’scontents. This is because the list of objects and activities for which the development of EIA materials is required is already very detailed. Therefore, although the CSP will not be required to prepare an EIA per existing legislation, upon its approval it will be necessary to consult with the CEP experts for further guidance on compliance with the SEE.

- The Law on EE provides for the the rights of citizens to conduct Public Environmental Expertise (art. 7). Tajikistan is also party to the 1998 Aarhus Convention (July 17, 2001) that contains provisions for public EE. The 2014 Procedure (Order) for Conducting an EIA also describes procedures for public participation. Public participation procedures are envisaged for all categories of projects, although in practice they are mainly applied to Category I projects. The Procedure (Order) for conducting the EIA of 2014 changed the focus and timing of public discussions. Compared to the 2006 version of the Procedure for preparing EIAs which provided the opportunity for public inputs during the scoping stage while drafting the technical task, the 2014 version of the Procedure provides space for public discussions only after the preparation of the EIA report by the project's customer.

- Implementation of environmental laws. A number of legal acts establish liability for violation of environmental laws, which can be enforced by several State bodies. In particular, the 2010 Code of Administrative Violations establishes administrative liability for organizations, their officers and individuals for a range of violations, including careless treatment of land, violation of rules for water use or water protection or failure to comply with a SEE. Administrative sanctions for environment related violations can be imposed by the administrative commissions of khukumats, courts, CEP inspectors, the Veterinary Inspectors of the Ministry of Agriculture, and the State Committee for Land Management and Geodezy. The most common administrative sanction is a fine of up to 10 minimal monthly salaries for individuals and up to 15 minimal salaries to officers of organizations. The 1998 Criminal Code also covers crimes against ecological safety and the environment, such as violations of ecological safety at work, poaching and spoiling land, as well as violation of rules for the protection and use of underground resources. The maximum fine is up to 2,000 minimal monthly salaries and the maximum sentence is up to eight years in prison.

- In addition to national legislation and regulations on environmental issues, Tajikistan is also party to several international treaties focused on environmental issues (see Box 1).

- Rotterdam Convention on Prior Informed Consent (PIC) procedure on September 28, 1998, ratification pending;

- Signatory of the Stockholm Convention on Persistent Organic Pollutants on May 21, 2002, ratification pending;

- Convention on Biological Diversity on 29 October 1997 and to its Cartagena Protocol on Biosafety on 12 May 2004;

- Convention for the Protection of the World Cultural and Natural Heritage (1992);

- The United Nations Convention to Combat Desertification (1997);

- The United Nations Framework Convention on Climate Change (1998);

- The Ramsar Convention (2000);

- The Convention on the Conservation of Migratory Species of Wild Animals (2001).

- Convention on International Trade in Endangered Species of Wild Fauna and Flora (CITES) (2016); and

- Basel Convention on the Control of Transboundary Movements of Hazardous Wastes and their Disposal (2016)

Box 1. International Treaties on Environmental Issues

3.1.2 National Legislation on Access to Information and Public Engagement

- The Republic of Tajikistan has ratified and/or recognised the main international treaties on human rights and established laws at the national level for regulation of access to information and public participation.

- The Law on Freedom of Information is underpinned by Article 25 of the Constitution, which states that governmental agencies, social associations and officials are required to provide each person with the possibility of receiving and becoming acquainted with documents that affect her or his rights and interests, except in cases anticipated by law.

- According to the decree ‘On approval of the order of reimbursement of costs related to provision of information’ that took effect on January 1, 2010, all state institutions will be able to charge fees for providing any kind of information to journalists and members of the public. The decree states that one page of information provided should cost up to 35 Somoni (US$8 / £5).

The decree enables state officials to charge for photocopying official documents or extracts of official documents and for obtaining information from government officials in writing. Payment can be collected not only for the supply of printed information, but also for verbal information and clarification of legislative acts, decrees and regulations.

- Per the Law on Public Associations, a public association may be formed in one of the following organizational and legal forms: public organization, public movement, or a body of public initiative. Article 4 of this law establishes the right of citizens to found associations for the protection of common interests and the achievement of common goals. It outlines the voluntary nature of associations and defines citizens’ rights to restrain from joining and withdrawing from an organization. August 2015 amendments to this legislation require NGOs to notify the Ministry of Justice about all funds received from international sources prior to using the funds.

- The 2014 Law on Public Meetings, Demonstrations and Rallies (Article 10) bans persons with a record of adminsitrayove offenses (i.e. non-criminal infractions) under Articles 106, 460, 479 and 480 of the Code for Administrative Offences from organizing gatherings. Article 12 of the law establishes that organizers must obtain permission fifteen days prior to organizing a mass gathering.

- The 1994 Law “On Self-Government Bodies in Towns and Villages” assigns to jamoats a broad range of competencies and the mandate to support community efforts to address local socioeconomic needs. The 2009 amendment aims to strengthen local self-governance and accountability by delegating budget authority to jamoat councils, and introducing a system of direct election for jamoat councilors. The 2017 amendment allows jamoat councils to retain non-tax revenues earned through the provision of administrative services and a percentage of local property taxes. The 2017 amendment suggests a seriousness on the part of national government to enact policies that empower jamoat councils with authorities and resources needed to support local development and problem-solving.

3.1.3. National Legislation and International Conventions Pertaining to Forced Child and Adult Labor

- Forced child and adult labor is against the laws of Tajikistan. Article 8 of the 1997 Labor Code prohibits forced labor. The Labor Code also sets the minimum age at which a child can be employed as well as the conditions under which children can work (Articles 113, 67, and 174). The minimum employment age is 15, however, in certain cases of vocational training, mild work may be allowed for 14 year olds (article 174 of the Labor Code). In addition, there are some labor restrictions on what type of work can be done, and what hours of work are permissible by workers under the age of 18. Examples of labor restrictions include: those between 14 and 15 cannot work more than 24 hours per week while those under 18 cannot work more than 35 hours per week; during the academic year, the maximum number of hours is half of this, 12 and 17.5 hours, respectively. These limitations are consistent with the ILO Convention on Minimum Age. In addition, Law No. 762 on Parents Responsibility for Children’s Upbringing and Education, places parents as responsible to ensure that their children are not involved in heavy and hazardous work and that they are attending school.  Tajikistan has also ratified ILO Conventions to address child labor including: ILO Convention No. 138 on Minimum Age for Admission to Employment (26 November 1993); ILO Convention No.182 on Worst Forms of Child Labor (8 June 2005); and the UN Convention on the Rights of the Child CRC (25 November 1993).

# 3.2. World Bank environmental assessment requirements

- Overview. The Bank undertakes screening of each proposed project for which it will provide funding in order to determine the appropriate extent and type of environmental assessments (EA). There are ten Environmental and Social World Bank Safeguard Policies which are intended to ensure that potentially adverse environmental and social consequences of projects financed by Bank are identified, minimized and mitigated. World Bank Safeguard Policies have a three-part format: Operational Policies (OP) - statement of policy objectives and operational principles including the roles and obligations of the Borrower and the Bank, Bank Procedures (BP) - mandatory procedures to be followed by the Borrower and the Bank, and Good Practice (GP) - non-mandatory advisory material. The Bank classifies a proposed project into one of four categories, depending on the type, location, sensitivity and scale of the project and the nature and magnitude of its potential environmental impacts. The four EA Categories are A, B, C and FI (see Box 2). The Project triggers World Bank Operational Policy 4.01 Environmental Assessment.

- OP 4.01: Envrionmental Assessment. This policy requires the environmental assessment of investments proposed for World Bank financing to help ensure that they are environmentally sound and sustainable. The depth and type of analysis depends on the nature, scale, and potential environmental impact of the proposed activities. The environmental assessment process takes into account the natural environment (air, water, and land), human health and safety, social aspects (involuntary resettlement, indigenous peoples, and cultural property), and trans-boundary and global environmental aspects. In accordance with the World Bank’s safeguard policy and procedures OP/BP/GP 4.01 on Environmental Assessment, the CSP is classified as a Category B project (see Box 2 for description). Given that the majority of sub-projects will be identified by communities during implementation, the environmental assessment will follow a framework approach outlined in this ESMF.

- For Category B projects the Bank requires a simple and/or a partial Environmental Assessment and/or preparing an Environmental Management Plan. It is also expected that several subprojects will not have environmental impacts and will be categorized as Category C projects for which only environmental due diligence procedures would be required.

Box 2. Summary Description of EA Categories

- Category A projects are likely to have significant adverse impacts that are comprehensive, broad, diverse, sector-wide or precedent-setting. They generally result from a major component of the project and affect the area or an entire sector and may affect an area broader than the sites or facilities subject to physical works. They may have attributes such as direct pollutant discharges large enough to cause degradation of air, water, or soil; large-scale physical disturbances of the site and/or surroundings; extraction, consumption, or conversion of substantial amounts of forest and other natural resources; measurable modifications of hydrological cycles; more than incidental quantities of hazardous materials; and involuntary displacement of people and other significant social disturbances. - The ESA for a Category A project examines the project's potential negative and positive environmental impacts, compares them with those of feasible alternatives (including the "without project" scenario), and recommends any measures needed to prevent, minimize, mitigate, or compensate for adverse impacts and improve environmental performance. For a Category A project, the borrower is responsible for preparing a report, normally a full Environmental & Social Impact Assessment (or a suitably comprehensive regional or sectoral EA). - Category B projects have potential adverse environmental impacts on human populations or environmentally important areas - including wetlands, forests, grasslands, and other natural habitats - which are less adverse than those of Category A projects. These impacts are site-specific; few if any of them are irreversible; and in most cases mitigation measures can be designed more readily compared to Category A projects. The scope of an ESA for a Category B project may vary depending on the project, but it is narrower than that of Category A assessment. Like Category A, a Category B environmental assessment examines the project's potential negative and positive environmental impacts and recommends any measures needed to prevent, minimize, mitigate, or compensate for adverse impacts and improve environmental performance. The findings and results of an ESA for Category B projects are described in the Project Appraisal Document. - Category C. An ESIA or environmental analysis is normally not required for Category C projects because the project is unlikely to have adverse impacts. Normally, such projects have negligible or minimal direct disturbances on physical settings, and negligible, insignificant, or minimal environmental impacts. Beyond screening of the project, no further EA action is required. - Category FI. A Category FI project involves investment of Bank funds through a financial intermediary in subprojects that may result in adverse environmental impacts.

# 3.3. Comparison of national and World Bank EA requirements

- Overview. While the basic provisions of the National EA rules and procedures are to some extent similar to WB requirements, there are several important differences. These differences are related to the following: (a) project environmental screening categories; (b) Environmental Management Plan; (c) EA disclosure and public consultation; and (d) EA review process.

40. 	Differences in screening categories. As mentioned above currently there is no clear EIA categorization system in Tajikistan. Screening is provided for within the legal and regulatory framework. Environmental Impact Assessment. It is based on an inclusion list for activities requiring environmental assessment. The SEE law stipulates all projects with a potential environmental impact should have in the project design an assessment of the potential impacts as well as a set of mitigation measures. The projects which do not require an EA mainly correspond activities which are expected to have minor impacts on environment and therefore do not need to be passed through the formal procedures of EIA and SEE (WB Category C projects). The scale of the project EA is decided in each concrete case by the SEE/Ecological Inspectors during the preliminary approval of the project location and of its technical specifications. In the case where World Bank and national categorization/EA requirements differ, the more stringent requirement will apply. This refers mostly in the case of deciding about Category C subprojects - the national EA legislation doesn’t refer to small scale activities, including construction and rehabilitation of various buildings. In these case the client will apply the WB criteria.

- Differences concerning EMPs. Although the national legislation requires relevant mitigation measures for all projects that may have potential environmental impacts, it does not require specific EMPs. Therefore, WB rules will be applied in the case of higher Category B subprojects and EMPs would need to be prepared as per WB requirements.

- Differences concerning review and approval of EA studies. The SEE seeks to examine the compliance of proposed activities and projects with the requirements of environmental legislation and standards and ecological security of the society. The laws stipulate the mandatory cross-sectoral nature of SEE, which shall be scientifically justified, comprehensive and objective and which shall be concluded in accordance with the law. The SEE precedes decision-making about activities that may have a negative impact on the environment. The financing of programs and projects is allowed only after a positive SEE finding or conclusion, has been issued. The SEE is conducted by a special Unit within the SCEPF. However, in compliance with World Bank policy, all EAs for sub-projects will go through the more stringent review and approval process of the World Bank.

- Differences with regard to disclosure and public consultation. According to national legislation, EA disclosure and public consultation is not mandatory. Although public disclosure requirements are adequate for the most part, one shortcoming is the lack of clarity on the contents of the environmental management plans, and specific information that is to be disclosed. In addition, per the SEE law the public might organize a public ecological expertise at its own initiative. Public associations conducting ecological expertise are obliged to inform the local public about its commencement and its results. Such associations have the right to obtain project documentation including information on the EIA. The results of the public ecological expertise have an advisory character and would have juridical power only after their approval by the responsible state body in field of ecological expertise. These results can be published in mass-media and disemminated to the local public authorities and other stakeholders.

- In the case of World Bank EA policy, the subprojects implementors are responsible for conducting at least one public consultation for all Category B projects to discuss the issues to be addressed in the EMP or to discuss the draft EMP itself. Therefore, for selected subprojects, the PMU will review any documentation of the public consultation conducted in the preparation of any national EA documentation to determine if it is consistent with the World Bank requirements. If the public consultation is satisfactory, there would be no further equirements for consultation. However, if no public consultation was conducted or if the PMU determines that the public consultation documentation is not adequate, the subproject will be required to perform at least one public consultation to discuss the environmental issues of concern to the locally affected communities and include these issues in the content of the EMPs. Documentation for consultations should be submitted to the PMU as part of the subproject files. Tajik/Russian/Uzbek versions of the EMPs and records of public consultation would need to be made available at public locations near the project site and posted on the PMU website.

- BASELINE ANALYSIS

- Environmental and social baseline analysis covers all project sites of CASA-1000 project and it is presented in Annex 2 of this ESMF CSP report.

- POTENTIAL ENVIRONMENTAL AND  SOCIAL IMPACTS AND PROPOSED MITIGATION MEASURES

- The CSP’s design will support multiple sub-projects, the detailed designs of which are not known at appraisal. The Environmental and Social Management Framework (ESMF) will therefore serve as the appropriate EA instrument to identify and provide guidance on mitifgatying potential environmental and social risks. All proposed sub-projects will be screened (using the checklists in Annexes 2, 3 and 4) to ensure that the potential environmental and social risks can be adequately addressed through the application of a typical Environmental and Social Management Plan (Annex 4, which includes typical environmental and social mitigation measures for various types of infrastructure sub-projects).

- The proposed project activities under Components 1 and 2 could generate environmental impacts associated with noise, dust, air and water pollution, solid waste management, biodiversity degradation, health hazards and labor safety issues, etc. The environmental risks are expected to be typical for small scale construction/rehabilitation works or for various energy supply or energy efficiency activities, temporary by nature and site specific and can be easily mitigated by applying best construction and/or energy supply or energy efficiency practices and relevant mitigation measures. The text below presents the details of project environmental and social impacts.

### 5.1. Potential negative environmental and social impacts

- As a result of project implementation, the following main potential negative environmental impacts may occur:

Water pollution. With the leakage of fuels and lubricants (fuel and lubricants) from construction machinery and stored waste, petroleum products and chemicals can pollute the soil, penetrate into groundwater or drain into surface water bodies. Maintenance and cleaning of construction machinery and mechanisms near natural streams can lead to water pollution. If temporary settlements of builders are formed on a construction site, pollution of the environment can be caused by sanitary facilities in settlements.

Impacts on Biodiversity. During construction, the necessary earthwork for construction can damage the vegetation cover and lead to cutting down of green plantations. Careers for building materials, disposal of excess material and waste can disturb the animal world, including affecting the natural habitat. However, since all works will be performed mainly on the developed territory, significant damage is unlikely, as well as impacts on cultural heritage sites or natural habitats.

Noise, vibration and temporary air pollution. Dust will be generated as a result of construction work, transportation of construction materials / waste and traffic of freight vehicles. Strong increase of noise level is expected during construction, material transportation, construction equipment operation, in particular, during excavation, pneumatic drilling, work of construction cranes. Noise and vibration will cause concern to local residents if the work is carried out in the vicinity of residential areas.

Formation of recovered material and construction debris. The following types of garbage will be formed during the construction of Component 1: (i) construction debris, transportation, handling, compressor works, jackhammers and other construction equipment, soil surpluses and stones, cut trees, bushes, household waste, obsolete equipment and materials, and; (ii) hazardous waste - construction debris containing asbestos plaster, asbestos slate, mineral wool and ruberoid, worn tires, filters and oils from construction equipment and transformer substations.

Dangerous production factors as a result of civil works. Direct impact on safety and health of people in civil works can be caused by various factors, for example, high-altitude work, the work of cranes and bulldozers, welding, and sanitary conditions, electric shock, etc. The potential impact on the safety and health of workers is also associated with occupational injuries during construction (falling structures, etc.) or contaminated drinking water or food.

Electric shock injury. Electric current injury may result from contact with electric chain with voltage and/or current sources able to induce electric flow through a part of the body that came into a contact with electric current. Usually the sensitive current flow for a human is more than 1 mA. Besides, when working with high voltage installations an electric shock may result without contacting current conducting elements, but due to leak of current or air gap breakage with electric arc generation. Due to high electric resistance of human tissues they are heated rather fast which may cause injuries. Even a relatively low voltage, around 110 – 230 V, upon short-time contact with chest may cause a disruption to cardiac muscle work (60 mA for alternate current, 300 – 500 mA for permanent current). An electric shock may cause a nervous system disorder, for example, random muscle contraction. Repeated electric shocks may cause a neuropathy. Acute electric injury may be reason of growing asystole. In case of head electric injury loss of consciousness is potential. Under a enough high voltage and current strength the so called arcing may appear, inflicting serious burns (injuries). During the construction works and operation of equipment, activities will be carried out ensuring a secure manufacturing job. When operating the electric installations, personal protective equipment will be used. In the course of works, the sites will be fenced and taped off. The access to the site of work for unauthorized persons will be prohibited. Only workers who completed trainings on working with electric equipment and safety techniques when operating electric installations will be allowed to the site of work.

Road traffic. Any effort will be made to minimize the time spent on construction vehicles and trucks on the roads, in order to prevent any incidents or damage to property. Drivers will be warned that they should move with caution. Speed restriction in work areas and road traffic with heavy machinery will also be regulated. The proper organization of traffic will also prevent a negative impact on traffic, as far as possible.

Historical and cultural heritage sites. Provisions regulating actions in case of accidental finds are included in this ESMF.

Social impacts. There will be some construction induced social impacts during the implementation  phase.  The construction activities  under some local infrastructure subprojects may cause access restrictions to homes, land plots or other private or public property. Construction and /or rehabilitation of public buildings such as schools might also trigger some inconvenience to the public. Even though most of such  local level constructions under the project will be done though community centered organizations and agencies, adequate care and measures will be taken to avoid any violation of use of labor, accidents, or disputes  with local communities due to use of outside labor force for constructions. The site specific ESMPs prepared under the project will include, neccseery a mitigation measures to reduce potential adverse impacts and risks and the public constructions will be carried out each of the construction site before the civil works begin.

As described in the table 1, no large scale physical displacement or relocation of persons is allowed  underthe project. In addition to the ESMF (ESMP), a Resettlement Policy Framework (RPF) is prepared for  the project to address  social impacts such as  land acquisitions, access restrictions due to community level social and economic infrastructure  subprojects. The project is also  conducted a due diligence review of proposed Vahdat township development by the Government and  found that the relocation of people from villages to the township  is voluntary .  However, further due diligence will be carried out during the planning and implementation of Isfara substation development including preparation of safeguards instruments, if deemed necessary.

The summary of potential environmental and social impacts is presented in the Table 3 below.

Table 3. Potential Adverse Environmental Impacts and proposed Mitigation Measures

| No | Project activity | Type of impacts | Scale of impact (local/ regional; temporary/ permanent) | Mitigation measures |
| --- | --- | --- | --- | --- |
| - Supply Improvements Subprojects |  |  |  |  |
| 1 | Replacement of existing supply-level transformers | Spilling of transformers’ oil containing PCBs; Health and labor safety impacts | Local and temporary | Recommended measure include an express analysis of oil sampling on PCBs and applying safety measures while handling them, if identified. In case of positive results, an action plan on storage and disposal of these substances will be developed. |
| 2. | Installation of new supply-level transformers | Construction-related impacts (safety of workers and neighborhood residents, loss of access to public facilities) Pollution of land and ground water by oil products. | Local and temporary | During the transformers’ installation, the environment, health and safety (EHS) issues will be included in the contract provisions and would include proper organization of works, labor safety requirements, and proper cleanup and recultivation in the case of incidental spills. |
| 3 | Installing new lines and poles and replacing old ones | Construction-related impacts (dust, noise, safety, loss of access to public facilities) | Local and temporary | During the construction stage EHS issues will be managed based on the mitigation measures set up in the ESMP Checklist (like operations during normal working hours only; access roads will be watered during dry periods, during planning phase ensure that local people are aware of restrictions during construction and alternative arrangements for access are provided; ensure construction workers are given safety instruction; ensure safety officers on site; ensure effective signage for the public and ensure that all exposed construction areas are barricaded from public access) |
| 4. | Construction/rehabilitation of 110/10 Distribution Substation (transformers/disconnectors, relay protection, telecommunication devices, etc) | Spilling of transformers’ oil containing PCBs; Health impacts Labor safety Solid waste management Noise Air and water pollution | Local temporary | Recommended measure is an express analysis of oil sampling on PCBs and applying safety measures while handling them, if identified. In case of positive results, an action plan on storage and disposal of these substances will be developed. Applying best civil works practices and ensuring EHS during the dismantling and installing electrical equipment. |
| 5 | Replacing wooden poles and wires | Waste accumulated during dismantling of equipment and construction units; air pollution during demolition and removal of equipment and construction units, and welding works during dismantling phase; noise as a result of working equipment; labor safety | Local and temporary | Separation of all wastes accumulated during dismantling of equipment and construction units and their shipment to city landfill or to enterprises collecting ferrous wastes; strict control over the use of motor vehicles and construction equipment in accordance with established standards; labor safety rules; personnel training on occupational safety and measures towards compliance with occupational safety requirements; providing of workers with uniforms, glasses, gloves, etc. |
| - Energy Efficiency Subprojects |  |  |  |  |
| 6 | Implementation of clean efficient heating stoves or solar powered cookers | Indoor and outdoor air pollutions | Local and temporary | Based on an initial study, new more energy efficient type of stoves and necessary associated mitigation measures will be recommended to avoid indoor air pollution. |
| 7 | Installing of street lighting (including solar-powered systems) | Contamination of construction site with waste containing heavy metals | Local and temporary | Collection of luminescent lamps and other similar waste and delivery to designated landfills/dumpsites for subsequent reprocessing |
| 8 | Small renewable energy subprojects/activities (solar powered PVs, or solar powered water heaters/ collectors, heat pumps) | Air pollution due to operation of boilers and heaters; water consumption and contaminated water discharge; construction wastes due to maintenance and overhaul of boiling equipment; worker safety issues | Local and temporary | To reduce air pollution, the project provides for the use of new energy and cost efficient solar powered heaters/pumps; water consumption and discharge will be reduced through the introduction of a closed heat supply system and construction of individual heating substations in residential and public buildings; distribution of all wastes accumulated during maintenance works among enterprises specialized in their disposal and storage; personnel training on occupational safety and measures towards compliance with occupational safety requirements; providing protective equipment. |
| 9 | Energy conservation subprojects (insulated doors, windows in schools, kindergartens and medical centers) | Waste accumulated during dismantling of equipment and construction units; air pollution during demolition and removal of equipment and construction units, noise and dust as a result of working equipment; labor safety | Local and temporary | During the construction stage construction waste managementwill be arranged based on the national standards, with special attention to asbestos containing insulated materials and roofing handling. Workers will be instructed about occupational safety requirements and provided with uniforms, respirators, glasses, gloves, etc. |
| 10 | Energy efficient water pumps | Water pollution, water leakage, labor safety issues | Local and temporary | Appropriate erosion, sediment, water quality and leakage control measures to be taken to prevent excessive turbidity in nearby streams and impacts on neighborhood. Workers and communities are instructed about the safety measures. |
| - Community Socio-Economic Infrastructure subprojects |  |  |  |  |
| 11 | Access to water supply for drinking (replacement of water pipes; building new water supply network; building of small water intake; construction of overhead water tanks) | Emissions during dismantling and installing water pipelines (welding equipment, motor vehicles); soil damage; possible cutting down of trees; labor safety; loss of access to public facilities Changes in hydrology / drainage in pipeline networks | Local and temporary | Strict control over the accumulated wastes management and use of motor vehicles and construction equipment will be implemented in accordance with established standards; the optimal route for water supply networks will be selected; involvement of highly qualified specialists to be preliminary instructed on safety requirements; alternative roads and pathways will be created to provide access to public facilities; Any land needs will be on voluntary land donation basis, after first ensuring strict criteria are met, utilize public land or follow existing right-of way. The project can utilize a willing buyer – willing seller to acquire use of land on permanent or temporary lease basis. No sub-project which requires involuntary land acquisition will be funded. Design provisions for alternative drainage flows should be prepared. |
| 12 | Access to water for irrigation and agriculture (rehabilitation of on farm irrigation infrastructure; cleaning of on-farm and drainage channels; rehabilitation of pumping stations and vertical drainage wells repairs) | Dumping of excavated sediments from drainage canals; Damage to adjacent vegetation; Water pollution Waste water discharges, Surface and ground water pollution Air emissions of dust and cement Noise Solid wastes Accidental spillages Occupational hazards | Local and temporary | Minimize damage to vegetative cover; Collection of sediments, silts Proper disposal of sediments; Wastewater, including those from aggregate processing and concrete batching, must not enter streams without settling ponds Dust from the handling or transporting of aggregates, cement, etc., should be minimized by sprinkling or other methods. Prevent air pollution by dust, emissions from transport vehicles; Appropriate waste management during construction works; Prevention of spillage of contaminants, debris, or other pollutants, into streams or underground water resources. Such pollutants include untreated sewage and sanitary waste and petroleum products; Limitation of works time Apply good practices for occupational health and safety, including regular training, orientation and instructions. |
| 13 | Rehabilitation of kindergartens and schools, roads, footpaths and bridges, and sports/social facilities | Inappropriate handling of asbestos materials Construction-related impacts (dust, noise, safety of workers and neighborhood residents, loss of access to public facilities) | Local and temporary | ACM will not be used as a new material in rehabilitation works or new buildings. Existing asbestos-cement roofing sheets and materials will be removed and disposed based on the national standards and WB requirements. During the construction stage EHS issues will be managed based on the mitigation measures set up in the ESMP Checklist (like operations during normal working hours only; access roads will be watered during dry periods, during planning phase ensure that local people are aware of restrictions during construction and alternative arrangements for access are provided; ensure construction workers are given safety instruction; ensure safety officers on site; ensure effective signage for the public and ensure that all exposed construction areas are barricaded from public access) |
| 14 | Small-scale storage and/or processing facilities for horticultural products; | Solid waste management Noise air and soil pollution; Waste waters; Labor safety | Local Temporary | Ensuring EHS requirements specified in the site specific ESMPs which would include: operations during normal working hours only; access roads will be watered during dry periods, during planning phase ensure that local people are aware of restrictions during construction and alternative arrangements for access are provided; local waste water treatment; ensure construction workers are given safety instruction; ensure safety officers on site; ensure effective signage for the public and ensure that all exposed construction areas are barricaded from public access. |

## 5.2. Proposed EHS mitigation measures

- To address identified impacts the subprojects beneficiaries and contractors have to undertake a series of mitigation measures, which are presented below and which shopuld be clearly deifned in the site specific ESMP to be prepared. These are also summarized above in the last column of Table 3.

Organizational measures. Prior to the commencement of construction work, it is necessary to inform local inspectorates for construction supervision and environmental protection and the public of forthcoming activities through media and (or) on sites open for general access (including at work sites) through the disclosure of ESMP and RAP (if necessary) for a specific site for each sub-project. All activities required to implement protective measures for environmental protection and monitoring should be planned and provided for in the budget of the Customer's work plans, contractors and subcontractors. All works should be carried out in a safe and disciplined manner, with minimal impact on population and environment.

Safety and health of people during civil works. Construction workers should wear protective helmets, protective glasses, safety belts and protective shoes. Prior to commencement of civil works, workers must be instructed on safety rules. In addition, it is necessary to constantly check machinery and equipment for the purpose of identifying and repairing malfunctions, to observe periods of equipment repair, to conduct training and instructing workers who carry out maintenance of mechanical equipment, tools and devices, and safe methods and tools of work. It is forbidden to: supply with faulty or unproven tools for operation, and also leave unattended mechanical tools connected to electrical network or compressed air hoses; pull and twist cables and air hoses; Cables and hoses must not intersect with wire ropes, electrical cables; One should not hold the rotating elements of mechanized tools. It is necessary to strictly observe the current national regulations on the safe operation of cranes / earthmoving machinery and welding operations. The principal requirements in this regard are indicated in the proposed measures to mitigate the impacts of the ESMFD.

Combating air pollution and minimizing dust. During construction activities, it is necessary to store demolition wastes in the controlled area, sprayed with water to reduce dust generation. During operation of the pneumatic equipment / destruction of walls, the dust generation should be suppressed by constantly spraying water and / or installing anti-dust barrier screens on the site. No open burning of construction / waste materials at the site. Reduction of work on loading / unloading of bulk materials. When transporting any dust-forming materials to the site of restoration work, goods must be sprayed or covered. The formation of dust in the construction site during the dry season can be minimized by watering the land.

Reducing the impact on the soil and vegetation layer. Construction workers should work in such a way as to minimize the “environmental footprint" on the site. The movement of vehicles and construction equipment is allowed only along the designated access roads to prevent damage to grass cover and other vegetation cover along the site. If cutting trees is necessary within the right-of-way to provide space or to ensure the operation of construction equipment, strict control measures should be taken to prevent cutting down excessive trees and causing damage to other trees growing near. If cutting trees and bushes is unavoidable, damage must be compensated by planting trees / bushes in places coordinated with local authorities.

Prevent pollution of soil and water. Maintenance and refueling of construction machinery and equipment must be performed in service centers located at the maximum possible distance from the site. In case of performing these works on the site, it is necessary to provide an impenetrable surface for fueling and to have a stock of absorbing substances if an emergency spill occurs. Washing of machines should be prohibited near surface water bodies. Do not store building materials, if possible. Otherwise, the building material should be stored on the construction site, and protected from atmospheric effects. Used automobile oil, supplies of combustive-lubricating materials and other dangerous substances should be stored also on an impermeable surface, preferably under a canopy, and should be protected from fire. If residential buildings for workers are located in construction camps, septic tanks or toilets with a pit should be provided, and during their operation, direct discharge of water into surface water bodies and deterioration of sanitary conditions should not be permitted.

Prevention of soil erosion. Earthwork can be conducted for a long time along the object and in quarries. Soil compaction, improvement and restoration of excavated areas should be carried out immediately after completion of work in selected sites of the affected area, rather than postpone such work until the work is completed. Sawing or planting of vegetation should be undertaken as necessary to prevent erosion. The soil and vegetation layer should be removed from the sites and stored separately during excavation so that it can then be used to restore the site and restore natural vegetation as much as possible. The use of existing quarries should be encouraged to prevent a massive environmental footprint of work.

Collection and recycling of waste. Waste should be minimized, separated and handled appropriately, if possible. The burning in the open air and the illegal dumping of any waste is strictly prohibited.

Non-hazardous waste - demolition waste and others, as well as wastes containing asbestos, will be disposed at specially designated landfills in consultation with local authorities. Excess of the excavated soil will be returned to the officially designated sites. The construction contractor will receive a permit to export the waste.

Maintenance of construction equipment and machines will be carried out in specialized service centers, which also accept worn tires, filters and waste oil.

Containers for waste disposal will be placed to collect household waste from the construction site and the construction base (if available). The issue of regular removal of household waste will be coordinated with local authorities.

Utilization of transformer oil. Among many other wastes to be disposed, the waste of transformer oils should be specially noted. Although utilization of transformer oil is an economically viable procedure, enterprises are trying to minimize the amount of waste oil, which is achieved through special separation, filtration and recovery technologies to extend the shelf life of the oils. Contaminated transformer oils must be disposed and replaced with new oils, as they do not correspond to the technical requirements applied to them. Waste oil is a serious danger to the environment, therefore utilization of transformer oil is a necessary stage in completion of the oil operation. Unutilized waste oil can be a source of water pollution, which will affect the quality of water and the entire local ecosystem as a whole. It is worth mentioning the danger of ignition of oils, which will lead to release into the atmosphere of hazardous substances for human and animal life, which also indicates the need for utilization of transformer oil. The main methods used for the utilization of transformer oil are processing, incineration and regeneration. Among them, the most beneficial is the method of regeneration. Regeneration is a step-by-step cleaning of transformer oil: removal of mechanical impurities and water, evaporation, adsorbent purification. As a result, a base oil is obtained, identical to fresh, and its yield is 80-90%. Various methods of cleaning are high-tech processes, but often this is cheaper than processing and burning old oil and purchasing a new one. Spent transformer oils are a valuable raw material resource, as they are not only waste that must be destroyed, but also a product that is recyclable. Secondary use becomes possible after the processing of oils in order to remove impurities and contaminants from them through a variety of technological operations. Thus, the utilization of transformer oil is economically advantageous in view of the fact that when it is recycled for re-use it takes several times less energy and raw material costs than for the primary production of oil from oil products. Utilization of transformer oil is carried out only by the "Barki Tajik " which has necessary equipment and specialized for that purpose personell.

Handling with asbestos, ruberoid and mineral wool. The general approach in dealing with these materials is that construction companies should not allow the fragmentation (or) destruction of waste; to ensure their disposal in a closed area in order to prevent their unauthorized removal by any persons. In addition, construction companies should also not allow the release of asbestos fibers into the air as a result of crushing. Workers should wear special clothes, gloves and respirators when working with asbestos plasters, ruberoid and mineral wool. The use of asbestos-containing materials is not allowed in selected sub-projects.

Work near the historical and cultural heritage sites (HCH), the procedure for finding in case of accidental finds of cultural value. Works in vicinity of HCH sites are coordinated with local authorities. In the event of "accidental find" is found during excavation, the contractor must immediately stop all physical work at the site and inform the local authorities, prior to receiving written notice with permission to resume work.

Solving the issue of causing concern to local communities. Local communities should be notified of the timing and scope of the planned work. If work is carried out near or in close proximity to residential areas, then working hours should be strictly limited to daylight and the site should be sprayed with water to prevent dust formation. Special signs and, possibly, fencing, passages should be used if the work is carried out near children's institutions. Speed limit of traffic in residential areas should be observed. Temporary storage of construction materials and garbage, as well as parking of construction equipment, should not block or restrict access of local residents to their property and public places or, if unavoidable, alternative temporary routes should be organized.

Safety of traffic and pedestrians. Storage sites for waste and materials, work camps and access roads should be clearly marked. Work should be planned and undertaken in such a way as to minimize traffic disturbance and risk to local residents. The personnel operating the building machinery and heavy vehicles must have the appropriate licenses and be trained.

5.3. Social Risks

- Social risks could include issues related to voluntary land donations (such as depriving individuals of land and other assets in the guise of voluntary donations and in the name of the "common good"; women users of the land, settlers or migrant users being passed over in decision-making on land donations; and cross-generational conflicts on land ownership issues). To minimize such risks, any subproject that acquires land on the basis of voluntary donations will be required to first meet a set of strict criteria before the land donation is accepted (see Annex 10).

- Another social risk could be expectations of benefit-sharing from local communities residing outside of the jamoats through which the CoI passes. Such expectations could lead to resentment when benefit sharing does not materialize. This risk will be mitigated through communications and awareness-raising activities that clearly communicate project eligibility criteria to stakeholders within Project districts, and the operation of a project grievance redress mechanism (GRM) should residents raise concerns after awareness-raising activities take place. In addition, subproject priortization, selection for inclusion in jamoat development plans, and financing through the CSP will be carried out according to a consultatitive, participatory process that allows community representatives to express preferences and influence decision-making.

- Capacity building activities under Component 3 will include guidance on identifying such impacts and preparing ESIAs and ESMPs. Additionally, the selection, design, contracting and monitoring and evaluation of sub-projects will be consistent with the guidelines set out in the annexes.

- OBJECTIVES, STAKEHOLDERS AND INSTITUTIONAL ARRANGEMENTS

- The objective of the ESMF is to ensure that any activities supported by the CSP will not create adverse impacts on the local environment and local communities, and that there is effective application of the World Bank’s safeguard policies and Tajikistan’s Environmental Law and Regulations for adequate mitigation of any residual and/or unavoidable impacts. This ESMF was prepared based on the following: (i) analysis of the existing national legal documents, regulations and guidelines; (ii) World Bank safeguard policies, as well as other WB guiding materials; (iii) existing EMFs for similar World Bank projects; and (iv) results of consultations with the representatives of stakeholders and all interested parties.

- The final version of the ESMF will include minutes of the stakeholder consultation and the list of participants. As per World Bank requirements, it will be disclosed and consulted with all interested parties and the local population.

6.1. Project Implementation & EA responsibilities

- The following entities play an important role in CSP implementation: (a) Barki Tajik, (b) the State Unitary Enterprise “Energy Sector Project Management Unit” (ES PMU), (c) NSIFT, (d) Jamoat Project Commissions, and (e) Makhalla Committees. Other relevant stakeholders include: Government’s Committee for Environmental Protection (CEP), companies contracted by the ES PMU, Jamoat Project Commissions, or Makhalla Committees to provide goods, works, and services.

- Barki Tajik will delegate Project implementation responsibilities for Component 1 to the ES PMU. Barki Tajik’s role will focus on: (a) identifying village-level power supply needs, and needs for 110/10kV SS in Vorukh and (b) operating and maintaining power supply infrastructure after it is procured and installed by the ES PMU.

- For Component 1 investments, the ES PMU will be responsible for:

  - environmental screening and evaluation of subproject eligibility from the environmental point of view;

  - communication and coordination with EA competent authorities (Committee on Environmental Protection);

  - ensuring proper implementation of the ESMP and ESMP Checklist requirements during the subprojects’ realization;

  - Addressing complaints and feedback from Project stakeholders and the public, including grievances regarding environmental/social impacts of subprojects;

  - supervision (independently or jointly with the State Ecological Inspectorate) of environmental protection and mitigation measures stipulated in the ESMPs;

  - monitoring of environmental impacts as part of overall monitoring of the subproject implementation; and

  - reporting on environmental impacts originated during implementation of sub-projects and analyze the efficiency of mitigation measures applied to minimize negative consequences.

- The ES PMU will directly perform these functions for Component 1 investments. For Component 2, 3 and 4 NSIFT will take a responsibility, including for subprojects’ environmental and social screening and evaluation.  This will be done by engineers/technical specialists employed by the NSIFT. The NSIFT will conduct regular supervision of safeguards screening, documentation, and mitigation measures for Component 2, 3 and 4 activities, and include the summaries of these supervision activities in its regular reports. In a number of target areas – as will be described in the Project operations Manual, NSIFT will delegate this role to NGO Facilitating Partners.

- NSIFT (or the NGO Facilitating Partner) will be responsible for:

  - Providing training and capacity building support to Jamoat Project Commissions on safeguards implementation and compliance

  - Involve and provide inputs  in Conducting environmental screening and evaluation during the design process;

  - Informing Jamoat Project Commissions and community representatives with information on options and alternatives to mitigate social and environmental risks identified;

  - Assisting Jamoat Project Commissions to prepare and implement ESMP checklist requirements and provide this and related documentation to the NSIFT as it conducts its regular supervision activities, prepares reports on environmental impacts, and other related tasks.

For Component 2 investments, NSIFT will support disbursements of subgrants and oversee sub-project implementation, conduct community mobilization and local capacity building, and contract facilitating partner(s) for the implementation of selected corridor and Isfara target areas. Coordinating with BT/ESPMU on component 1, NSIFT will be responsible for M&E and communications. NSIFT responsibilities will include overall compliance with the provisions of the operations manual, including social and environmental safeguards compliance, the procurement of goods/works/services, oversight and capacity building for management of subprojects, consultancy services for technical assistance and institutional support, communications and outreach, capacity development of all project stakeholders, monitoring and evaluation, and consolidated reporting.   NSIFT will carry out day to day project management, and in coordination with BT/ESPMU, all necessary coordination with oblasts and districts.

- The GoT’s Committee for Environmental Protection (CEP) is responsible for State Ecological Expertise for all investment projects, and has a comprehensive mandate that includes policy formulation and inspection duties. The CEP has divisions at oblast (region), city and rayon (district) level, in the form of Departments of Environmental Protection (DEPs), within the Khukumat (local administration) at each city or rayon. A small unit in the Committee is entrusted with guiding and managing the preparation of ESIAs and SEEs.

- Contracted companies will be responsible for the design and construction/rehabilitation/installation of physical works in accordance with Tajik environmental norms, regulations and requirements. They will also be responsible for complete implementation of the provisions included in the ESMP Checklists.

- ESMF IMPLEMENTATION: STEPS & PROCEDURES

- Overall, activities for the CSP will be predicated on the principles of transparency, inclusiveness and responsive citizen engagement throughout the Project cycle. Citizen engagement values the right of citizens to have an informed say in the decisions that affect their lives. It is based on a two-way interaction and dialogue with government and emphasizes the sharing of power, information, and a mutual respect between government and citizens.

7.1. ESMF Implementation at the Subproject Level

Figure 1. The ESMF Process at the Subproject Level

Step 1 – Identification of Sub-projects

- Under component 2, Village Development Plans will be prepared using participatory development approaches  and will, among other things, emphasize participation of youth and women in planning exercises through the use of targets for participation in planning meetings, or through separate planning meetings for youth and women.

- Community representatives will be selected to join a Village Project Committee (VPC) which will be responsible for facilitating the steps in the community mobilization process. To engage youth, local young women and men will also be provided with opportunities to engage and train as volunteer community facilitators.  Training and capacity building activities will be provided to VPC members (and community volunteers) to support their active engagement in the project.  At the same time, the Jamoat Council will establish a Jamoat Project Commission to carry out defined roles.

- Adopting the participatory rural appraisal (PRA) approach, the VPC will organize and help facilitate focus group discussions (FGDs), which may include women, elderly, youth, professionals/ entrepreneurs and vulnerable HHs. The FGDs will provide the opportunity for community groups to identify, discuss and prioritize their needs. The focus group priorities will then be discussed and ranked at a village prioritization meeting, included in a Village Development Plan and communicated to the Jamoat Project Commission for endorsement. To ensure youth priorities are adequately represented in VDPs, the decisions of the youth FG will be included in a Youth chapter of the VDP identifying possible youth-related interventions eligible for funding.

Step 2 – Screening of Potential Environmental and Social Impacts and Determination of Applicable Safeguards Instruments

- NSIFT and the Faciliting Partners, working with communities will carry out the environmental and social screening of selected subprojects in each jamoat to determine the appropriate extent and type of Environmental Assessment, as well as which of the World Bank’s Policies will be triggered. This will make it possible to identify the type and scale of potential environment impacts and determine to which environmental category the subproject should be attributed.

Generally, the significance of impacts and the resulting EA categorization will depend on the type and scale of the subproject, its location, sensitivity of environmental issues, and the nature and magnitude of potential impacts.

- Type and scale of projects. Projects that are considered to have “significant” impacts and would be classified as category A projects would entail the following impacts (a) significantly impact on human populations, including settlements and local communities (b) alteration of environmentally important areas, including wetlands, native forests, grasslands, and other “critical” natural habitats and ecosystem services; (c) direct pollutant discharges that are large enough to cause degradation of air, water or soil, endangered species and “critical” habitats; (d) largescale physical disturbances of the site and/or surroundings; (e) extraction, consumption or conversion of substantial amounts of forest and other important natural habitats, including above and below ground and water-based ecosystems; (f) measurable modification of hydrologic cycle; (g) hazardous materials in more than incidental quantities; and (h) involuntary displacement of people and other significant social disturbances. For the CSP, Category A projects with such impacts will be rejected for subproject support.

- Location. There are a number of locations which should be considered while deciding to qualify the project as category “A”: (a) in or near sensitive and valuable ecosystems and “critical” habitats — juniper forests, wetlands, wild lands, vulnerable soils, and particular habitats of endangered rare and endemic species; (b) in or near areas with archaeological and/or historical sites or existing cultural and social institutions; (c) in densely populated areas, where resettlement may be required or potential pollution impact and other disturbances may significantly affect communities; (d) in regions subject to heavy development activities or where there are conflicts regarding the allocation of natural resources; along watercourses, in aquifer recharge areas or in reservoir catchments used for potable water supply; and on lands or waters containing valuable resources (such as fisheries, minerals, medicinal plants, prime agricultural soils). Subprojects located in the proximity of such areas will be classified as category A projects and will not be considered for support by the CSP.

- Sensitivity. Sensitive issues may include (but are not limited to): conversion of wetlands, potential adverse effects on endangered species and habitats as well as protected areas or sites, involuntary resettlement, impacts on international waterways and other transboundary issues, and toxic waste disposal.

- Magnitude. There are a number of ways in which magnitude can be measured, such as the absolute amount of a resource or ecosystem affected, the amount affected relative to the existing stock of the resource or ecosystem, the intensity of the impact and its timing and duration. In addition, the probability of occurrence for a specific impact and the cumulative impact of the proposed action and other planned or ongoing actions may need to be considered. Taking into account the scale of the proposed subprojects, it is expected that the magnitude of their environmental impacts will be low. Therefore, they will be classified as Category B projects that could be considered for CSP support.

- The initial screening for the eligibility of the subproject will be based on the list of excluded activities (see Table 1) that will be not be permitted by the WB. Therefore, subproject proposals that include these activities will not be considered for financing.

- Once it is confirmed that the subproject is not part of the list of prohibited activities, a rapid assessment will be conducted of the likely environmental impact and the potential for involuntary resettlement, that will be based on the requirements of national legislation and WB policies, completing the screening form presented in the Annex 3. Subproject activities will be checked against WB criteria for Category A projects. The Screening Checklist on Social Issues should be also filled out for this purpose, see Annex 4.

- Table 4 provides guidance on the various types of activities that could be proposed for CSP subprojects, as well as the different environmental categories and suggested EA instruments for each of them.

- Table 4. Screening of Categories for Proposed Types of Subprojects

| No | Project activity | Proposed Category | Remarks | Proposed EA instrument |
| --- | --- | --- | --- | --- |
| - Supply Improvements Subprojects |  |  |  |  |
| 1 | Replacement of existing supply-level transformers | C/B | In the case the transformer’s oil contains PCBs, the project will be cat B. | The initial step in subproject EA is oil sampling and conducting its express analysis. In the case the PCBs will be identified, then a simple EMP should be prepared which would specify measures for storage and disposal of these substances, as well as safety measures, that should be prepared and approved by the subproject beneficiary and environmental authorities. |
| 2. | Installation of new supply-level transformers | C |  | The contract provisions should specify labor safety rules and that the new transformers do not have oil containing PCBs |
| 3 | Installing new lines and poles and replacing old ones | C |  | The contractors should ensure labor safety issues and provide before starting the civil works special EHS training. |
| 4 | Constructing/rehabilkitation of 110/10 distribution substation (installing transformers/disconnectors, relay protection, telecommunication devices, etc) | B |  | EMP Checklist for rehabilitating the electrical substations. Before preparing the EMP Checklist, it is necessary to conduct oil sampling and its express analysis. In the case the PCBs will be identified, then the EMP should be complemented with a special section that would specify measures for storage and disposal of these substances, as well as safety measures, that should be prepared and approved by the subproject beneficiary and environmental authorities. |
| 5 | Replacing wooden poles and wires, | C |  | The contractors should ensure labor safety issues and provide before starting the civil works special EHS training |
| - Energy Efficiency Subprojects |  |  |  |  |
| 6 | Implementation of clean efficient heating stoves or solar powered cookers | C |  | Potential impacts are associated mostly with the indoor and outdoor air pollutions, which are short term and site specific and will be mitigated by recommending, based on an initial study, actions for improving the individual stoves performance or new, more energy efficient type of stoves |
| 7 | Installing of street lighting (including solar-powered systems) | C |  | The contractors should ensure labor safety issues and provide before starting the civil works special EHS training |
| 8 | Small renewable energy elements (solar powered PVs, or solar powered water heaters/collectors, heat pumps) | C |  | The contractors should ensure labor safety issues and provide before starting the civil works special EHS training |
| 9 | Energy conservation subprojects (insulated doors, windows in schools, kindergartens and medical centers) | C/B | In the case of hazardous materials will be founded (asbestos containing material) or lead containing paints to be replaced. | For Category C subprojects – the contractors should ensure labor safety issues and provide before starting the civil works special EHS training; for Category B – prepare ESMP Checklist |
| 10 | Energy efficient water pumps | C |  | The contractors should ensure labor safety issues and provide before starting the civil works special EHS training |
| - Community Socio-Economic Infrastructure subprojects |  |  |  |  |
| 11 | Access to water supply for drinking (replacement of water pipes; building new water supply network; building of small water intake; construction of overhead water tanks) | C/B | In the case of building of a new water supply network and new water intake – Category B/ In case of replacing old pipes; rehabilitating existing water intakes or construction of overhead tanks – Category C. | For Category B subprojects – simple ESIA and ESMP/or ESMP Checklist |
| 12 | Access to water for irrigation and agriculture (rehabilitation of on farm irrigation infrastructure; cleaning of on-farm and drainage channels; rehabilitation of pumping stations and vertical drainage wells repairs) | B |  | Simple ESMP |
| 13 | Rehabilitation of kindergartens and schools, roads, footpaths and bridges, and sports/social facilities | B |  | ESMP Checklist |
| 14 | Economic infrastructure, such as small-scale storage and/or processing facilities for horticultural products; | B |  | ESMP Checklist for small storages and simple EIA and EMP for new processing facilities for horticultural products |

- Results of the screening will be reflected in the screening form presented in the Annex 5 and would include the following:

    - Category "A" projects and those included in National categories I and II will be excluded from financing;

    - Category B subprojects – will need either a simple ESIA and/or a simple ESMP, see below.

    - No further EA actions would be required for category C subprojects.

Step 3: Development of Safeguard Instruments, their review and approval

- For Category B projects an Environmental and Social Impact Assessment (ESIA) (see TORs for such study presented in the Annex 6) will be required to identify, evaluate and to prevent potential environmental impacts and identify mitigation measures that may be incorporated into the project design within the ESMP (see Annex 7 with the format of the ESMP) or ESMP checklist (see Annex 8 with the EMP Checklist for small scale construction and rehabilitation activities). The purpose of the ESMP is to predict potential effects and improve the environmental aspects of projects by minimizing, mitigating or compensating for negative effects. Simple Environmental and Social Management Plan Checklists will be used for category B projects that are likely to have minor environmental impacts, and that are typical for small scale construction and rehabilitation investments.

- To address potential environmental and social impacts in the case of rehabilitation of electrical substations it is proposed to use an EMP Checklist, which was designed for a project in Tajikistan and which is fully applicable for the similar works in Tajikistan (see Annex 8). The EMP Checklist has three sections: (a) Part 1 constitutes a descriptive part (“site passport”) that describes the project specifics in terms of physical location, the project description and list of permitting or notification procedures with reference to relevant regulations. Attachments for additional information can be supplemented if needed; (b) Part 2 includes the environmental and social screening in a simple Yes/No EMS format as well as specifies mitigation measures; and (c) Part 3 is a monitoring plan for activities carried out during the rehabilitation activities.

- For Category B subprojects it is necessary to disclose the EA document and conduct public consultations with the project affected people and interested parties. For all projects that would require an ESIA and ESMP should be organized face to face consultations. For that purpose, it is necessary to disclose in advance the EA document (about two weeks) in on the BT website as well as providing hard copies to local public administrations and key interested parties (environmentalauthorities). During the consultations, the subproject applicants will register all comments and suggestions on improving the ESIA documents and will prepare relevant reports to be included in the final version of the EA documents. For subprojects related to the rehabilitation of  electrical substations, as the proposed activities will be implemented on existing, well fenced areas, which usually are located outside of the settlements or which have clear designed sanitary zone of 100 meters, although there is no need for a special public hearing regarding the ESMP, the project beneficiary should provide information to all interested parties about the civil works and electrical stations renovation activities by installing a notice plate placed at the rehabilitation. Furthermore, other specific information related to the project activities and EA should be also publicly available on-line on the project website or BT website. Based on that the public consultation can be done virtually receiving relevant questions/proposals on-line and taking them into consideration while finalizing the substations EMPs. Similarly, in the case of EMP Checklist for rehabilitation of existing facilities, the public consultation can be done virtually, as in the case of rehabilitating electrical stations.

- As described above, only in some cases, as per national legislation and when it is necessary to conduct an ESIA and prepare an ESMP, the subproject beneficiary has to submit all EA documents for approval to the oblast level State Ecological Expertise, which will issue a decision, to be used for approving and/or rejecting subproject proposals.

- The final approval of subprojects is provided by ESPMU for component 1 and by NSIFT for Component 2, once all EA documents have been prepared, accepted, and, if needed, preliminary approval is provided by the State Ecological Expertise. The ES PMU/NSIFT and subproject beneficiaries will then sign an agreement which will include statements on compliance with all EA documents.

Step 4. Subproject implementation and ESA supervision, monitoring and reporting

- Once the project is approved and the beneficiary starts it implementation, it should be undertake supervision and monitoring activities as per the approved monitoring plan. Futhermore, the subproject beneficiary should, as agreed in the monitoring plan, present relevant and regular reports on the ESMP’s implementation.

A summary of the steps and activities to be undertaken to conduct the EA for subprojects is presented below in Tables 6 and 7 for components 1 and 2.

Table 6. Conducting ESIAs for Component 1: Support for Rural Electricity Supply Improvements

| Step 1 | - BT in cooperation with the local public authortities identify and prepare subproject proposal; - The subproject passes the screening and the ES PMU completes Section 1 of the Environmental Screening table; - Based on environmental category the ES decides which type of ESIA to be conducted (in the case of replacing old transformers); Notes: for replacing old transformers and for rehabilitation of the electrical substation, before completing the EMP Checklist, Barki Tajik is conducting sampling on PCBs. |
| --- | --- |
| Step 2 | a. For subprojects on replacing old transformers and rehabilitation of SSs a field visit is organized which informs the completion of the EMP Checklist. b. For Category C no other EA activity is required and the subproject beneficiaries and contracting companies are following the well-known health and safety requirements for civil works. |
| Step 3 | BT prepares an ESMP and conduct, if needed, and ESIA and prepare an ESMP Notes: - Category B projects which presume rehabilitation of electrical substations are a subject of the State Ecological Expertise. - The contents and description of the Environmental and Social Management Plan Checklist for rehabilitation of electrical substations are presented in the annex 9. |
| Step 4 | For Category B subprojects Barki Tajik organizes disclosure of the draft ESMP Checklist and organizes a public consultation, involving NGOs, community representatives, affected groups, etc. Formal minutes will be prepared to record inputs provided by the participants. Notes: In the case of rehabilitation of existing electrical substations located beyind the borders of a locality Barki Tajik will organize the ESMP Checklist disclosure with a virtual public consultation; |
| Step 5 | The ESMP Checklist for rehabilitation of electrical SSs will be submited for the review and clearance to the State Ecological Expertise. Notes: Category C subprojects do not require prior review by the SEE or the ES PMU. The ES PMU will regularly supervise the implementation of the ESMF for these subprojects on an ex post basis. |
| Step 6 | - The subproject applicant will submit the full set of environmental documents for consideration and further decision on funding; - Upon approval of sub-projects, the ES PMU will complete subproject appraisal and proceed with signing of the financing agreement with respective sub-project beneficiaries. |
| Step 7 | BT organizes ESMP implementation and conducts periodical supervision, monitoring and reporting, as per agreed monitoring plan |

Table 7. Conducting ESIAs for Component 2: Community-led Social and Economic Infrastructure Investments

| Step 1 | - NSIFT or FPs (engineers or technical specialists) conduct screening of the subproject with regard to prohibited/excluded activities; - If the subproject passes the screening for the list of prohibited/excluded activities, NSIFT specialists assist Jamoat Project Commissions or VPC to complete Section 1 of the Environmental Screening table; - Based on the Environmental Checklist, the environmental category and the type of EA to be conducted is determined– either a partial ESIA or an ESMP; - d) The results of the screening, including potential negative impacts and possible measures to mitigate impacts, are presented to community representatives during subproject prioritization meetings held at the Jamoat level. Jamoat Project CommissionJamoat Project Commission |
| --- | --- |
| Step 2 | - If the subproject requires a complete ESIA and ESMP it should be referred to NSIFT or FPs for further action. - For Category B and Category C subprojects, NSIFT or FPs specialist notes potential environmental risks and indicates how they will be prevented/mitigated in the Environmental Screening Table |
| Step 3 | - If the subproject is selected for funding, NSIFT or FPs specialists assist Jamoat Project Commission or VPC to prepare the ESIA and ESMP or ESMP Checklist Notes: In the case of Category B small-scale construction and reconstruction activities the requirement is to apply the WB Environmental Management Checklist to address potential environmental impacts; |
| Step 4 | NSIFT or FPs assist Jamoat Project Commissions or VPCs to organize its disclosure of the draft partial EIA or EMP Checklist and organizes a public consultation, involving NGOs, community representatives, affected groups, etc. Formal minutes will be prepared to record inputs provided by the participants. |
| Step 5 | Jamoat Project Commissions or VPCs can proceed to implementation once the partial ESIA, ESMP or ESMP Checklist, is completed and updated based on community consultations. |
| Step 6 | a. The subproject applicant will submit the full set of environmental documents for consideration and further decision on funding; b. Upon approval of sub-projects, NSIFT or FPs will complete subproject appraisal and proceed with signing of the financing agreement with respective sub-project beneficiaries. |
| Step 7 | The jaomat/mahalla conducts periodical supervision, monitoring and reporting, as per agreed monitoring plan. |

7.2. Site screening to identify the environmental and social impacts of new 10 kV lines (transmission lines) to be installed under Component 1A

- Inspection of the TL elements and assessment of their technical condition will be done by the order of the customer by the organizations having the license for the right of carrying out inspection and calculations of the 10 kV lines elements. Results of inspection and assessment of the condition are enclosed to the design assignment. Participation in inspection and assessment of technical condition of the design representatives and the representatives of specialized organizations is necessary. When the detailed designs are completed the impacts and mitigation measures will need to be further reviewed to inform the preparation of the contracts and in light of any fine tuning of the sub project proposal that may be required.

- The selection of TL routes should be based on the technical and economic comparison of the competing options and should consider: (a) natural features of the territory (relief, climate, availability of dangerous geological processes, etc.); (b) environment condition (aggressivity of soil, ground waters, etc.); (c) modern economic use of the territory; (d) territory value (nature protection, cultural, national, especially protected natural areas, natural habitats, wetlands and so forth); (e) possible damage caused to natural and social environment as well as possible changes in the surrounding environment as a result of TL construction and consequences of these changes for the environment, life and health of the population.

- When designing TL the following should be provided:

- Requirements for ecological safety and environmental protection.

- Optimum use of land, i.e. application of the structures and design decisions requiring, with other conditions being equal, the minimum acquisition of land for permanent and temporary use and the smallest area of deforestation.

- Selection of new sections of TL route, its ecological justification, coordination and engineering surveys should be carried out according to the requirements of the existing state and departmental standards, regulatory and guidance documents

- Fulfillment of the requirements of regulations regulating the degree of TL impact on the environment, activity and health of the population, applying corresponding structural and design decisions, and if necessary, special activities providing the decrease in TL impacts to the safe values required by the existing rules. In case of absence of regulatory documents for separate types of impacts it is necessary to use the available data of the relevant research organizations and operating experience of the similar objects (including abroad).

- When passing TL across the territory of natural habitats, as well as near the historical and cultural monuments accomplishment of the actions directed to reduction of visual impact of TL on natural landscapes, such as TL shielding by relief and vegetation from automobile and rail roads is recommended; using of poles meeting the requirements of industrial design; protective painting of the pole; using of poles of different height and so forth. In case of impossibility of bypassing of ecologically vulnerable areas, passing of TL across these areas is allowed in agreement with the relevant supervisory environmental authorities. At the same time the actions ensuring their safety should be provided.

- It should be noted generally that the work of the construction of the new lines and reconstruction of existing lines as planned does not produce large amount of dust, machinery emission and noise. Impacts are even less than any house construction within villages. Thus, the site specific EMPs for new TLs will consider measures to reduce impacts as necessary. Temporary work camps have more impacts if planned as a base camp for longer sections. However, the lengths of the planned lines do not require the establishment of work camps. Due to relatively small amounts, workers, mainly from villages in the surrounding are able to go back home in the evening or find accommodations in the nearest villages.

- The location of the residences, mosques, schools, hospitals and civic, cultural and other heritage sites has been reviewed. The line route should be selected in way that minimum disturbance to human settlements occur and the alignment is along agriculture land and has no human settlements and structures in its ROW of 30m. No sensitive landscape will be affected. In some cases, during detail design, some deviations are possible to even increase the distance from any building or settlement. For installation of poles and their further operation the existing roads and access roads will be used, construction of only insignificant number of new roads might be required.

- Noise from the construction of the towers should not be a major consideration unless very close to schools or hospitals where construction should be avoided at sensitive times. In addition to the physical effect of mitigating dust and noise with barriers installation of such measures should be discussed with the local population and serve as a vehicle for further public consultation at the implementation stage to assist in public relations.

7.3. Ensuring labor safety during oil testing and handling of transformer PCBs

- PCBs properties and main requirements to their elimination per Stockholm Convention. Polychlorinated Biphenyls (PCBs) are colorless liquids and a class of chlorinated organic compounds formed by the addition of chlorine to biphenyl. From the technical point of view, the characteristics of PCBs are quite advantageous, thus they found a wide range of applications such as dielectric, cooling and hydraulic fluids as well as fluids for thermal transmission in transformers, capacitors, hydraulic machines etc. According to the Stockholm Convention it is forbidden: (a) to produce, import and trade PCBs; (b) re-use and process PCB waste; and (c) re-fill PCB equipment. Furthermore, the existing PCBs and all equipment contaminated with PCBs have to be eliminated in an environmentally sound manner without producing hazards for humans or the environment until 2025.

- Determination of PCBs in transformer oil. Although during the soviet time there have been produced some amount of the PCBs, based on the inventories done in other countries it is possible to qualify the probability of finding PCBs as very low. Nevertheless, to make sure the transformer oils at the electrical stations that would be included in the project are not contaminated with PCBs, it is necessary their testing and for that purpose was proposed two options while testing transformer oils on PCBs:

## (a) Visual Checks to Determine PCB Content. Some former USSR manufacturers identified the dielectric fluid in the type or serial number specifying that on plates on the transformers. These identification plates usually state that the transformer does contain PYROCLOR, ASKAREL, SOVOL or a specific serial no. etc. So, this is the first step to identify the PCBs in transformer oil. In the case if the type of oil is not specified then it is necessary to apply the second option.

## (b) Testing on PCBs. This would require applying non-specific methods to identify classes of compounds such as chlorinated hydrocarbons, to which PCBs belong. These methods include PCB field screening tests like CLOR-N-OIL and CLOR-N-SOIL test kits as well as the L2000 DX field analyzer or applying the Beilstein Method. This method is based on identification of the presence of Chlorine in the transformer oils. For that purpose a piece of copper oxide fastened to a platinum wire is moistened with the oil to be tested and held in the outer zone of a Bunsen flame. As soon as the carbon has burned away, the presence of chlorine is indicated by the greenish or greenish-blue colour of the flame. This colour is produced by volatilizing copper chloride and its intensity and duration depends on the amount of chlorine present. As there is a risk that highly toxic dioxins are unintentionally formed and released during this identification, this test may only be performed in a laboratory by experienced chemists. As Ubbekenergo up to know has used this method previously and its staff is well aware about this method, the PCBs testing will be done based on the further application of this method which is also recommended by the UNEP “"Guidelines for the identification of PCBs and materials containing PCBs" “Chlorine presence test”.

- Safety Rules while PCBs testing. Access to the potential PCB contaminated equipment in terms of high voltage electrical equipment should be done according to the “Rules for technical usage of electrical equipment”. It is necessary to prepare a sampling box that contains basic equipment for sampling activities. This ensures access to essential equipment immediately when required. For that purpose are used only glass bottles which should must be absolutely clean with the capacity of about 20-30 ml. In order to prevent the skin from coming into contact with PCBs, one-way protective gloves must be worn. The eyes must be protected against possible oil splashes by wearing goggles. The sample can be taken by using the drain tap, which usually is at the bottom of the transformer. If a transformer has been disconnected from power for over 72 hours the sample should generally be taken from the bottom, as PCB sinks to the lower level because of its higher density. Sometimes the gasket gets damaged when the drain tap is opened. It is therefore advisable to always have a spare gasket ready. Alternatively transformers can be sampled via the oil filling cap by using a hand pump (consider: a new hand pump must be used for each transformer). Oil samples from the expansion receptacle cannot always be regarded as representative, because the oil does not circulate and thus it is not really mixed.

- Steps in PCBs testing. The following steps must be followed when sampling a transformer:

- Place a drip tray under the drain tap,

- Label the sample bottle with the same serial number as on the inventory form,

- Drain off the required amount of oil into the sampling bottle – quantity depending on the intended analysis, and,

- Carefully retighten the seal.

- Then affix a label on the transformer with the same serial number as on the inventory form and sample bottle.

- Testing of Phased Out and Drained Transformers. Even if a device has been drained, there should be still be some oil present in the passive part of the transformer due to the leaching in the days and week after the draining. Depending on the size of the transformer, the leaching from the solid parts of the device (wood, insulation paper etc.) can leave a few liters of oil at the bottom of the transformer. However, usually there is not enough oil to sample it via the drain tap, as the oil layer is deeper than the valve. In such cases, the device needs to be sampled through an opening in the top. Stiff tubes (e.g. glass or PE) can be used to take a sample of the oil at the bottom of the transformer. The PCB results obtained from drained transformers could be higher than the original contamination in the transformer. This is due to the leaching effect from the core and windings into only a limited volume of oil. If there is no oil at all left in the device, solid materials from the active part of the transformer could to be sampled and analyzed (wood or insulation paper). However, such analysis can only be performed in a laboratory by gas chromatography. Due to practical reasons it might be advisable to label such drained transformers as PCB-contaminated and note it accordingly in the physical site inspection report (respectively inventory form) and leave it for future investigations.

- Recommended actions in the case of contaminated with PCBs transformers. In the case the PCBs have been founded in transformer oils Barki Tajik has to follow as prescribed in the “Guidebook on Environmental Sound PCB Management in Electrical Equipment” (prepared under Moldova POPs Stockpiles Sustainable Management and Destruction project) which is based on best international practice in this regard and label the polluted equipment, keeping used oil and contaminated transformers in the tanks in a guarded facility, until when the proper utilization/disposal measures will be in place. The text below presents key safety issues on PCBs handling.

- Dismantling the PCB transformer, safety measures and environmental protection. When decommissioning the PCB containing equipment, all technical and organizational measures are taken for safe work performance. In practical terms, the decommissioning starts with logoff procedure carried out in accordance with local safety regulations for handling the electrical equipment and manufacturer’s instruction (if available). Before starting to work with transformers, it is necessary to ensure that transformer is turned off on the low and high voltage side, that the incoming and outgoing lines are short-circuited and visually and safely grounded on the work position and that the contact-breaker panel marked with clear sign “do not turn off, works in progress”. Besides, it is necessary to make sure, that the access to transformer does not represent any risk.

- The working area shall be isolated with red and white plastic tape, in order to avoid unauthorized access. The fire extinguisher must be installed in an appropriate place of the site, ready to be used in case of fire risk hermetically seal these leaks to prevent further crossed contamination. Also, remove all visible contaminations from metal parts, for example, using the acetone, to provide safe operation in the future. If there are no leaks or defects of the transformer, and its surface is clean and depletion did not occur at the site, then the decommissioning may be carried out in standard safety work clothing. It is allowed to fill the same barrel with oil that contains PCB from different transformers, if PCB content or similar concentration is marked. If there are no data on PCB content in oil, then the oil is considered to be contaminated with PCB and the barrels with undefined oil must be marked as contaminated with PCB.

- After decommissioning the PCB containing equipment, the owner of such equipment and wastes safely and temporary stores them for further transportation to the central warehouse and detoxification and disposal. Small-sized equipment of the performance type (for example, condensates) that remained leak-proof are dismantled from its operation sites and packed as a whole without opening and PCB draining. Large-sized equipment must be drained off of PCB in order to avoid leaks during transportation. While dismantling and transporting, it is recommended to empty the transformer at its location in advance in accordance with detailed action plan and provide all required equipment, such as, PCB pumps, barrels, personal protective equipment and tools, to avoid the risk of PCB containing cooling liquid loss.

- Before draining the oil, it is necessary to take safety measures in case of spilling: cover the ground by one or two layers of canvas of increased strength and set the containment basin under main parts, such as: oil pump, box coupling, and, etc. It is also recommended to have absorbents ready, such as: sand, cement mixture. Due to fluctuation (glutinosity) of PCB containing cooling liquid, there may be some difficulties when opening the drain tap. This fact is necessary to be considered in advance, to resolve the situation in the best possible way. If the tap is impossible to open, empty the transformer through the oil filling hole or by dismantling the isolation.The transformer must be mounted at a certain angle till its fully empty, to get as much cooling liquid as possible. It is necessary to take into consideration that after emptying, some amount of oil in the transformer will remain, and may then vaporize from windings in course of time. The drain tap must be closed until the draining is completed and where possible the transformer should be filled with absorbent to retain the remnants of oil. After removing the transformer from protecting cover, visually inspect the area and if necessary clean the floor, tranches and walls, and the rest cables before mounting new transformer.

- All staff assigned to deal with PCB must be well instructed on proposed action plan regarding safety measures, use of equipment ensuring the safety, and applicability of state norms. As far as possible, the PCB liquids must be transported by means of pump used to reduce dissemination and losses caused by leaks. It is necessary to use the radial-flow pump with all wetted surface made of stainless steel. Shaft packing must be with carbon rings of external type to limit the destructive impact of PCB on gasket material. Valves must be made of copper or covered with stainless steel. The sleeve must be made of flexible metal or covered with tetrafluorethylene or silicon polymers, and the containment basin must be placed under all pumps, valves and clutches for sleeve connection.

- The samples of the equipment or materials potential to contain PCB must be carefully taken without spilling or losing. If the backing block is required, the oil absorbing carpet is used. All working materials must be cleaned with acetone or disposed as hazardous wastes, including personal protective equipment (PPE). Objects made of glass or metal may be totally cleaned; synthetic material, objects made of plastic and wood and etc. could not be cleaned and must be disposed as hazardous wastes. When interfering with equipment that has leakage or which is in bad condition, it is necessary to prevent the leak or contamination.

- In the areas of spills: contaminated area must be marked and fenced off. The clothes and boots must be changed in the designated place (room) when entering and exiting the contamination area. If possible, the leak must be detected and hermetically sealed, for example with joint sealing. Besides, the decommissioned equipment that develop a leak must be placed in steel barrel or containment basin, in worst case, absorbing tissues shall be put around the equipment and the replacement must be performed in the closest time. In case of leak due to damaged equipment, install an appropriate containment basin. Small amount of leaks must be hermetically sealed, and when performing these actions relevant equipment for ensuring safety must be used. In this regard it is recommended to keep the respective material (containment basin, rubber gloves, hermetic material) close to such equipment.

- Visually detected contaminated soil or concrete must be dismantled as soon as possible to prevent further contamination. The surface of the objects (transport vehicles, sidewalks, buildings and etc.) must be cleaned using the materials absorbing the oil, and the surfaces must be wiped with solvent. After cleaning, the surfaces must be chemically checked on the results of cleaning process. The material used for cleaning must be place in barrels for disposal.

- Marking. All barrels, containers and equipment containing the PCB, PCT and PBB or contaminated with such, must be clearly marked with a caution label, as well as with the label containing such information about this equipment or barrels. These information includes the data on barrel content or equipment configuration (exact amount of equipment or volume of liquid), type of wastes, name of place, origin of the wastes in order to provide the opportunity to track the data of recurrent package, where required, and also the name and telephone number of the responsible person.

- Package. Before placing to the warehouse or transporting wastes containing the PCB, PCT or PBB, they must be packed in boxing:

- Liquid wastes must be placed, for example, in steel barrel with double gap closure;

- Large-sized drained equipment is stored without package or packed in a big container (external isolating barrel), or in thick plastic case, if there is a risk of contamination;

- Small-sized equipment with liquid or emptied must be placed in barrels with absorbent materials. One barrel may contain big number of small-sized equipment, in case of sufficient absorbent materials inside of it. Loose absorbent may be procured from suppliers of specialty goods, related to safety measures. Rasping and sand can also be used;

- Barrels and equipment may be mounted on the containment basin for movement using the forklift truck and for storage. Before moving the containment basin, the barrels and equipment must be fixed with lashing straps.

- Temporary storage of PCB containing equipment and wastes. Owner of PCB containing wastes stores them on the production areas or special rooms for not more than 12 months since its placement.

- Technological instructions on dismantling and transportation of the transformer. The following requirements have to be followed:

- Disconnect the tire and descents from the taps, power and control cables from the motors and gears, transformer grounding;

- Perform a partial dismantling of the fire protection system;

- Perform an external transformer inspection to identify defects, mark with chalk any leakage points; Draw up a statement of inspection for defects (if necessary);

- Shut off gates and valves between the heat sinks and the transformer tank;

- Clean the exterior surfaces of the contact input terminals from dirt;

- Mark all the rails the points of coupling with rollers of the carriages of the transformer, lift the transformer with jacks from the expander side, remove the gaskets providing the slope of the transformer on the axis of the gas relay location;

- Inspect the carriages and rollers, brush roller axis;

- Lower transformer on the rails to check the reliability of fixing of carriages to the bottom of the tank;

- Secure units of the pulley block to the anchor and special structure on the transformer to move it along the transverse axis;

- Gradually unwinding the cable from the winch drum, pass it through a snatch block, charge the pulley block, secure the end of the rope through the ear in the block and strengthen the slack in the pulley block;

- Carefully check the condition of the carriages and rolling paths. Check the joints on the crossings of tracks, set insertions at the junction of rail crossings and fix them;

- Move the transformer as follows:

- Move the transformer from the foundation onto the rotation crosspiece;

- lift transformer to 150 mm, turn the carriage to 90 °, lower the transformer, fix the carriages, rearrange the insertions in the crosspieces, rearrange the pulley block;

- move the transformer to 40 - 50 m and rearrange the pulley block

- Operations for turning rollers and rolling along the longitudinal and transverse axes should be repeated all through the rolling path. Transformer should be rolled smoothly, without jerks, at a speed not exceeding 8 m/ min. Tractive effort should be directed towards the axis of rails. Raising of the transformer by means of hydraulic jacks should be carried out smoothly, monitoring by pressure gauges, installed on these jacks, distributing the loan evenly on the jacks. Hydraulic jacks should be installed only in areas specified in the transformer technical documentation. The installed hydraulic jacks should have the safety nuts on the piston crowns. The connecting hoses must be pre-tested and tested and have no twists.

- In some cases, it is allowed to move the transformer in a partially disassembled state.

- Disposal of transformer oil. Among the many kinds of wastes to be disposed of, the transformer oil should be mentioned separately. The main task of the transformer oil is to cool power transformers, reactors, oil circuit breakers, which get heated by the electric current. The main requirement for transformer oils is their purity, that is, the absence of extraneous fibers and water that gradually reduce its resistance to electricity. With continuous care, regular cleaning and removal of the oxidation products of oil can last up to 25 years. Although transformer oil recycling is a cost-effective procedure, companies seek to minimize the volume of waste oil, which is achieved by means of special separation technology, filtration and recovery for extending the working life of oils.

- Over time, the transformer oil loses its original quality as a result of accumulation of oxidation of oil products different impurities and pollutants. The polluted transformer oil must be disposed of and replaced with new oil as it ceases to meet the relevant technical standards. Used oils represent a serious danger to the environment, so the transformer oil recycling is a necessary stage in the oil exploitation process completion. Non-recycled waste oil can become the source of water pollution that affects the quality of water and the local ecosystem as a whole. It is also worth mentioning the dangers of fire oils, which would emit into the air substances hazardous for human and animal life. This reinforces the need for disposal of transformer oil.

- The main methods used for disposal of transformer oil are recycling, incineration and recovery. Among these methods, recovery is the most advantageous method. Recovery is a multistage process of purification of the transformer oil: Removal of mechanic impurities and water, evaporation, and adsorbent cleaning. Following this process, the base oil identical to the fresh one is recovered, and its yield is 80-90%. Various methods of cleaning processes are high-tech, but it is often cheaper than to process and burn the old oil and the buy new one. Used transformer oil is a valuable raw material, as it is not only a waste that must be destroyed, but also a product to be reused. It becomes possible to reuse it after processing oils to remove impurities and pollutants from it using a variety of technological operations. Thus, transformer oil recycle economically advantageous due to the fact that when it is processed for reuse it requires several times less energy and raw material than for the primary production of transformer oil from petroleum oils.

- ENVIRONMENTAL SUPERVISION, MONITORING & REPORTING

- The monitoring of subproject activities is intended to provide information about key environmental and social impacts and the effectiveness of mitigation measures, which is required to to: (i) ensure early detection of conditions that necessitate particular mitigation measures, and (ii) furnish information on the progress and results of mitigation. The monitoring section of the ESMP provides: (a) a specific description, and technical details, of monitoring measures, including the parameters to be measured, methods to be used, sampling locations, frequency of measurements, detection limits (where appropriate), and the definition of thresholds that will signal the need for corrective actions; and (b) monitoring and reporting procedures.

- The ESMP Checklist provides guidance on monitoring methodology (parameters to be measured, methods to be used, sampling locations, frequency of measurements) and reporting procedures to (i) ensure early detection of conditions that necessitate mitigation measures and (ii) compile and track information on the progress and results of mitigation measures.

- Construction contractors selected/appointed by the ES PMU/NSIFT/FPs (Component 1 and Category B subprojects under Component 2) (or by JPC/VPCs) will be responsible for implementing ESMPs for respective subprojects, and ensuring that there is compliance with environmental and social safeguards regulations throughout the construction period. All contractors will be required to reflect environmental guidelines in their financial bids and contracts for individual subprojects and to use environmentally acceptable technical standards and procedures during construction of works. Payments to contractors will be contingent on the final inspection, with particular attention to the requirement of restoring the site to its original condition upon completion of rehabilitation activities. Additionally, contract clauses shall comply with national regulations on energy efficiency, construction, health protection, and safeguard laws and rules on environmental protection. the relevant implementing partner will assist JPCs or VPCs to monitor contractor compliance.

- If approved, there will be periodic supervision of Category B subprojects by the ES PMU/NSIFT/FPs and the World Bank team (during its supervision missions) and by local ecological/environmental inspectors as needed. The ES PMU/NSIFT/FP will conduct site inspections prior to, during and upon completion of rehabilitation/construction activities to ensure full compliance with contractual conditions and the ESMP, and to verify that appropriate preventive actions and/or mitigation measures have been implemented. Such information will enable the ES PMU/NSIFT/FP and the Bank to evaluate the success of mitigation as part of project supervision, and will allow for corrective actions to be taken when needed.

- If Project Supervision Consultants (PSCs) are employed by the ES PMU/NSIFT/FPJamoat Project Commission, they will supervise construction works on subproject sites and will be familiarized with subproject ESMPs so that they can ensure that the construction contractors adhere to the same.  If there are deviations in ESMP implementation, these Consultants will bring it to the notice of the ES PMU/NSIFT/FP and then the World Bank. In the case of non-compliance with environmental and social requirements and mitigation measures, the ES PMU/NSIFT/FP and local ecological/environmental construction inspectors will investigate the nature and reason(s) for non-compliance, and determine and communicate steps that would need to be taken to bring activities into compliance, or whether financing should be suspended.

- As part of its environmental and social monitoring activities, the ES PMU/NSIFT/FP will conduct random inspections of project sites to determine the effectiveness of measures taken and the impacts of sub project activities on the surrounding environment. The ES PMU/NSIFT/FP are also responsible for processing, addressing and monitoring complaints and other feedback, including that on environmental and social issues.

- The ES PMU/NSIFT/FP will be responsible for ESMP reporting and will:

Record and maintain the results of project supervision and monitoring throughout the life of the project. It will present summary progress reports on ESMF implementation and the safeguards aspects of subprojects on a semi-annual basis to the World Bank, and as part of this reporting, provide updates on any CSP related as grievances/feedback that was received, that has been addressed and that may be pending.

Prepare semi-annual reports on the progress of implementation of measures proposed by the ESMP for selected sub-projects;

Prepare semi-annual reports on the environmental impacts originated during implementation of sub-projects and analyze the efficiency of mitigation measures applied to minimize negative consequences;

Prepare outlines and requirements for Contractors’ reports on environmental protection and mitigation measures, and review Contractor’s monitoring plan and reports

Present the impact of mitigation and environmental and social protection measuresfor general public via specific publications or/and by annual public seminars.

- CITIZEN-CENTRIC MECHANISMS FOR IMPLEMENTATION

9.1. Public outreach

- As the ESMF recommends preventive actions rather than mitigation measures to address safeguards risks, it is important to ensure that project implementers receive information and training to minimize impacts on proper management and disposal of fuels and wastes generated at concrete rehabilitation sites, and on environmental and social impacts management practices. Taking this into account the CSP will organize a community outreach and public awareness campaign on social safeguards and environmental management issues. Labor safety measures to conduct civil works and operate rehabilitated and newly constructed community facilities will also be highlighted as part of public outreach (see guidelines in Annex 9).

- Effective implementation of this Project will entail not only informing state institutions but also local hukumats, communities, jamoats, villages and individual households. The CEP has experience with such public awareness campaigns and expressed willingness to support project initiatives in this regard. Implementing partner NGOs will also play a role in public awareness raising.

  - ESMF disclosure and public consultations

- ESMF Consultations. The ES PMU/NSIFT finalized the draft ESMF and disclosed it in Russian and Tajik by November 19 and 21, 2018 on web-sites (www.nsift.tj, www.barkitojik.tj ). Also information on public consultations and links for documents were distributed via the environmental network (tajcnet@googlegroups.com). ESPMU/NSIFT have conducted local public consultations on this draft ESMF and invited all interested stakeholder organizations including local representatives of the other Government bodies, such as local branches CEP, health & labour departments, local khukumats, jamoats, mahalla leaders and local NGOs from target sites in four locations (Kushoniyon, Jaihun, Isfara and Jabbor Rasulov districts) during 4-8 December 2018. During the consultations, the PMU/NSIFT presented a summary of draft ESMF. In particular, the audience was informed about screening of the projects, the Environmental Assessment for Category B sub-projects, potential impacts which may by generated as well as measures to be taken to prevent/mitigate potential impacts. Note that these consultations included resettlement aspects and as such this section only focuses on relevant environmental and social questions that were asked during the consultations. For issues relating to resettlement arising from the consultations the reader is referred to the RPF.

- The consultations facilitated active discussions among the participants. Annex 12 presents details of public consultations, lists of participants and pictures. Overall the draft document was largely accepted by the participants and no major comments or suggestions to improve it has been receivedBased on the feedback obtained, the ESMF was revised /updated.

- ESMF disclosure. The final version of the ESMF will be officially submitted to the World Bank for disclosure in English on the WB external webpage by December 14, 2018. The Tajik and Russian versions will be also posted on the web page of the ES PMU/NSIFT. This final document will be used by respective government agencies and other Project stakeholders during the project implementation.

- Consultation on sub-project environmental assessments. The disclosure of environmental documents for category B projects is mandatory, and these are to be made accessible to project-affected groups and local NGOs. There will be at least one round of consultations after preparation of the ESMP (for EMP checklists the public disclosure can be done virtually by posting on the NSIFT the document and by presenting their hard copies to the local Councils). This might be at the jamoat/mahalla office, local authority offices and/or the central State Ecological Inspectorate or its district sub-divisions.

- Furthermore, local development planning meetings facilitated by NSIFT/FPs with JPCs and VPCs will provide a forum for project-affected groups and local NGO participants to engage and provide feedback during the environmental assessment process, and their views will be taken into account before finalizing project design and submission of the project to the ES PMU/NSIFT/FPs for further processing. Prior to such consultations, the ES PMU for Component 1 activities and the NSIFT/FPs for Component 2 activities will provide relevant materials (process descriptions, maps, building plans, etc.) to participants in a timely manner and in a form and languages that are understandable to the group being consulted and records.

- Consultation on simple subprojects. In the case of new small construction, insignificant reconstruction, change of machinery and equipment etc., which will not have a significant affect on the environment, public consultations can be conducted virtually or in key sites in local public administration offices. For construction/reconstruction activities a notice plate will be installed at the project site.

9.3. Managing Feedback and Grievance Redress for Effective Implementation

- Project stakeholders and citizens can submit complaints regarding the CSP via the Project Grievance Redress Mechanism (GRM) which will be included in the project Beneficary Feedback Mechanism (BFM).

- Objectives of the GRM for the CASA 1000 CSP.  As noted above the GRM in CASA1000 CSP is incorporated into a broader Beneficiary Feedback Mechanism to be established by NSIFT at the central level of the institution. The GRM for the CASA 1000 CSP for Tajikistan is intended to serve as a mechanism to:

- allow for the identification and impartial, timely and effective resolution of issues affecting the project.

- atrengthen accountability to beneficiaries, including project affected people, and provide channels for project stakeholders and citizens at all levels to provide feedback and raise concerns.

- Having an effective GRM/BFM in place will also serve the objectives of: reducing conflicts and risks such as external interference, corruption, social exclusion or mismanagement, improving the quality of project activities and results, as well as serving as an important feedback and learning mechanism for project management regarding the strengths and weaknesses of project procedures and implementation processes.

- Who can communicate grievances and provide feedback? The GRM/BFM will be accessible to a broad range of Project stakeholders who are likely to be affected directly or indirectly by the project. These will include beneficiaries, community members, project implementers/contractors, civil society, media—all of whom will be encouraged to refer their grievances and feedback to the GRM/BFM.

- What types of grievance/feedback will this GRM/BFM address? The GRM/BFM can be used to submit complaints, feedback, queries, suggestions or compliments related to the overall management and implementation of the CSP, as well as issues pertaining to sub projects that are being financed and supported by the CSP, including:

- Mismanagement, misuse of Project Funds or corrupt practices.

- Violation of Project policies, guidelines, or procedures, including those related to child labor, health and safety of community/contract workers and gender violence.

- Disputes relating to resource use restrictions that may arise between or among affected communities.

- Grievances that may arise from members of communities who are dissatisfied with the eligibility criteria, community planning measures, or actual implementation of community energy investments or socio-economic infrastructure.

- Issues with land donations, asset acquisition or resettlement specifically for CSP supported sub projects.

- What types of grievances/feedback will this GRM not address? Concerns or feedback pertaining to the construction of the CASA 1000 transmission line, including environmental impacts or issues of compensation, relocation or livelihood restoration measures related to resettlement should be addressed and channeled through the procedures established specifically for the CASA 1000 project.

- The GRM/BFM will be based on the Laws of the Republic of Tajikistan “On Citizens’ Appeals” and “On Civil Service” as well as the Instructions of the Government of the Republic of Tajikistan “On the Procedures of Records Management on the Appeals of Citizens”.

- It will be based on the principles of transparency, accessibility, inclusiveness, fairness and impartiality and responsiveness.

- Standards. The BFM/GRM will establish clearly defined timelines for acknowledgment, update and final feedback to the complainant. To enhance accountability, these timelines will be disseminated widely to Project stakeholders. The timeframe for acknowledging receipt of a feedback will not exceed 7 days from the time that it was originally received; if an issue is still pending by the end of 30 days the complainant will be provided with an update regarding the status of the grievance and the estimated time by which it will be resolved; and all grievances will be resolved within 45 days of receipt.

- The timeline for complaint resolution at the central/PMU/NSIFT level will be 15 days upon receipt of the complaint. The complainant will be informed of the outcome within immediately and at the latest within 5 days of the decision.

- Appeal Mechanism. If the complaint is still not resolved to the satisfaction of the complainant, then s/he can submit his/her complaint to the appropriate court of law.

9.4. Communication & Process

- Communication. Information about the CSP’s BFM/GRM will be publicized as part of the outreach and orientation activities in the participating villages and jamoats. Brochures will be distributed during consultations and public meetings, and posters will be displayed in public places such as in government offices, project offices, village notice boards, community centers, etc. Information about the BFM/GRM will also be posted online on the  ESPMU (www.barkitojik.tj)/NSIFT (www.nsift.tj) websites.

- Process. Once identified as a safeguards complaint, the overall process for the GRM/BFM will be comprised of 6 steps: (1) uptake, (2) sorting and processing, (3) acknowledgment and follow up, (4) verification, investigation and action, (5) monitoring and evaluation, and (6) feedback. (see figure 3)

Figure 3. Feedback and GRM Process

- Step 1: Uptake. Project stakeholders will have the opportunity to provide feedback and report complaints through several channels (in-person, mail, telephone, project website) at different levels (mahalla/village, ES PMU district offices and the PMU).

- Step 2: Sorting and Processing. To consolidate, monitor and report on information related to grievances, complaints and feedback related to the CSP will be documented upon receipt/communication at each level of the GRM, and will be classified and prioritized in order to manage the grievance redress process more effectively. Feedback/complaints regarding environmental or social issues related to the construction of the CASA1000 transmission line and/or management of the CASA 1000 project will be referred to the GRM established for the CASA 1000 project and will  not be logged/documented as part of the complaints/feedback on the Tajikistan CSP but these complaints will be reported on the website along with a description of who they were passed to. Annex 12 depicts an example of the types of information that is to be compiled, tracked and reported in a GRM log.

- Step 3: Acknowledgement and Follow-Up. Within 7 days of receiving complaint/feedback, the GFP will inform the complainant about the timeframe and the likely course of action. At the 30-day mark, if a complaint/question is still pending, the GFP in charge of the complaint at that point should provide an update about the status of complaint/question to the person who submitted it and provide an estimate of how long it will take to resolve the grievance or respond to the query.

- Step 4: Verification, Investigation & Action. Verification and investigation involves gathering information about the grievance to determine its validity and to generate a clear picture of the circumstances surrounding the issue under consideration. This process normally includes site visits, document reviews, a meeting with the complainant (if known and willing to engage) and meetings with individuals and/or entities who can assist with resolving the issue. Potential actions include responding to a query or comment, providing users with a status update, imposing sanctions, or referring the grievance to another level of the system for further action.

- Step 5: Monitoring & Evaluation. Monitoring refers to the process of tracking grievances and assessing the extent to which progress is being made to resolve them. Ultimately, the ES PMU/NSIFT/FP will be responsible for consolidating, monitoring and reporting on the total number of complaints, enquiries and other feedback for the CSP that has been received, resolved and that is pending at the mahalla and district levels, as well as feedback pertaining to the BT PMU. Information compiled by the ES PMU/NSIFT/FP will be essential for reporting on progress on grievance indicators included in Fsemi-annual reporting to the World Bank.

- Step 6: Providing Feedback. This step entails informing GRM users and the public at large about the results of investigations and the actions taken. GFPs will provide feedback by contacting the complainant directly within a 45-day period of receiving the feedback/complaint. The ES PMU will make quarterly reports available to the World Bank team on the implementation of the Project GRM. In addition, data on grievances and/or original grievance logs will be made available to World Bank missions on request.

  - World Bank Grievance Redress

- The World Bank Grievance Redress Service (GRS) is separate from the GRM established for the Tajikistan CSP. Communities and individuals who believe that they are adversely affected by a World Bank supported project may submit complaints to existing project-level grievance redress mechanisms or the WB’s GRS. The GRS ensures that complaints received are promptly reviewed in order to address project-related concerns.

- Project affected communities and individuals may submit their complaint to the WB’s independent Inspection Panel which determines whether harm occurred, or could occur, as a result of non-compliance with World Bank policies and procedures. Complaints may be submitted at any time after concerns have been brought directly to the World Bank's attention, and Bank Management has been given an opportunity to respond.

- Information on how to submit complaints to the World Bank’s corporate GRS is available at: http://www.worldbank.org/en/projects-operations/products-and-services/grievance-redress-service.  Information on how to submit complaints to the World Bank Inspection Panel is available at: www.inspectionpanel.org.

9.6. Community Monitoring

- Communities will continue to be engaged throughout the construction and/or procurement process through active monitoring and oversight roles.  A separate arrangement for community monitoring and social accountability will be developed to ensure there is no conflict of interest between implementers and monitors. Community monitoring will focus on (i) verifying compliance with requirements on environmental and social safeguards and (ii) evaluating beneficiary satisfaction with project implementation and the quality of service provision.  It will also serve as a useful approach to capture experiences and lessons learned from completed subproject cycles and make recommendations for the next subproject cycle, if applicable.

Social Audits. Social audits will be conducted with support from NSIFT/the facilitating partner. The ‘community audit meeting’ will provide a public forum for the VPC to present progress, challenges and the financial management (subgrant and expenditure on subproject). Communities will have the opportunity to ask questions, air grievances or discuss issues about the subproject. All communities will conduct this annual social audit process to ensure that decisions are inclusive and poverty-focused, and are genuinely bottom-up. This will also serve as a check that there is continuity in the chain of decisions made by focus groups, VPC and JPC and operationalized by NSIFT/FPs.  The social audit meetings will provide a “report back” to the target communities on sub-project decision-making, progress on sub-project implementation, as well as procurement and financial management. A list of information and documents to be presented at the social audit meetings will be set out in the POM.  Social audit meetings will be held at the village level, to encourage participation, and ensure broad attendance by community/village members and community representatives, community facilitators, representatives of the VPCs and the JPCs.  The project will fund the support need to prepare, organize and document community audit meetings..

- Community scorecards. Communities will also engage in semi-annual community scorecards which will provide opportunity for quick and simple feedback on project implementation. NSIFT with facilitating partners will conduct the scorecard process independently from the VPC and JPC. The annual scorecard will be conducted prior to the social audit meeting, and provide structured feedback for discussion.

- CAPACITY BUILDING FOR EA ACTIVITIES

- Institutional capacity for EA. The ES PMU/NSIFT has considerable experience in working with other IFIs to implement environmental safeguards requirements. The main safeguards responsibilities within the previous projects were assigned to the PMUs which conducted site inspections prior to, and during the rehabilitation activities to ensure compliance with the contract conditions and the ESMP. The supervision and monitoring of proper implementation of the measures required by the ESMP was the responsibility of the PMU/NSIFT Safeguards Specialists.

- Training and TA. To improve institutional capacities with regard to ESMF implementation the WB Environmental Specialist will provide special training for the ES PMU/NSIFT staff focused on: (i) Procedural aspects of ESA (stages, key actors, main responsibilities etc.); (ii) Assessment of environmental and social impacts potentially related to the subproject supported within the project; (iii) Consulting and approval of the ESA and monitoring plans; and (iii) preparing ESMP Checklist; (iv) Conducting field supervision and preparing progress reports.

- Technical Assistance and capacity building support provided by NGO implementing partners. The ES PMU/NSIFT will procure the services of implementing partner NGOs, including engineers and/or specialists with experience in environmental impacts, safeguards, mitigating measures. These specialists will assist Jamoat Project Commissions or VPC to implement ESMF instruments, and build capacity on environmental management issues and possible mitigating measures.

- Moreover, a training program will be organized through the ES PMU/NSIFT to develop and expand professional skills and capacity in environmental management issues. This training will reinforce existing capacity within BT, the ES PMU/NSIFT and district level CEPs by providing specialized instruction to conduct environmental assessments and manage and monitor safeguards issues. The program will also support outreach and consultations with local authorities and beneficiaries of sub-projects in the target areas to encourage local ownership and continued maintenance of newly established and rehabilitated community facilities.

- FUNDING FOR EA ACTIVITIES

- At the project design stage, for Component 1 activities and high-risk Category B subprojects, the ES PMU will be responsible for funding to prepare Environmental Impact Assessments, obtain necessary permits and other relevant activities depending on the nature of the project proposal, its complexity, scale, and so on. Funds for these activities are included in Component 4 of the Project. For Component 2 low-risk Category B and Category C subprojects, Jamoat Project Commissions or VPC, with the support of implementing partner NGO specialists, will be responsible for funding to prepare partial EIAs or EMP checklists (Category B) and WB Environmental Management Checklists (Category C), obtain necessary permits and other relevant activities depening on the nature of the project proposal, its complexity, scale, and so on. Funds for these activities are allocated under Components 2 and 3 of the Project.

- During construction and operation, ESPMU for Component 1 activities and Category B subprojects, and NSIFT for Component 2 Category B and Category C subprojects, are also responsible for providing funding for installation and other activities to minimize any hazardous environmental impacts to be included in the subproject costs. The amount of required funding will depend on the technique/technologies used for implementing mitigation measures and their scale, number, variety and other factors.

- In order to ensure successful ESMF implementation, funding is also required to finance capacity building activities. Since it is difficult to prepare budget estimates for capacity building at this stage, this information will be included in the procurement plan.

# Annex 1. VILLAGES IN COI OF CASA-1000 TL

Preliminary List of villages within the COI under all segments of CASA 1000 and CSP Project

Table 1: Village in Corridor of Impact

| # | Villages | Village Coordinates |  | Village Population | HHs | Women | Distance to TL/ Vicinity | # of villages in Jamoats | Jamoat |  | Jamoat population | DIstrict |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Sughd Region |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Langar | 40°3'35,71"N 69°19'14,85"E |  | 3128 | 469 | 1720 | ≤ 1.5 | 10 | Taghoyak |  | 15,622 | Spitamen |
| 2 | Metar | 40°3'34,14"N 69°18'22,38"E |  | 2256 | 333 | 1241 | ≤ 1.5 |  |  |  |  |  |
| 3 | Тaghoyak | 40°7'16,16"N 69°19'19,24"E |  | 5003 | 819 | 2751 | ≤ 1.5 |  |  |  |  |  |
| 4 | Qalahona (Ozarien, new name) | 40°6'38,36"N 69°21'39,83"E |  | 503 | 75 | 302 | ≤ 1.5 |  |  |  |  |  |
| 5 | Kurkat | 40°8'18,52"N 69°15'17,01"E |  | 22011 | 2684 | 10565 | ≤ 1.5 | 7 | Kurush |  | 34,325 |  |
| 6 | Faizabad | 40°6'55,23"N 69°15'53,56"E |  | 4050 | 701 | 2065 | ≤ 1.5 |  |  |  |  |  |
| 7 | Andarsoy | 40°4'18,05"N 69°26'23,81"E |  | 2424 | 286 | 1260 | ≤ 1.5 | 5 | Uljaboev |  | 36,648 |  |
| 8 | New Andarsoy | 40°4'59,29"N 69°26'7,33"E |  | 2506 | 479 | 1112 | ≤ 1.5 |  |  |  |  |  |
| 9 | Khitoy | 40°4'27,3"N 69°27'14,12"E |  | 2322 | 496 | 1150 | ≤ 1.5 | 7 | Yangi Hayot |  | 15,405 | J Rasulov |
| Total Sughd |  |  |  | 44,203 | 6,342 | 22,166 |  | 29 |  | 4 | 102,000 | 2 |
|  | RRS |  |  |  |  |  |  |  |  |  |  |  |
| 10 | Dahbed | 38°32'8,16"N 68°17'32,854"E |  | 2375 | 314 | 1140 | ≤ 1.5 | 24 | Qaratog |  | 40,891 | Tursunzade |
| 11 | Emomi Azam | 38°32'26,808"N 68°16'57,91"E |  | 2190 | 408 | 1051 | ≤ 1.5 |  |  |  |  |  |
| 12 | Chuyanchiiobi | 38°32'0,691"N 68°16'8,252"E |  | 1146 | 285 | 550 | ≤ 1.5 |  |  |  |  |  |
| 13 | Chinor | 38°32'42,96"N 68°16'21,097"E |  | 1099 | 267 | 523 | ≤ 1.5 |  |  |  |  |  |
| 14 | B.Rahimzoda | 38°32'38,716"N 68°15'37,532"E |  | 1198 | 130 | 575 | ≤ 1.5 |  |  |  |  |  |
| 15 | Nurobod | 38°30'57,023"N 68°17'6,385"E |  | 1783 | 203 | 924 | ≤ 1.5 | 18 | J Rahmon |  | 36,011 |  |
| 16 | Toychi | 38°31'9,772"N 68°16'40,988"E |  | 3468 | 966 | 1235 | ≤ 1.5 |  |  |  |  |  |
| 17 | Vahdat | 38°29'26,888"N 68°17'6,385"E |  | 859 | 130 | 486 | ≤ 1.5 | 26 | A Hasanov |  | 26,155 | Shahrinav |
| 18 | Bahor | 38°30'4,883"N 68°18'39,012"E |  | 841 | 116 | 437 | ≤ 1.5 |  |  |  |  |  |
| 19 | Kata – Dolon | 38°26'33,27"N 68°21'15,016"E |  | 898 | 114 | 467 | ≤ 1.5 |  |  |  |  |  |
| 20 | Chuqur –Dolon | 38°26'16,316"N 68°20'1,963"E |  | 673 | 76 | 340 | ≤ 1.5 |  |  |  |  |  |
| 21 | Chinor | 38°21'56,246"N 68°28'48,887"E |  | 2032 | 234 | 1117 | ≤ 1.5 | 7 | Oriyon |  | 9,130 | Gisar |
| 22 | Halqarud | 38°20'29,359"N 68°28'6,642"E |  | 2067 | 286 | 1125 | ≤ 1.5 |  |  |  |  |  |
| 23 | Esanboy | 38°19'22,816"N 68°31'21,391"E |  | 1146 | 171 | 591 | ≤ 1.5 | 26 | Esanboy/ Lohur |  | 21,104 | Rudaki |
| 24 | Mingichar | 38°17'44,475"N 68°31'29,391"E |  | 719 | 102 | 355 | ≤ 1.5 |  |  |  |  |  |
| 25 | Hojahushon | 38°18'47,543"N 68°32'3,782"E |  | 145 | 22 | 78 | ≤ 1.5 |  |  |  |  |  |
| Total RRS |  |  |  | 22,639 | 3,824 | 10,994 |  | 101 |  | 5 | 133,291 | 4 |
|  | Khatlon Region |  |  |  |  |  |  |  |  |  |  |  |
| 26 | Gallaobod | 38°10'35,099"N 68°40'27,095"E |  | 1895 | 244 | 967 | ≤ 1.5 | 18 | Gallaobod |  | 20,163 | Khuroson |
| 27 | Dahana | 38°12'20,179"N 68°39'33,785"E |  | 1387 | 175 | 707 | ≤ 1.5 |  |  |  |  |  |
| 28 | Shar - Shar | 38°11'10,383"N 68°41'44,083"E |  | 249 | 33 | 12 | ≤ 1.5 |  |  |  |  |  |
| 29 | Daganakiik | 38°11'51,577"N 68°38'45,276"E |  | 285 | 72 | 149 | ≤ 1.5 |  |  |  |  |  |
| 30 | Kholmurodteppa | 38°0'3,083"N 68°54'9,167"E |  | 1287 | 166 | 656 | ≤ 1.5 | 9 | Iftikhor |  | 15,153 | A Jomi |
| 31 | Kaj - kamar | 37°59'0,709"N 68°54'3,814"E |  | 1293 | 153 | 661 | ≤ 1.5 |  |  |  |  |  |
| 32 | Khojaqala | 38°0'57,512"N 68°52'6,639"E |  | 184 | 34 | 94 | ≤ 1.5 |  |  |  |  |  |
| 33 | Navdi | 38°0'41,486"N 68°48'24,462"E |  | 3001 | 305 | 1445 | ≤ 1.5 | 13 | Q Ghiesov |  | 24,306 |  |
| 34 | Bahoriston | 38°0'40,777"N 68°50'19,349"E |  | 1822 | 185 | 904 | ≤ 1.5 |  |  |  |  |  |
| 35 | Komintern | 38°0'10,887"N 68°51'49,75"E |  | 2638 | 310 | 1329 | ≤ 1.5 |  |  |  |  |  |
| 36 | Saadi | 38°1'5,223"N 68°47'31,972"E |  | 260 | 38 | 138 | ≤ 1.5 |  |  |  |  |  |
| 37 | Aral | 38°0'33,656"N 68°49'36,981"E |  | 4840 | 400 | 2468 | ≤ 1.5 |  |  |  |  |  |
| 38 | Hayoti Nav (Pahtakor 2) | 37°59'4,593"N. 68°52'31,823"E. | 684 | 87 | 348 | ≤ 1.5 | 11 | 50 Solagii Tojikiston |  | 20,244 |  |
| 39 | Buston | 38°2'37,878"N 68°47'29,479"E |  | 2003 | 286 | 1029 | ≤ 1.5 | 10 | Dusti |  | 19,064 |  |
| 40 | Guliston | 38°3'59,969"N 68°47'41,524"E |  | 760 | 176 | 387 | ≤ 1.5 |  |  |  |  |  |
| 41 | Istiqlol (former Tuyatosh) | 37°55'34,355"N 68°59'5,733"E |  | 664 | 114 | 320 | ≤ 1.5 | 8 | Vahdat |  | 9,154 | Sarband |
| 42 | Umar – Qazoq | 37°57'12,177"N 68°5'40,248"E |  | 181 | 31 | 89 | ≤ 1.5 | 21 | Bustonqala |  | 24,341 | Bokhtar |
| 43 | Kuhsor | 37°59'5,365"N 68°5'27,85"E |  | 233 | 34 | 115 | ≤ 1.5 |  |  |  |  |  |
| 44 | Sangtuda | 38°2'31,242"N 68°4'32,033"E |  | 5910 | 1017 | 2936 | ≤ 1.5 | 5 | Sangtuda |  | 13,464 | Dangara |
| 45 | Guliston | 38°1'18,434"N 68°4'38,652"E |  | 3035 | 623 | 1510 | ≤ 1.5 |  |  |  |  |  |
| 46 | Navobod | 37°59'25,914"N 68°4'45,224"E |  | 2411 | 380 | 1171 | ≤ 1.5 |  |  |  |  |  |
| 47 | Eshma | 37°59'6,626"N. 69°5'29,985"E. | 27 | 10 | 13 | ≤ 1.5 | 12 | Lohur |  | 6896 |  |
|  | Mashal (Senokos 1,2 old name) | 37°44'27,39"N. 69°2'46,567"E. | 1277 | 151 | 678 | ≤ 1.5 | 18 | Mashal |  | 23,624 | Vakhsh |
| 48 |  |  |  |  |  |  |  |  |  |  |  |  |
| 49 | Teraklitog | 37°30'17,108"N. 68°53'17,37"E. | 95 | 20 | 45 | ≤ 1.5 | 15 | Madaniat |  | 21600 | J. Balhi |
| 50 | Navobod (Kayhoni) | 37°29'48,084"N. 68°52'46,298"E. | 2633 | 432 | 1330 | ≤ 1.5 | 6 | Kalinin |  | 18197 |  |
| 51 | Zarnisor | 37°20'32,65"N 68°43'40,909"E |  | 2170 | 299 | 1080 | ≤ 1.5 | 6 | Dusti |  | 16,843 | Jaykhun (Kumsangir) |
| 52 | Navobod | 37°22'47,39"N. 68°44'48,126"E. | 4957 | 758 | 2380 | ≤ 1.5 | 11 | Kumsangir |  | 27579 |  |
| 53 | Pakhtakor (Pahtaobod) | 37°19'8,335"N. 68°43'5,428"E. | 2102 | 362 | 1029 | ≤ 1.5 | 13 | Panj |  | 34,793 |  |
| 54 | Rudaki | 37°19'11,515"N 68°40'53,373"E |  | 495 | 446 | 1967 | ≤ 1.5 |  |  |  |  |  |
| 55 | Kuhdoman | 37°20'31,498"N 68°45'0,688"E |  | 1812 | 121 | 887 | ≤ 1.5 |  |  |  |  |  |
| 56 | Zamini nav | 37°17'55,689"N 68°39'34,588"E |  | 2062 | 243 | 1010 | ≤ 1.5 |  |  |  |  |  |
| 57 | Rozikobod | 37°21'21,113"N 68°44'36,412"E |  | 904 | 120 | 441 | ≤ 1.5 |  |  |  |  |  |
| 58 | Sari pul | 37°16'37,408"N 68°39'1,849"E |  | 1203 | 199 | 590 | ≤ 1.5 |  |  |  |  |  |
| 59 | Vakhdat | 37°19'35,823"N. 68°42'26,26"E. | 3985 | 374 | 1954 | ≤ 1.5 |  |  |  |  |  |
| 60 | 1 of May | 37°20'11,582"N. 68°42'54,186"E. | 3752 | 360 | 1838 | ≤ 1.5 |  |  |  |  |  |
| Total Khatlon |  |  |  | 62,496 | 8,758 | 32,677 |  | 176 |  | 15 | 295,421 | 8 |
|  |  | TOTAL |  | 129,338 | 18,924 | 65,837 |  | 306 villages | 24 Jamoats |  | 530,712 | 14 districts |

Table 2: Target areas in Voruh and Jamoat Chorku of Isfara City

|  | Villages and Mahhalas | Village Coordinates | Village Population | HHs | Women | Distance to TL/ Vicinity | # of villages and Mahalas in Jamoats | Jamoat | Jamoat Population | Rayon/ City |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Tojikon |  | 4201 | 713 | 2142 |  | 20 | Voruh | 32,752 | Isfara |
| 2 | Voruh Tounship Mahallas: |  |  |  |  |  |  |  |  |  |
| 2.1 | Sangtuda |  | 1069 | 209 | 545 |  |  |  |  |  |
| 2.2 | Kalacha |  | 2380 | 400 | 1202 |  |  |  |  |  |
| 2.3 | Tagi Mahalla |  | 1412 | 255 | 720 |  |  |  |  |  |
| 2.4 | Sari kand |  | 810 | 280 | 405 |  |  |  |  |  |
| 2.5 | Kuchai tag |  | 660 | 74 | 336 |  |  |  |  |  |
| 2.6 | Maidon |  | 1880 | 337 | 950 |  |  |  |  |  |
| 2.7 | Guliston |  | 2310 | 323 | 1178 |  |  |  |  |  |
| 2.8 | Sari roh |  | 2120 | 291 | 1071 |  |  |  |  |  |
| 2.9 | Guzar |  | 2320 | 420 | 1137 |  |  |  |  |  |
| 2.10 | Kozi dusti |  | 1860 | 272 | 948 |  |  |  |  |  |
| 2.11 | Kuchi bolo |  | 2020 | 229 | 1031 |  |  |  |  |  |
| 2.12 | Khushobod |  | 1995 | 286 | 1016 |  |  |  |  |  |
| 2.13 | Sari dasht |  | 2415 | 297 | 1220 |  |  |  |  |  |
| 2.14 | Bedak |  | 1120 | 85 | 566 |  |  |  |  |  |
| 2.15 | Chui dam |  | 580 | 140 | 301 |  |  |  |  |  |
| 2.16 | Maschidi bolo |  | 870 | 156 | 440 |  |  |  |  |  |
| 2.17 | Navobod |  | 485 | 76 | 247 |  |  |  |  |  |
| 2.18 | Bogdori |  | 1660 | 345 | 850 |  |  |  |  |  |
| 2.19 | Kodon |  | 585 | 167 | 304 |  |  |  |  |  |
| 3. | Khoji alo village |  | 5126 | 558 | 2574 |  | 30 | Chorkuh | 40401 |  |
| 4. | Corkuh Township Mahhalas |  |  |  |  |  |  |  |  |  |
| 4.1 | Somonien |  | 1134 | 240 | 571 |  |  |  |  |  |
| 4.2 | Kakir |  | 3689 | 595 | 1840 |  |  |  |  |  |
| 4.3 | Langari dasht |  | 1527 | 235 | 762 |  |  |  |  |  |
| 4.4 | Buston |  | 1131 | 195 | 561 |  |  |  |  |  |
| 4.5 | Firdavsi |  | 2718 | 450 | 1361 |  |  |  |  |  |
| 4.6 | Navobod |  | 2349 | 455 | 1169 |  |  |  |  |  |
| 4.7 | Kunjok |  | 1976 | 324 | 986 |  |  |  |  |  |
| 4.8 | Sari Jar |  | 620 | 105 | 309 |  |  |  |  |  |
| 4.9 | Tagi bora |  | 351 | 71 | 176 |  |  |  |  |  |
| 4.10 | Langari Buston |  | 931 | 171 | 462 |  |  |  |  |  |
| 4.11 | Maschidi miena |  | 940 | 162 | 469 |  |  |  |  |  |
| 4.12 | Chakalak |  | 1264 | 213 | 631 |  |  |  |  |  |
| 4.13 | Tagi Sada |  | 1493 | 236 | 728 |  |  |  |  |  |
| 4.14 | Muminobod |  | 1218 | 210 | 606 |  |  |  |  |  |
| 4.15 | Guzari poen |  | 1711 | 280 | 853 |  |  |  |  |  |
| 4.16 | Guzari Bolo |  | 489 | 81 | 245 |  |  |  |  |  |
| 4.17 | Zochol |  | 965 | 160 | 481 |  |  |  |  |  |
| 4.18 | Langari Miena |  | 906 | 151 | 453 |  |  |  |  |  |
| 4.19 | Kuruki bolo |  | 1043 | 211 | 521 |  |  |  |  |  |
| 4.20 | Mirzoho |  | 283 | 48 | 140 |  |  |  |  |  |
| 4.21 | Sari Bozor |  | 351 | 59 | 177 |  |  |  |  |  |
| 4.22 | Jalien |  | 1048 | 177 | 523 |  |  |  |  |  |
| 4.23 | Sari Hisor |  | 1037 | 188 | 512 |  |  |  |  |  |
| 4.24 | Sari poston |  | 189 | 31 | 93 |  |  |  |  |  |
| 4.25 | Holison |  | 2485 | 407 | 1243 |  |  |  |  |  |
| 4.26 | Sari Balandi |  | 593 | 104 | 295 |  |  |  |  |  |
| 4.27 | Langari Khojien |  | 1084 | 197 | 542 |  |  |  |  |  |
| 4.28 | Chakar |  | 410 | 70 | 201 |  |  |  |  |  |
| 4.29 | Langari Sebzor |  | 1340 | 231 | 665 |  |  |  |  |  |
|  | TOTAL |  | 73153 | 11970 | 36758 |  | 50 | 2 | 73153 |  |

# ANNEX II. BASELINE ENVIRONMENTAL & SOCIAL ANALYSIS

The Tajikistan portion of CASA-1000 is a 170-km transmission line that extends from Sughd province in the north bordering the Kyrgyz Republic to Khatlon province in the south up to Afghan border. The transmission line’s 3-km (1.5 km on either side of the transmission line) corridor of influence (CoI) includes communities that are economically and socially vulnerable with limited access to public infrastructure and services. The proposed CSP project will cover the preliminary list of 60 villages in the Corridor of Impact of the CASA1000 transmission line as well as the agreed activity in the Isfara border areas adjacent to the CASA1000-CSP in the Kyrgyz Republic. The baseline data is based on the national Environmental and Social Impact Assessment on the Corridor of Impact for the CASA 1000 Tajikistan Transmission Line Project conducted by the OJSHK “Barki Tajik” under the Ministry of Energy and Water Resources of Tajikistan in October, 2017.

#### ENVIRONMENTAL BASELINE

Physical Environment

Tajikistan is a landlocked country in the mountainous part of Central Asia, between the latitudes 36°40'N-41°05'N and latitudes 67°31'E-75°14'E. The area of Tajikistan is 143.1 thousand km2. In the north and west, Tajikistan borders with Uzbekistan and Kyrgyzstan, in the south it borders with Afghanistan and in the east with China. The perimeter borders of the country extend to 3,000 km.

The CoI for the newly constructed part of the CASA-1000 TL falls within northern-east, central and southern parts of the country, particularly Sughd province (including Isfara district), Khatlon province and Districts under Republican Subordination (DRS). The Project in Tajikistan will be implemented in three segments: 1st TL segment – Sughd province to the border with Kyrgyzstan; 2nd segment – in DRS mainly - from Regar SS to Sangtuda; and 3rd segment –in Khatlon province – from Sangtuda SS to the border with Afghanistan.

Isfara District is a district at the northeastern edge of Sughd province, Tajikistan, located in the foothills of the Turkestan Range in the Fergana Valley. In the north it borders with the Fergana region of Uzbekistan, in the south and east - with the Batken region of Kyrgyzstan, in the west - with the Kanibadam district of the Sughd region of Tajikistan. The area of Isfara district is 880.9 km2. Its center is Isfara city. Vorukh, an enclave in Kyrgyzstan, is also part of Isfara.

Site-Specific Topography, Geology and Soils

Sughd Province (1st segment of CASA-1000 TL CoI). The main part of the TL crosses Spitamen district and ends in J. Rasulov district of Tajikistan. In general, the topography of the area through which the TL runs (0+000 km to 25+000 km) is flat and hilly with low slopes. Soils on Sughd segment are typically sierozem (grey desert soil) and light sierozem, (loamy sands), interspersed with conglomerates and loess with gypsum and gravel. The soil quality is poor and usually not suitable for agriculture. The soils in the area of the COI from 0+000 km to 7.5+000 km, from 10+000 to 17+000 km and from 22+000 to 25+000 km are used mostly for winter pastures. The COI between 7.5+000 and 10+000 km and from 17+000 to 22+000 km passes through agricultural areas, where soils are more fertile and better for agriculture.

The soils in Isfara district are mainly gray soils (gray-brown, light, ordinary and dark).

The geology in area of Sughd segment from 0+000 to 7+000 km the COI is underlain with sandstone, conglomeration, marl and clay deposits. From 7+000 to 10+000 there is an area of Alluvium deposits with loam, clay sand, sand founded by pebbles. From 10+000 to 17+000 km there is the area of broken stone, loam, sand and clay. From 17+000 to 25+000km the bed rock is predominately represented by sandstone, conglomerate, clay and rock.

DRS area (2nd segment of CASA-1000 TL CoI). The topography of the province is characterized by the middle mountain relief with active erosion impact of watercourses resulting in intensive dissection of the surface (from 500-600 m to 1000 m). Alluvial/proluvial terraces are common along the thalwegs of rivers. The main water flows are the Kafirnigan, Karatag, Yavansu and Vakhsh rivers.

Most of the line passes through mountainous terrain with some portions in relatively flat areas. The line starts from the plain stretches of Regar and traverses through mountainous region with an altitude ranging from 800 m to 1300m with the highest point peak at 1500m.

After passing through the undulated hilly terrain, it crosses the valley before entering Sangtuda. The soil enroute varies from gray sandy desert soil and fractured rocks to hard rocks at high altitudes. These details are provided as basis only/

The soils of the Sangtuda HPP are mainly presented by the dark serozyom, in the lower part they include also ordinary serozyom. Most of the dark serozyom is highly eroded, which is an unfavorable factor for growing vegetative cover. Most of the non-washed-out dark serozyom were preserved along the upper part of the mountain ranges and their gentle slopes. Therefore, in the mentioned areas, the vegetation is richer than in the lower part of the ranges and in the HPP location zone. Consequently, local residents use pastures located at the middle and upper parts of the Sarsarak and Karatau ranges mainly for small cattle.

Khatlon Province (3rd segment of CASA-1000 TL CoI). In the part of the Province Khatlon, where the TL CoI is located, the topography is mostly characterized by planes, undulating lands and foothills with moderate slopes and a weak inclination on the southwest side. Overall, the geology of the area is suitable for transmission line construction. Soil profiles in this area are typically loess, loamy sands and loamy soils, occasionally bench gravel of the upper quaternary age, classically formed through wind deposition over arid or semi-arid areas. Soils are brown-gray, light gray, gray and light sierozem. The humus layer of the loess and loamy sands is fairly fertile and agriculture is possible. For these soils to be converted into agricultural use, they require irrigation and the mineral fertilizers. The humus layer is generally insignificant and the soil quality of the COI here is very poor and unproductive, suitable only for grazing. The soils in this segment of COI support mostly winter pastures.

Air and Climate

Air quality in all project regions is of good quality due to a lack of industrial pollutants and a relatively low level of vehicular use. However seasonal dust storms are an issue especially where vegetation has been cleared to expose soil. Dust will be a temporary issue in summer during the proposed construction works.

The climate of Tajikistan is characterized by the interaction of the main climate factors (geographical location, atmospheric circulation and solar radiation) that determine the main features of its climate: aridity, abundance of heat and light, and its continentality, which is expressed by a large inter annual and inside the year variability of almost all climate elements. Relatively cold winter gives place to the rainy spring which rapidly changes to the dry summer characterized by the near absence of precipitation within the several months. Climatic features in Tajikistan are determined by its inland location and remoteness from the oceans (lack of humidity), location in relatively low latitudes (the magnitude of the radiation balance), and topography that impacts atmospheric circulation processes.

Sughd Province (1st segment of CASA-1000 TL CoI). The COI has a variable climate with moderately cold winters and hot summers. The summer months are very hot and temperatures can reach more than +45°C. The average July temperature exceeds +30°C. The winter months are relatively cold and average January temperatures are about -3oC, but temperatures may drop to – 28°C. Most of the COI in Northeast Tajikistan is in an area having a dry climate. Precipitation (rain or wet snow) from November to March is about 100-200 mm, but can reach more than 400 mm in hilly areas.

As most of the COI is in a relatively barren, hilly and undeveloped area, noise levels are low and the ambient air quality is good in area of Sughd segment of CoI.

Isfara district. The climate is continental and characterized by hot summer and moderately cold winter. The average temperature is 27°С in July and –3°С in January. The average annual rainfall is 200-500 mm. January temperatures in the valleys fluctuate around 0 °, in the highlands they can drop to −27°C, in July temperatures vary from 23 to 30°C. Precipitation in the plains are 150-300 mm per year, and in areas above 1000 m above sea level - 700 mm or more (up to 3000 mm in the highlands).

DRS area (2nd segment of CASA-1000 TL CoI). Tursunzoda District where the Regar SS is located in the westernmost district of the DRS, bordering on Uzbekistan in the west. This district has warm weather and plentiful irrigation from the local rivers. The meteorological data for the Tursunzoda area temperatures and rainfall are given below:

- Maximum Temperature of the year:  36°C (in July)

- Minimum Temperature of the year:  -2°C (in January)

- Average Temperature of the year:  15.7°C

- Maximum Precipation in the form of rain: 75 mm (in March)

- Average Precipicipation in the form of rain: 37 mm

- Annual average rainy days:  80

The annual average air temperature in the Gissar area is from +14 to +17°C, precipitation – 800-1500 mm a year.

Khatlon Province (3rd segment of CASA-1000 TL CoI). Ambient air quality is generally good and pollution free. The climate here is characterized by moderately cold winters and hot summers which are typical in this area. Summer temperatures can reach 45°C and winter temperature can fall to -20°C.

The project area in Khatlon province is in the arid and semi-arid zones with very low precipitations, hot dry summer climate and moderate as well as relatively dry winter periods. This climatically condition determines the conditions for agricultural land use, which is very limited and dependent on irrigation and fertilization. The precipitation from November to March is about 200-400 mm in most of the area (in the plains) and can reach 400 and more in more hilly areas.

The precipitation consists mainly of rain and wet snow. Snow cover is rarely more than 10 cm deep and melts very quickly and does not accumulate. The period from June to October is the driest. Snowfall occurs mostly between mid-December and mid-February; rainfall from March to mid-May.

The South East has a variable climate with moderate cold winters and hot summers. The summer months are very hot and summer temperatures are high and can vary from +35° C and reach +45° C and more. The average July temperature exceeds +30° C. The winter months are relatively cold and average January temperatures are above 0° C, but temperatures can drop to – 20° C in the winter.

Water Resources

The largest rivers of the CASA-1000 CSP CoI are: Vakhsh, Kafirnigan, and Karatag. They all belong to the Amu Darya River Basin. The features of the named rivers are given in Table 2.

Table 1. The CoI main river basins characteristics

| Basin | Length (km) | Catchment area in Tajikistan (th km3) | Average annual water discharge (billion m3/year) | Month of maximum discharge |
| --- | --- | --- | --- | --- |
| Vakhsh | 524 | 31.2 | 19.6 | July - August |
| Kafirnigan | 387 | 11.6 | 5.2 | May |
| Karatag | 47 | 684 km2 | n/a | April – June |

Source: Environmental Performance Review, Tajikistan. UN, 2004

Isfara district. The main water source in this district is Isfara river, which is transboundary and belongs to Syr-Darya river basin. The river originates in Kyrgyzstan (near the border with Tajikistan) from the Ak-Suu glacier on the northern slope of the Turkestan Range, at an altitude of 3193.0 m. The length of the Isfara river is 130 km. The basin area is 3240 km². River feeding is mainly snow and glacial. The depth in the Vorukh area - 2.0 m, the bottom soil is solid. The current velocity near Vorukh is 2.0 m / s.

85–90% of the runoff comes from high water, which covers the period from May to September. In July, the average monthly water flow reaches 43.6 m³ / s. In March-April there is a dry period, when the average monthly water consumption drops to 3.5-4.0 m³ / s. The highest recorded water flow is 150 m³ / s (August 5, 1973), the lowest recorded water flow is 0.050 m³ / s.

Isfara is one of the most muddy rivers. The average sediment consumption in it is 12 kg / s. On average, Isfara brings 290 tons of mud to the Fergana Valley per year.

The waters of Isfara are used for irrigation. In Kyrgyzstan, the river flow is regulated by the Tortkul reservoir with a volume of 90 million m³ and an irrigated area of 9000 ha

Seismicity

The most dangerous and unpredictable for the CASA 1000 CoI is seismicity. There are three seismic zones in Tajikistan with 7, 9 and 9 points seismic intensity. In each of these zones there is a possibility of the declared earthquake.

The Sughd area (including Isfara district) is located in the 8-point zone (Richter scale), where possible earthquakes with a magnitude of up to 6.5.

The DRS part of the TL CoI route at the beginning crosses the Ilyaksky deep (abyssal) fault zone, capable of generating earthquakes with a magnitude of up to 7.5 and causing shakes to 9 points. The rest of the transmission line passes in the zone of possible 8 and 7-point shakes, where earthquakes with a magnitude of up to 5.5 are possible.

The Khatlon province is located in the most favorable conditions, in the seismological terms, in the zone where earthquakes with a magnitude of up to 5.5 are possible or in one of the less-seismically active areas of Tajikistan.

Biological Environment

Flora and Forest Resources

Sughd Province (1st segment of CASA-1000 TL CoI). The COI in Tajikistan is very dry and poorly vegetated with low biological diversity due to shortage of water, limited rainfall, and poor soil. Very few trees are present in the COI. There are no rare endangered or protected species of vegetation within the corridor. The vegetation distribution within the corridor itself is characterized as a desert ecosystem. Vegetation consists of bushes, shrubs and perennial plants such as bluegrasses (meadow grass), sedges and other ephemeral grasses. There are no reserves or protected forests within the COI.

Isfara district. Vegetation is represented by mountain juniper forests and light forests, mountain-steppe, tugai and semi-desert vegetation.

DRS area (2nd segment of CASA-1000 TL CoI). Significant impact on the foothill vegetation is observed in the natural ecosystems of the area. The investigation was deeper on the undeveloped sites and among the cereals fields. The zone of Sangtuda HPP location and places of the high-voltage lines laying and their engineering constructions refers more to the belt of ephemeral and bush vegetation. This belt is most affected by human impact and therefore its vegetation is anthropogenic in its nature. Basically, this is used for grazing livestock in the winter-spring period. The valley part is fairly well developed and there is developed an agro-industrial complex with typical rural settlements and practically widespread agricultural lands. Here, mainly cotton is cultivated, as well as cereals, melons and vegetable crops, fruit orchards and wastelands are located here and there. In general, the eastern slope of the mountain ranges is of little value in relation to vegetation, and therefore no natural reserve is established there. There are no forests within or near the COI.

Khatlon Province (3rd segment of CASA-1000 TL CoI). Biodiversity is generally low because of water shortage, minimal rainfall and poor soil. The ecosystem type in the COI is desert-ephemeral, characterized mostly by dwarf shrubs and very few trees. Mulberry, plane tree and poplar are the most important tree species in the COI.

The corridor itself is characterized as a desert ecosystem. Mid-low mountain semi-savanna landscapes are widespread in Southern Tajikistan province. The main valuable communities of this type are high-grass and forbs-shrub communities. Vast areas (70%) of the southern Tajikistan semi-savannoids are strongly degraded due to the inadequate agricultural practices. Foothill semidesert and desert communities occupy high terraces and form a typical landscape of of the plains in the lower reaches of large rivers: Pyandj, Vakhsh, Kafirnigan. In southern Tajikistan nearly 30 thousand hectares of these lanscapes belong to the near-protected areas of the Tigrovaya Balka Reserve. Considerable areas of the sand-desert ecosystems are cultivated for cotton growing. There are no forest reserves or protected forests within the southern part of COI route.

There is one IBA and a Ramsar site that occur within the COI.

- IBA site—Tigrovaya Balka Nature Reserve (68 o 26.52' E 37o 19.16' N) spans 49786 ha.

This reserve is known to contain resident Saker Falcon (Falco cherrug) listed as vulnerable and a species known to be susceptible to electrocutions, and passage populations of Common (Eurasian) Crane (Grus grus), a species susceptible to collisions16, winter populations of Red-crested Pochard (Netta rufina), Pygmy Cormorant (Phalacrocorax pygmeus) and breeding populations of Pallid Scops-owl (Otus brucei) all classified as of least concern.

- Ramsar site—1084, Lower part of Pyandj River (68o 30’8.107 E 37o 10’ 30’.436 N) has no associated species information but is considered for its value as a wetland site. The transmission line crosses the Pyandj River c10km ENE of the GPS co-ordinate identifying the central location of this site. As the site has no distinct boundary and the connecting habitat is directly crossed by the transmission line, this could expose wetland species such as duck, geese and cranes to collision. Information from the IBA site mentioned above, which includes this habitat, confirms this as a likelihood. This Ramsar site is right on the border with Afghanistan and has overlapping habitat with Imam Sahib IBA within the Afghanistan portion of the COI.

Protected areas. No protected areas are found in vicinity of CoI.

2. SOCIAL BASELINE

Overview. The Project area covers the territories of the three regions of the country, namely Sughd and Khatlon oblasts and DRS. Sughd oblast is located in the northwest of the country and borders with Uzbekistan and Kyrgyzstan. Khatlon oblast borders with Afghanistan in the south and Khatlon region and part of DRS region covered by the Project area borders with Uzbekistan in the west. Sughd, Khatlon and DRS regions have large number of rural settlements spread over their territory.

The corridor of impact for the purpose of this section, similar to the rest of the assessment is the 3km wide corridor along the entire TL route, which is divided into three segments. It presents the socio-economic and cultural data which was collected to analyze and assess potential impacts on the income, livelihood status.

Agriculture is the main economic activity in the regions with the major share of population living in the rural areas. The main crops sown and agricultural products are cotton, cereals, oilseed, potatoes, carrots, onions, cucumbers, cabbage, melons, vines, milk, wool, honey and eggs. Kitchen gardens and smallholdings are also considered an important part of the local economies. These include apples, peaches, apricots, almonds, pears, pomegranates, mulberries and walnuts produced from the homestead plots in addition to the crops.

Cotton is a cash crop widely grown in the project target areas, but it involves high levels of irrigation and chemicals while many local farmers receive little profit from its sale (compared to middlemen and dealers). With declared “freedom to farm” areas under cotton decreased drastically, giving way to other crops of choice for farmers.

The irrigation infrastructure, inherited at the end of the Soviet era, has suffered from a lack of investment in routine maintenance, resulting in a progressive loss of cultivable land and damage to embankments, intakes and canals.

The CSP Project area covers 4 districts of DRS, 3 districts of Sughd and 8 districts/towns of Khatlon. The DRS districts are as follows Tursunzoda, Shahrinav, Gisar and Rudaki. Spitamen and Jabbor Rasulov districts of Sughd are fall under the COI. The Project also covers the following administrative entities of Khatlon region: Bokhtar, Danghara, Jomi, Khuroson, Sarband, J. Balhi, Jaihun, Vakhsh. Total of 15 districts (including Isfara district) will be within the CASA 1000 CSP Project, including 24 jamoats and 60 villages. The list of villages is enclosed in Annex 1.

The Isfara part of the Project area is not yet determined – it will cover agreed target areas of  Vorukh and Chorkuh jamoats and be defined in the Project Opertions Manual.

In the villages there is different level of migration, which accounts for about 10% of the working population of the villages. Local people migrate mostly to  Russian Federation. Most of the migrants - more than 90% are men - who leave to work abroad for seasonal work. There are also those who go for a few years, or as commonly called long-term migrants. Despite the fact that only 10-15% of the total population of the village left for labor migration, they send relatively large income to their households. The level of labor migration and its growth is associated with unemployment, which amounts up to 60.0% of the total workable part of the community population.

The number of men and women in the villages are about the same, 51% are women, 49% - men. In some households live 2 or 3 families (different generations), which complicates life and farming, in terms of shortage of land, water and other resources. The villages are located in different distances from the district administrative center. However, in terms of infrastructure and accessibility all villages have permanent roads to the center.

Table 2. Socio-Economic Data for 15 Districts of CSP project

| Name of the district | Area ’000km2 | Population ‘000 persons | Economic Facilities |
| --- | --- | --- | --- |
| Sughd Province |  |  |  |
| Spitamen | 0.4 | 131.7 | Sown area, all crops, all categories of farms – 16,031 ha Crop prod’n (tonnes): grain 26,494, cotton 9,285, potato 3,530 Livestock and poultry production (tones) – 2,421 |
| J.Rasulov | 0.3 | 127.8 | Sown area, all crops, all categories of farms – 17,736 ha Crop prod’n (tonnes): grain 24,965, cotton 9,198, potato 5,978 Livestock and poultry production (tones) – 3,495 |
| Isfara city | 0,8 | 45,9 | - Sown area, all crops, all categories of farms – 7082 ha - Crop prod’n (tonnes): grain 14882, cotton 136, potato 12963 Livestock and poultry production (tones) – 2435 |
| Districts under Republican Subordination |  |  |  |
| Gisar | 1.0 | 280.6 | Sown area, all crops, all categories of farms – 19,206 ha Crop prod’n (tonnes): grain 35,826, cotton 1,166, potato 11,392 Livestock and poultry production (tones) – 4,945 |
| Shahrinav | 1.0 | 111.5 | Sown area, all crops, all categories of farms – 12,344 ha Crop prod’n (tonnes): grain 20,187, cotton 789, potato 4,608 Livestock and poultry production (tones) – 1,569 |
| Rudaki | 1.8 | 463.1 | Sown area, all crops, all categories of farms – 27,739 ha Crop prod’n (tonnes): grain 60,148, cotton 863, potato 20,263 Livestock and poultry production (tones) – 6,804 |
| Tursunzoda | 1.2 | 221.1 | Sown area, all crops, all categories of farms – 22,433 ha Crop prod’n (tonnes): grain 43,513, cotton 3,766, potato 7,961 Livestock and poultry production (tones) – 5,658 |
| Khatlon Province |  |  |  |
| Bokhtar | 0.6 | 224.6 | Sown area, all crops, all categories of farms – 22,204 ha Crop prod’n (tonnes): grain 35,822, cotton 26,160, potato 25,280 Livestock and poultry production (tones) – 7,986 |
| Danghara | 2.0 | 140.4 | Sown area, all crops, all categories of farms – 39,089 ha Crop prod’n (tonnes): grain 99,344, cotton 6,496, potato 6,433 Livestock and poultry production (tones) – 10,471 |
| Jomi | 0.6 | 157.7 | Sown area, all crops, all categories of farms – 19,285 ha Crop prod’n (tonnes): grain 35,228, cotton 11,147, potato 15,748 Livestock and poultry production (tones) – 4,104 |
| Khuroson | 0.9 | 105.6 | Sown area, all crops, all categories of farms – 15,642 ha Crop prod’n (tonnes): grain 36,465, cotton 5,470, potato 6,882 Livestock and poultry production (tones) – 3,854 |
| Sarband | 0.1 | 28.1 | Sown area, all crops, all categories of farms – 2,330 ha Crop prod’n (tonnes): grain 4,340, cotton 2,378, potato 1,885 Livestock and poultry production (tones) – 971 |
| Balkhi | 0.9 | 181.9 | Sown area, all crops, all categories of farms – 21,370 ha Crop prod’n (tonnes): grain 35,704, cotton 15,704, potato 10,690 Livestock and poultry production (tones) – 5,755 |
| Jayhun (Qumsangir) | 1.0 | 126.5 | Sown area, all crops, all categories of farms – 16,228 ha Crop prod’n (tonnes): grain 27,715, cotton 6,823, potato 16,795 Livestock and poultry production (tones) – 2,432 |
| Vakhsh | 1.0 | 181.7 | Sown area, all crops, all categories of farms – 23,686 ha Crop prod’n (tonnes): grain 49,367, cotton 19,587, potato 19,095 Livestock and poultry production (tones) – 8,032 |

Project Specifications

Segment 1: Sughd Province

The first segment is a 25 km long corridor passing mainly through two districts in the northern part of the country – Sughd Region, particularly Spitamen and J. Rasulov districts with total population of 259,500persons as of 2015. With the steady population growth it will continue growing. In 2015, the nine villages within the four jamoats of these districts account for 36,735 persons.

Figure 1. Social and environmental strip map – Sughd part of CoI

The target districts are located some 30km from the administrative capital of the region – Khujand city, which is the economic center of the region; the affected areas are rural communities. Vast majority of the population in the project affected area involved in the agriculture. The average annual employment rate was 42.8 thousand persons in 2015. Migration level is high.

Education. Similar to the rest of the country, the districts and the region a inherited relatively developed secondary education system. To date there are 74 schools in both districts covering around 50,000 schoolchildren. All the affected villages have secondary or primary schools, while the higher education facilities are located in Khujand. At the same time, the vocational education and training facilities, such as lyceums and colleges are available in both districts centers.

Healthcare. There are 3 hospitals in Spitamen and 5 in J.Rasulov district, with 445 and 545 beds capacity each. The primary healthcare facilities in these districts are rather developed and as of 2014 made 29 facilities in Spitamen and 43 in J.Rasulov district. Those facilities include healthcare points, rural health centers, medical emergency hospitals etc. This suggest relatively well coverage and access to healthcare services in the affected area.

Segment 2: Tursun-zade to Sangtuda

The second segment covers nine districts of DRS and Khatlon Province, including Turzunzade, Shahrinav, Gisar, Rudaki, Khuroson, A.Jomi, Sarband, Bokhtar and Danghara. In total 37 villages in all the nine districts are within the Project corridor of impact.

Figure 2. Social strip map of the Regar-Sangtuda CoI route

Population Characteristics. The total number of population in all the affected districts made 1732.2 thousand persons as of 2015. The second segment passes through some of the largest and most populated districts such as Rudaki, Gissar and Bokhtar, which over the time showed steady growth. Ethnic composition of the districts include Tajiks, Uzbeks as a major ethnic groups, but also other ethnic groups (i.e. Russians, Tatars, Kyrgyz, Turkmen etc.) though very minor.

Economy, occupation and livelihoods. Same as for the first segment, agriculture constitutes the major sector of economy in the districts within the second segment. Unlike the area under the first segment, districts under the second segment are not only cotton growing areas, but are also fruits and vegetable producers, including early vegetables supplied to the capital city of Dushanbe.

While having diverse employment market opportunities, the total number of employed population in the districts under the second segment as of 2015 constituted 152.5 thousand persons. Having said that, Bokhtar district accounts for the highest number of employed people (31.6 thousand) and Khuroson the lowest (6.5 thousand). The average nominal salary in the districts vary between the highest 995.86TJS in Sarband district and the lowest 415.46TJS in Balkhi district. Higher salaries are also observed in Danghara, Rudaki and Tursunzoda. Such a difference is explained by the fact that despite agriculture being the major employment sector for the vast majority of the population of these districts, there are some key industries there as well, that employ local population and contribute to the increase of the average monthly salary. These industries, for instance include recently commissioned cotton ginnery and textile and cement plants in Danghara, Aluminum smelter in Tursunzade, number of industries in Rudaki, Hydropower Plant in Sarband etc.

There are two railway stations in Tursunzade – “Regar” and “Pakhtaabad”. Another railway station “Seshanbe” which reports to “Regar” station is located within the Tajik Aluminum Smelter and serves only for handling the Smelter’ goods. The Dushanbe-Termez-Moscow line-haul railroad passess through Tursunzade city, same as the Dushanbe-Tursunzade-Uzbek Border national road, which is part of the Central Asia Regional Economic Cooperation (CAREC) Corridor 3, and connecting the country with the Republic of Uzbekistan. Tursunzade is considered one of the largest industrial regions of the country with 23 industrial enterprises operating within the district.

Education. There are 759 schools in all the districts under the second segment reported as of 2015. The total number of schoolchildren in these schools constituted 318.2 thousand persons for the same period. There are higher education facilities in the project affected areas under the second segment. These include Danghara State University established in 2013, Medical University in Danghara, State University in Kurghan-Tyube, recently renovated and commissioned Bokhtar Energy Institute and higher education facilities as well as an array of vocational education and training facilities like colleges, lyceums and Adult Learning Centers.

Healthcare. Healthcare facilities network is relatively well developed in the districts under the second segment. Healthcare services are provided through the hospitals and primary healthcare facilities staffed with the doctors and nursing staff across all the districts. The least number of hospitals is in the smallest districts – Sarband – there are 3 hospitals while the largest number of hospitals is in Tursunzade (13 units). It total there are 57 hospitals in the districts covered under the second segment with the 3,904 beds capacity. The rural jamoats have primary healthcare facilities such as medical points, health centers that allows access to health services.

Segment 3: Sangtuda to Pyanj River (Afghan border)

Segment 3 of the CASA-1000 TL covers 4 districts, three of them (Vakhsh, Balkhi, Jayhun) are new to the TL route, while one – Danghara is shared between the second and third segment in that four of its villages are part of the third segment. The segment starts from the Sangtuda Converter station and passes through till the Afghan border. All the districts within the segment are administratively under Khatlon Province.

Figure 3. Administration map for the 3rd target area of the CSP.

Population Characteristics. State statistics data suggests that the total number of population in the three districts (Balkhi, Jayhun and Vakhsh) made 490.1 thousand persons in 2015. Danghara population is already accounted for under the second segment, hence the totals here shown excluding the latter. Balkhi districts has the smallest area among the four districts, yet the population is the highest among them. Jayhun district’s population is the lowest. All the districts show steady population growth, which was in its peak in 2010, but gradually slowed down a little. The population’s ethnic group includes Tajiks, Uzbeks and minor shares of other ethnic groups.

Economy, occupation and livelihoods. Agriculture remains major sector economy in the districts under the third segment, yet there are also some industry, such as cotton cleaning, leather and footwear, food processing (vegetable oil, meat, flour, canned fruit), Vakhsh nitric-fertilizer plant, electrical and metal industries. Same as for the first segment, agriculture constitutes the major sector of economy in the districts within the second segment. Unlike the area under the first segment, districts under the second segment are not only cotton growing areas, but are also fruits and vegetable producers, including early vegetables supplied to the capital city of Dushanbe.

Education. All the districts have secondary schools in total amounting 179 for the three districts aside from Danghara. Total number of schoolchildren in the three districts as of 2015 made 105.9 thousand persons. While the secondary education facilities are sufficiently available, along with the vocational education and training. There are 759 schools in all the districts under the second segment reported as of 2015. The total number of schoolchildren in these schools constituted 318.2 thousand persons for the same period. There are higher education facilities in the project affected areas under the second segment. These include Danghara State University established in 2013, Medical University in Danghara, State University in Kurghan-Tyube, recently renovated and commissioned Bokhtar Energy Institute and higher education facilities as well as an array of vocational education and training facilities like colleges, lyceums and Adult Learning Centers.

Healthcare. Healthcare facilities network is relatively well developed in the districts under the second segment. Healthcare services are provided through the hospitals and primary healthcare facilities staffed with the doctors and nursing staff across all the districts. The least number of hospitals is in the smallest districts – Sarband – there are 3 hospitals while the largest number of hospitals is in Tursunzade (13 units). It total there are 57 hospitals in the districts covered under the second segment with the 3,904 beds capacity. The rural jamoats have primary healthcare facilities such as medical points, health centers that allows access to health services. Data related to the health facilities for the target districts under the second segment is provided below.

Community Infrastructure

Roads. The Project area, including all three segments, is well connected by the national and local automobile roads. Tajikistan has an estimated 30,000km of roads with almost all of them built before 1990es. One main north-south artery runs across the mountains between the northwestern city of Khujand and Dushanbe in the central part of the country. A second main artery runs east from Dushanbe to Khorog in Gorno-Badakhshan Autonomous Province (GBAO), then northeast across the mountains to Murghab and on either to the Kyrgyz city of Osh or to Kashgar, China via the Kulma border crossing.

Major improvements have been going on to the existing highway network in Tajikistan in the recent years shortening transportation times and costs. The major highway projects implemented in the country within the Project target area are:

- Khujand – Dushanbe: Key route between the two largest cities forms part of the M-34 north – south route to Tashkent. Two new tunnels completed in 2012 through the 3200 meter Shakhristan pass along with dozens of avalanche galleries keep the highway open year round. A private operator (IRS) collects tolls and maintains the highway.

- Kurgantyube – Nijny Pyanj: Reconstruction of this heavily used section of two-lane highway with wide shoulders was completed in 2013 with funding from Japan such that the road to the Afghan border crossing is now excellent.

- Dushanbe – Turzunsade: The road extending eastwards 78 km from Dushanbe to the Uzbekistan border is partly converted into a four-lane highway with construction to be completed this year.

- Dushanbe – Kulyab: A new highway with two long tunnels over the 3200 high mountain pass has shortened the trucking time for this segment of the route to Khorog in the Pamirs.

While some of the project target districts are directly connected through the primary roads/highways, others are through secondary/tertiary roads, or at least the track/trails and/or earth roads.

Drinking water and sanitation in the country faced range of problems resulting from stagnating economy and transition from planned to market economy. Some of the problems in the sector are as follows:

  - Only 51,4% of the country’s population (86,9% urban versus 43,4% rural) have access to drinking water and accordingly 79,8% urban and 0,2% rural population has access to sewer systems with improved sanitation conditions;

  - Only 68% of the existing infrastructure in the urban (and peri-urban) areas is operational, 7% is operational partly and 25% is completely non-functional. Only 40% of the existing infrastructure in rural area is operational, 44% operates partly and 16% is completely non-functional.

Access to improved/basic water increased from 45 to 71% of the rural population from 2000 to 2016, but this was driven mainly by replacement of surface water with water from public standpipes and neighbors. Private piped connections reach only limited segments of the rural population. In contrast, over 80 percent of the population in urban areas has piped water connections in their dwelling or premise. Taking into consideration the amount of time that households spend on collecting water, measures of access to improved water sources decline almost everywhere in Tajikistan.

Even when households have access to water, there are significant challenges in the availability and continuity of water supplies. One in four households in Tajikistan does not have access to sufficient quantities of water when needed. Service is interrupted for long periods because of breakdowns in water supply infrastructure. Rural residents experience more instances of major service interruptions that last a week or more.

Waste management is one of the main environmental problems in Tajikistan and it includes waste from industry, mining, households, medical, and other wastes. Annually, about 1.7-2 million tons of municipal solid waste (MSW) is generated nationwide. The current waste management system in Tajikistan relies heavily on landfilling and it faces several problems, such as lack of landfill space, small amount of recycling and composting measures, and other related environmental problems. Municipal solid waste is neither sorted nor treated in the country. Because of trucks and fuels shortage, the collection of municipal solid waste is poor in urban areas, where there is almost no municipal waste service. There are 70 official MSW landfills in Tajikistan, which hold about 12 million tons of waste and cover 296 ha and none of the landfills meet current international standards. Field visits suggest that in the rural areas, solid waste management is not organized and the generated waste is dumped chaotically, not or rarely collected and transported to the nearest landfills due to lack of capacity at local utilities.

While only the districts centers within the Project target areas are considered as peri-urban areas and a very limited area such as Tursunzade city is and industrial area with relatively developed and recently rehabilitated utilities, such as landfills and solid waste management system, for major part of the TL COI the above remains an issue. With the steady population growth and emerging new settlements, this will continue to be an issue in the nearest future despite the emerging funding of the water and wastewater as well as solid waste management by multilaterals such as WB, ADB and EBRD.

Cultural, archaeological, ceremonial and historic resources. Cultural heritage sites are located mostly in DRS and Khatlon region within the area of project influence. There are cultural heritage in Sughd oblast, however located beyond the Project area, hence not included in the table below.

Table 3. Cultural Heritage Sites within the Project Area

| Districts under Republican Subordination |  |
| --- | --- |
| Rudaki district | - Kofarnihon Qalaa settlement - Mavlono Yaaqubi Charkhi mosque |
| City of Tursunzoda | - Khoja Naqshron mausoleum |
| Hisor district | - Hisor fortress (castle) - Madrasahi Kuhna (madrassa building) - Masjidi Sanghin (Stone mosque) - Caravansary (yard with buildings) - Madrasah Nav (madrassa building) |
| Khatlon Province |  |
| Bokhtar | - Ancient Settlement Khalkadjar (Kushan Period, II – VI centuries) – surroundings of Qurghonteppa - Qurghonteppa central museum - Ancient Buddhist Temple (surroundings of Qurghonteppa) |
| Vaksh district | - Ajina Teppa (Buddhist monastery) - Chorgul Teppa |
| Danghara district | - Mausoleum of Mavlono Obiddin - The cave crypt of Darai Osiyob - Mausoleum of Mavlono Tojiddin - Mausoleum of Shahid - Mausoleum of Sheikh Shaqiqi Balkhi - Sang Tepe (barrow) |
| Balkhi district | - Canal Juybor - Kofirqalaa (ancient settlement) - Laghmon (ancient settlement) - Fortress Urtaboz I - Fortress Urtaboz II |

According to UNESCO data, there are a number of sites considered as important from the perspective of cultural value, and related to the Silk Road, which connected Asia and Europe by a trade track. The objects are listed in table below and the description of the Silk Road component parts is provided further down.

Table 4.0 Silk Road cultural sites within the project area of influence

|  | Site | Region | Area (ha) | Approximate geocodes |
| --- | --- | --- | --- | --- |
| 1 | Hissor Castle | Gisar district | 20 | N38°29’01.42” E68°35’37.00” |
| 2 | Buddhist monastery Ajina-Tepa | Vakhsh district | 1,3 | N37°51’51.58” E68°56’30.65” |

Source: whc.unesco.org

Annex 3. ENVIRONMENTAL SCREENING CHECKLIST

Part 1 (to be completed by ES PMU for Component 1 and NSIFT for Component 2)

- Sub-Project Name and Code:

- Brief Description of Sub-project to include: nature of the project, project cost, physical size, site area, location, property ownership, existence of on-going operations, plans for expansion or new construction (the description can be copied from the subproject proposal and attached).

- Will the project have impacts on the environmental parameters listed below during the construction or operational phases? Indicate, with a check, during which phase impacts will occur and whether mitigation measures are required.

6. Explain what land needs will be needed and identify who owns the land, who is using the land, and/ or how land will be acquired.

Part 2 (to be completed by the ES PMU and NSIFT based on the findings of the environmental screening and scoping process)

Project Environmental Category (B or C) _____

EIA and/or EMP and EMP Checklist is required (yes or no) _____

What are the specific issues to be addressed in the EIA/EMP t?

Environmental Screener:					           Date:

## Annex 4. SOCIAL SCREENING CHECKLIST

|  | Activities | Yes | No | Notes |
| --- | --- | --- | --- | --- |
| 1 | Purchase of land, buildings (residential and business) |  |  | If "Yes", and answers other questions "No", provide relevant documents, available for the final sales transaction |
| 2 | Acquisitions or expansion of the business, which will be implemented by the demolition/ relocation homeowners, renters, formal and informal user assets |  |  | If yes, exclude from financing |
| 3 | Acquisition of assets, which will cause the loss of access of people or a particular community/groups, especially ethnic minorities to:  Natural resources  The traditional habitat  The traditional activities  Communal utilities |  |  | If yes, exclude from financing |
| 4 | Acquisitions/or expansion of a business that can promote/increase the risk of: 1. Violation of the labor code and laws including the use of child labor 2. Harassment of ethnic minority groups in the areas of project (related to their identity, dignity and livelihoods of the system of subsistence, cultural identity) 3. Human trafficking |  |  | If yes, exclude from financing |
| 5 | Will there be land acquisition using eminent domain law? |  |  | If yes, exclude from financing |
| 6 | Will there be permanent or temporary loss of shelter and residential land due to land acquisition? |  |  | If yes, exclude from financing |
| 7 | Will there be permanent or temporary loss of agricultural and other productive assets due to land acquisition? |  |  | If yes, exclude from financing |
| 8 | Will there be losses of crops, trees, and fixed assets due to land acquisition? |  |  | If yes, exclude from financing |
| 9 | Will there be permanent or temporary loss of businesses or enterprises due to land acquisition? |  |  | If yes, exclude from financing |
| 10 | Will there be permanent or temporary loss of income sources and means of livelihoods due to land acquisition? |  |  | If yes, exclude from financing |
| 11 | If land or private property is purchased through negotiated settlement or willing buyer-willing seller, will it result in the permanent or temporary removal or displacement of renters, or leaseholders? |  |  | If yes, exclude from financing |
| 12 | If land or private property is purchased through negotiated settlement or willing buyer-willing seller, will it result in the permanent or temporary removal or displacement of informal land-users (people without legal rights on the land) or squatters? |  |  | If yes, exclude from financing |
| 13 | Will the project involve any permanent or temporary restrictions in land use or access to legally designated parks or protected areas and cause people or any community to lose access to natural resources, traditional habitats, communal land, or communal facilities? |  |  | If yes, exclude from financing |
| 14 | Will the project use government land or any public land or property, which will require the permanent or temporary removal of informal occupants or users (residential or economic)? |  |  | If yes, exclude from financing |
| 15 | Are there any cultural or archeological sites nearby that could be impacted by project activities? |  |  | If yes, exclude from financing |

Annex 5. RESULTS of ENVIRONMENTAL AND SOCIAL SCREENING

| Category "A". Significant impact, exclude from financing Category "B". Limited impact Category “C". No impact | Prepared by: |
| --- | --- |
|  | Name and Signature: |
|  | Designation: |
|  | Date: |
|  | Approved by: |
|  | Name and Signature: |
|  | Designation: |
|  | Date: |

Any subproject applications that includes activities that coincide with those included in the lists in Annex 1 and that which may have significant environmental risks will be disqualified. If the answer to one of the following questions is YES, the subproject application shall be excluded.

## annex 6. environmental and social impact assessment report outline

An Environmental and Social Impact Assessment for Category B projects focuses on the significant environmental issues raised by a Sub-project. Its primary purpose is to identify environmental impacts and those measures that, if incorporated into the design and implementation of a project can assure that the negative environmental effects will be minimized. The scope and level of detail required in the analysis depend on the magnitude and severity of potential impacts.

The environmental and social impact assessment report should include the following elements:

- Executive Summary. This summarizes the significant findings and recommended actions.

- Policy, legal and administrative framework. This section summarizes the legal and regulatory framework that applies to environmental management in the jurisdiction where the study is done.

- Project Description. Describes the nature and scope of the project and the geographic, ecological, temporal and socioeconomic context in which the project will be carried out. The description should identify social groups that will be affected, include a map of the project site, identify impacts on land or assets, and identify any off-site or support facilities that will be required for the project.

- Baseline data. Describe relevant physical, biological and social condition including any significant changes anticipated before the project begins. Data should be relevant to project design, location, operation or mitigation measures.

- Environmental and Social Impacts. Describe the likely or expected positive and negative impacts in quantitative terms to the extent possible. Identify mitigation measures and estimate residual impacts after mitigation. Describe the limits of available data and uncertainties related to the estimation of impacts and the results of proposed mitigation.

- Analysis of Alternatives. Systematically compare feasible alternatives to the proposed project location, design and operation including the "without project" alternative in terms of their relative impacts, costs and suitability to local conditions. For each of the alternatives quantify and compare the environmental impacts and costs relative to the proposed plan.

- Environmental and Social Management Plan (ESMP). If significant impacts requiring mitigation are identified, the ESMP defines the mitigation that will be done, identifies key monitoring indicators and any needs for institutional strengthening for effective mitigation and monitoring to be carried out.

- Appendices.

This section should include:

(i) The list of ESA preparers;

(ii) References used in study preparation;

(iii) A chronological record of interagency meetings and consultations with NGOs and effected constituents;

(iv) Tables reporting relevant data discussed in the main text, and;

(v) A list of associated reports such as voluntary land donations list or social assessments that were prepared for the project.

## Annex 7. Environmental and sOCIAL mANAGEMENT pLAN CONTAINT AND FORMAT

General Remarks. Environmental Management Plan (EMP) for the Category A projects should outline the mitigation, monitoring and administrative measures to be taken during project implementation to avoid or eliminate negative environmental impacts. For projects of intermediate environmental risk (Category B projects), EMP may also be an effective way of summarizing the activities needed to achieve effective mitigation of negative environmental impacts (description of Environmental Management Plan is provided in Attachment 1 below).

The Management Plan format provided in Attachment 2 below. It represents a model for development of an EMP. The model divides the project cycle into three phases: construction, operation and decommissioning. For each phase, the preparation team identifies any significant environmental impacts that are anticipated based on the analysis done in the context of preparing an environmental assessment. For each impact, mitigation measures are to be identified and listed. Estimates are made of the cost of mitigation actions broken down by estimates for installation (investment cost) and operation (recurrent cost). The EMP format also provides for the identification of institutional responsibilities for "installation" and operation of mitigation devices and methods.

To keep track of the requirements, responsibilities and costs for monitoring the implementation of environmental mitigation identified in the analysis included in an environmental assessment for Category A or B projects, a monitoring plan may be useful. A Monitoring Plan format is provided in Attachment 3 below. Like the EMP the project cycle is broken down into three phases (construction, operation and decommissioning). The format also includes a row for baseline information that is critical to achieving reliable and credible monitoring. The key elements of the matrix are:

- What is being monitored?

- Where is monitoring done?

- How is the parameter to be monitored to ensure meaningful comparisons?

- When or how frequently is monitoring necessary or most effective?

- Why is the parameter being monitored (what does it tell us about environmental impact)?

In addition to these questions, it is useful to identify the costs associated with monitoring (both investment and recurrent) and the institutional responsibilities.

When a monitoring plan is developed and put in place in the context of project implementation, the PIU will request reports at appropriate intervals and include the findings in its periodic reporting to the World Bank and make the findings available to Bank staff during supervision missions.

Attachment 1

Description of the of the Environmental Management Plan

The Environmental Management Plan (EMP) identifies feasible and cost-effective measures that may reduce potentially significant adverse environmental impacts to acceptable levels. The plan includes compensatory measures if mitigation measures are not feasible, cost-effective, or sufficient. Specifically, the EMP (a) identifies and summarizes all anticipated significant adverse environmental impacts (including those involving indigenous people or involuntary resettlement); (b) describes--with technical details--each mitigation measure, including the type of impact to which it relates and the conditions under which it is required (e.g., continuously or in the event of contingencies), together with designs, equipment descriptions, and operating procedures, as appropriate; (c) estimates any potential environmental impacts of these measures; and (d) provides linkage with any other mitigation plans (e.g., for involuntary resettlement, indigenous peoples, or cultural property) required for the project.

Monitoring

3. Environmental monitoring during project implementation provides information about key environmental aspects of the project, particularly the environmental impacts of the project and the effectiveness of mitigation measures. Such information enables the borrower and the Bank to evaluate the success of mitigation as part of project supervision, and allows corrective action to be taken when needed. Therefore, the EMP identifies monitoring objectives and specifies the type of monitoring, with linkages to the impacts assessed in the EA report and the mitigation measures described in the EMP. Specifically, the monitoring section of the EMP provides(a) a specific description, and technical details, of monitoring measures, including the parameters to be measured, methods to be used, sampling locations, frequency of measurements, detection limits (where appropriate), and definition of thresholds that will signal the need for corrective actions; and (b) monitoring and reporting procedures to (i) ensure early detection of conditions that necessitate particular mitigation measures, and (ii) furnish information on the progress and results of mitigation.

Capacity Development and Training

4. To support timely and effective implementation of environmental project components and mitigation measures, the EMP draws on the EA's assessment of the existence, role, and capability of environmental units on site or at the agency and ministry level.3 If necessary, the EMP recommends the establishment or expansion of such units, and the training of staff, to allow implementation of EA recommendations. Specifically, the EMP provides a specific description of institutional arrangements-who is responsible for carrying out the mitigatory and monitoring measures (e.g., for operation, supervision, enforcement, monitoring of implementation, remedial action, financing, reporting, and staff training). To strengthen environmental management capability in the agencies responsible for implementation, most EMPs cover one or more of the following additional topics: (a) technical assistance programs, (b) procurement of equipment and supplies, and (c) organizational changes.

Implementation Schedule and Cost Estimates

5. For all three aspects (mitigation, monitoring, and capacity development), the EMP provides (a) an implementation schedule for measures that must be carried out as part of the project, showing phasing and coordination with overall project implementation plans; and (b) the capital and recurrent cost estimates and sources of funds for implementing the EMP. These figures are also integrated into the total project cost tables.

Integration of EMP with Project

6. The borrower's decision to proceed with a project, and the Bank's decision to support it, are predicated in part on the expectation that the EMP will be executed effectively. Consequently, the Bank expects the plan to be specific in its description of the individual mitigation and monitoring measures and its assignment of institutional responsibilities, and it must be integrated into the project's overall planning, design, budget, and implementation. Such integration is achieved by establishing the EMP within the project so that the plan will receive funding and supervision along with the other components.

# Resource: OP 4.01, Annex C - Environmental Management Plan. http://web.worldbank.org/WBSITE/EXTERNAL/PROJECTS/EXTPOLICIES/EXTOPMANUAL

Attachment 2

Environmental Management Plan Format

| Phase | Environmental Impact | Mitigating Measure(s) | Cost |  | Institutional Responsibility |  | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Install | Operate | Install | Operate |  |
| Construction |  |  |  |  |  |  |  |
| Operation |  |  |  |  |  |  |  |
| Decommissioning |  |  |  |  |  |  |  |

Attachment 3

Environmental Monitoring Plan Format

| Phase | What parameter is to be monitored? | Where will the parameter be monitored? | How will the parameter be monitored? | When will the parameter be monitored? | Why is the parameter being monitored? | Cost |  | Institutional Responsibility |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Install | Operate | Install | Operate |
| Baseline |  |  |  |  |  |  |  |  |  |
| Construction |  |  |  |  |  |  |  |  |  |
| Operation |  |  |  |  |  |  |  |  |  |
| De-commissioning |  |  |  |  |  |  |  |  |  |

## ANNEX 8. Environmental & SOCIAL Management Checklist for Small Construction and Rehabilitation Activities

General Guidelines for use of ESMP checklist

For low-risk topologies, such as school and hospital rehabilitation activities, the ECA safeguards team developed an alternative to the current ESMP format to provide an opportunity for a more streamlined approach to preparing ESMPs for minor rehabilitation or small-scale works in building construction, in the health, education and public services sectors. The checklist-type format has been developed to provide “example good practices” and designed to be user friendly and compatible with safeguard requirements.

The EMP checklist-type format attempts to cover typical core mitigation approaches to civil works contracts with small, localized impacts. It is accepted that this format provides the key elements of an Environmental and Social Management Plan (ESMP) or Environmental and Social Management Framework (ESMF) to meet World Bank Environmental Assessment requirements under OP 4.01. The intention of this checklist is that it would be applicable as guidelines for the small works contractors and constitute an integral part of bidding documents for contractors carrying out small civil works under Bank-financed projects.

The checklist has four sections:

Part 1	includes a descriptive part that characterizes the project and specifies in terms the institutional and legislative aspects, the technical project content, the potential need for capacity building program and description of the public consultation process. This section could be up to two pages long. Attachments for additional information can be supplemented when needed.

Part 2	includes an environmental and social screening checklist, where activities and potential environmental issues can be checked in a simple Yes/No format. If any given activity/issue is triggered by checking “yes”, a reference is made to the appropriate section in the following table, which contains clearly formulated management and mitigation measures.

Part 3	represents the monitoring plan for activities during project construction and implementation. It retains the same format required for ESMPs proposed under normal Bank requirements for Category B projects. It is the intent of this checklist that Part 2 and Part 3 be included into the bidding documents for contractors, priced during the bidding process and diligent implementation supervised during works execution.

Part 4	includes a descriptive part on voluntary land donations. Any land acquired through Voluntary Land Donation must first meet the following criteria:

Land to be donated must be identified by the community through a participatory approach

Impacts of proposed activities on donated land must be fully explained to the donor

The potential donor is aware that refusal is an option, and that right of refusal is specified in the donation document the donor will sign

The act of donation is undertaken without coercion, manipulation, or any form of pressure on the part of public or traditional authorities

The donor may request monetary or non-monetary benefits or incentives as a condition for donation

The proportion of land that may be donated cannot exceed the area required to maintain the donor’s livelihood or that of his/her household

Land donation cannot result in a lower standard of living or income generation, on the donor or the donor’s household

Donation of land cannot occur if it requires any household relocation

For community or collective land, donation can only occur with the consent of individuals using or occupying the land

Verification must be obtained from each person donating land (either through proper documentation or through confirmation by at least two witnesses)

The implementing agency establishes that the land to be donated is free of encumbrances or encroachment and registers the donated land in an official land registry

Any donated land that is not used for its agreed purpose is returned to the donor

The donor will not be required to pay any transaction fees for transfer of land

Contents of the ESMP Checklist

A. General Project and Site Information

B. Safeguards Information

C. Mitigation Measures

D. Monitoring Plan

PART A: General Project and Site Information

| SITE DESCRIPTION |  |  |
| --- | --- | --- |
| Name of site |  |  |
| Describe site location |  | Attachment 1: Site Map [ ]Y [ ] N |
| Who owns the land? |  |  |
| Description of geographic, physical, biological, geological, hydrographic and socio-economic context |  |  |
| Locations and distance for material sourcing, especially aggregates, water, stones? |  |  |
| LEGISLATION |  |  |
| Identify national & local legislation & permits that apply to project activity |  |  |
| PUBLIC CONSULTATION |  |  |
| Identify when / where the public consultation process took place |  |  |
| INSTITUTIONAL CAPACITY BUILDING |  |  |
| Will there be any capacity building? | [ ] N or [ ]Y if Yes, Attachment 2 includes the capacity building program |  |

PART B: safeguards information

| ENVIRONMENTAL /SOCIAL SCREENING |  |  |  |
| --- | --- | --- | --- |
| Will the site activity include/involve any of the following? | Activity/Issue | Status | Triggered Actions |
|  | - Building rehabilitation | [ ] Yes [ ] No | See Section A below |
|  | - New construction | [ ] Yes [ ] No | See Section A below |
|  | - Individual wastewater treatment system | [ ] Yes [ ] No | See Section B below |
|  | - Historic building(s) and districts | [ ] Yes [ ] No | See Section C below |
|  | - Acquisition of land | [ ] Yes [ ] No | See Section D below |
|  | - Hazardous or toxic materials | [ ] Yes [ ] No | See Section E below |
|  | - Impacts on forests and/or protected areas | [ ] Yes [ ] No | See Section F below |
|  | - Handling / management of medical waste | [ ] Yes [ ] No | See Section G below |
|  | - Traffic and Pedestrian Safety | [ ] Yes [ ] No | See Section H below |

ANNEX 9. DRAFT FORMAT FOR EMP CHECKLIST FOR MODERNIZATION OF ELECTRICAL STATIONS

| PART 1: INSTITUTIONAL & ADMINISTRATIVE |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Country |  |  |  |  |  |  |
| Project title |  |  |  |  |  |  |
| Scope of project and activity |  |  |  |  |  |  |
| Institutional arrangements (Name and contacts) | WB (Project Team Leader) |  | Project Management |  | Local Counterpart and/or Recipient |  |
| Implementation arrangements (Name and contacts) | Safeguard Supervision |  | Local Counterpart Supervision |  | Local Inspectorate Supervision | Contactor |
| SITE DESCRIPTION |  |  |  |  |  |  |
| Name of site |  |  |  |  |  |  |
| Describe site location |  |  |  |  | Attachment 1: Site Map [ ]Y [ ] N |  |
| Who owns the land? |  |  |  |  |  |  |
| Geographic description |  |  |  |  |  |  |
| LEGISLATION |  |  |  |  |  |  |
| Identify national & local legislation & permits that apply to project activity |  |  |  |  |  |  |
| PUBLIC CONSULTATION |  |  |  |  |  |  |
| Identify when / where the EMP has been disclosed and the results of the virtual public consultation |  |  |  |  |  |  |
| INSTITUTIONAL CAPACITY BUILDING |  |  |  |  |  |  |
| Will there be any capacity building? | [ ] N or [ ]Y if Yes, Attachment 2 includes the capacity building program |  |  |  |  |  |

PART C: Mitigation measures

| ACTIVITY | PARAMETER | MITIGATION MEASURES CHECKLIST |
| --- | --- | --- |
| 0. General Conditions | Notification and Worker Safety | - The local construction and environment inspectorates and communities have been notified of upcoming activities - The public has been notified of the works through appropriate notification in the media and/or at publicly accessible sites (including the site of the works) - All legally required permits have been acquired for construction and/or rehabilitation - The Contractor formally agrees that all work will be carried out in a safe and disciplined manner designed to minimize impacts on neighboring residents and environment. - Workers’ PPE will comply with international good practice (always hardhats, as needed masks and safety glasses, harnesses and safety boots) - Appropriate signposting of the sites will inform workers of key rules and regulations to follow. |
| A. General Rehabilitation and /or Construction Activities | Air Quality | - During interior demolition debris-chutes shall be used above the first floor - Demolition debris shall be kept in controlled area and sprayed with water mist to reduce debris dust - During pneumatic drilling/wall destruction dust shall be suppressed by ongoing water spraying and/or installing dust screen enclosures at site - The surrounding environment (side-walks, roads) shall be kept free of debris to minimize dust - There will be no open burning of construction / waste material at the site - There will be no excessive idling of construction vehicles at sites |
|  | Noise | - Construction noise will be limited to restricted times agreed to in the permit - During operations the engine covers of generators, air compressors and other powered mechanical equipment shall be closed, and equipment placed as far away from residential areas as possible |
|  | Water Quality | - The site will establish appropriate erosion and sediment control measures such as e.g. hay bales and / or silt fences to prevent sediment from moving off site and causing excessive turbidity in nearby streams and rivers. |
|  | Waste management | - Waste collection and disposal pathways and sites will be identified for all major waste types expected from demolition and construction activities. - Mineral construction and demolition wastes will be separated from general refuse, organic, liquid and chemical wastes by on-site sorting and stored in appropriate containers. - Construction waste will be collected and disposed properly by licensed collectors - The records of waste disposal will be maintained as proof for proper management as designed. - Whenever feasible the contractor will reuse and recycle appropriate and viable materials (except asbestos) |
| B. Individual wastewater treatment system | Water Quality | - The approach to handling sanitary wastes and wastewater from building sites (installation or reconstruction) must be approved by the local authorities - Before being discharged into receiving waters, effluents from individual wastewater systems must be treated in order to meet the minimal quality criteria set out by national guidelines on effluent quality and wastewater treatment - Monitoring of new wastewater systems (before/after) will be carried out - Construction vehicles and machinery will be washed only in designated areas where runoff will not pollute natural surface water bodies. |
| C. Historic building(s) | Cultural Heritage | - If the building is a designated historic structure, very close to such a structure, or located in a designated historic district, notification shall be made and approvals/permits be obtained from local authorities and all construction activities planned and carried out in line with local and national legislation. - It shall be ensured that provisions are put in place so that artifacts or other possible “chance finds” encountered in excavation or construction are noted and registered, responsible officials contacted, and works activities delayed or modified to account for such finds. |
| ACTIVITY | PARAMETER | MITIGATION MEASURES CHECKLIST |
| D. Acquisition of land | Land Use Criteria | - No land will be involuntarily acquired - Any land donations must meet Voluntary Land Donation criteria (see Annex 11 checklist) - Land can be purchased, or leased, on a willing buyer-willing seller basis - Works will utilize vacant government land, occur within existing footprint, or follow right-of-way or easements |
| E. Toxic Materials | Asbestos management | - If asbestos is located on the project site, it shall be marked clearly as hazardous material - When possible the asbestos will be appropriately contained and sealed to minimize exposure - The asbestos prior to removal (if removal is necessary) will be treated with a wetting agent to minimize asbestos dust - Asbestos will be handled and disposed by skilled & experienced professionals - If asbestos material is be stored temporarily, the wastes should be securely enclosed inside closed containments and marked appropriately. Security measures will be taken against unauthorized removal from the site. - The removed asbestos will not be reused |
|  | Toxic / hazardous waste management | - Temporarily storage on site of all hazardous or toxic substances will be in safe containers labeled with details of composition, properties and handling information - The containers of hazardous substances shall be placed in a leak-proof container to prevent spillage and leaching - The wastes shall be transported by specially licensed carriers and disposed in a licensed facility. - Paints with toxic ingredients or solvents or lead-based paints will not be used |
| F. Affected forests, wetlands and/or protected areas | Protection | - All recognized natural habitats, wetlands and protected areas in the immediate vicinity of the activity will not be damaged or exploited, all staff will be strictly prohibited from hunting, foraging, logging or other damaging activities. - A survey and an inventory shall be made of large trees in the vicinity of the construction activity, large trees shall be marked and cordoned off with fencing, their root system protected, and any damage to the trees avoided - Adjacent wetlands and streams shall be protected from construction site run-off with appropriate erosion and sediment control feature to include by not limited to hay bales and silt fences - There will be no unlicensed borrow pits, quarries or waste dumps in adjacent areas, especially not in protected areas. |
| G. Disposal of medical waste | Infrastructure for medical waste management | - In compliance with national regulations the contractor will insure that newly constructed and/or rehabilitated health care facilities include sufficient infrastructure for medical waste handling and disposal; this includes and not limited to: - Special facilities for segregated healthcare waste (including soiled instruments “sharps”, and human tissue or fluids) from other waste disposal; and - Appropriate storage facilities for medical waste are in place; and - If the activity includes facility-based treatment, appropriate disposal options are in place and operational |
| H Traffic and Pedestrian Safety | Direct or indirect hazards to public traffic and pedestrians by construction activities | (a) In compliance with national regulations the contractor will insure that the construction site is properly secured and construction related traffic regulated. This includes but is not limited to - Signposting, warning signs, barriers and traffic diversions: site will be clearly visible and the public warned of all potential hazards - Traffic management system and staff training, especially for site access and near-site heavy traffic. Provision of safe passages and crossings for pedestrians where construction traffic interferes. - Adjustment of working hours to local traffic patterns, e.g. avoiding major transport activities during rush hours or times of livestock movement - Active traffic management by trained and visible staff at the site, if required for safe and convenient passage for the public. - Ensuring safe and continuous access to office facilities, shops and residences during renovation activities, if the buildings stay open for the public. |

PART D: Monitoring Plan

| Activity | What (Is the parameter to be monitored?) | Where (Is the parameter to be monitored?) | How (Is the parameter to be monitored?) | When (Define the frequency / or continuous?) | Why (Is the parameter being monitored?) | Who (Is responsible for monitoring?) |
| --- | --- | --- | --- | --- | --- | --- |
| 1. Type of activity |  |  |  |  |  |  |
| 2. Type of activity |  |  |  |  |  |  |
| 3. Type of activity |  |  |  |  |  |  |

## Example of an Environmental Monitoring Plan for small scale construction/rehabilitation under selected sub-projects

| PHASE | WHAT is the parameter to be monitored? | WHERE is the parameter to be monitored? | HOW is the parameter to be monitored?? | WHEN is the parameter to be monitored? (frequency)? | WHY is the parameter being monitored? | COST | RESPONSIBILITY |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Designing | Implementation of ESMP guidelines (RECOMMENDATIONS) | Design project for construction, reconstruction and adaptation. | Review of elaborates and adaptation designs. | Prior approval for construction as part of project monitoring program. | Recommended due to national legislation requiring a construction permit. | Should be part of the Project | CEP Designer, Contractor |
| Construction | Parameters given in construction permit - all special conditions of construction issued by different bodies | Main Project documentation | A part of regular inspection by the Committee for Environmental Protection (CEP) and the Construction Inspection | During construction and prior to issuance of the Operation permit | - Regular review stipulated in the Law, and if any public complaint is sent to the CEP, or the Construction Inspection. | Included in the construction phase, costs of Contractors | PMU Safeguards Specialist, inspectorate of the CEP and Construction Inspection |
|  | Construction waste management (including hazardous) | Supporting documents for waste, which is submitted to the competent communal enterprise | A part of regular inspection by the CEP and Construction Inspection | After reporting on waste management | Needed in accordance with the waste-related regulations | Expenditure of the CEP and the Construction Inspection and low costs for the Contractor | PMU Safeguards Specialists, inspectorate of the CEP and Construction Inspection |
| Operation | Waste management | Based on the supporting documents for waste, which is submitted to the CEP | Reports to the CEP | After reporting to the CEP on waste management. | Should be monitored in line with the regulations on waste management. | Costs of the project beneficiary and the CEP | Project beneficiary, competent communal company and the CEP |

| PART 2: ENVIRONMENTAL /SOCIAL SCREENING |  |  |
| --- | --- | --- |
| ACTIVITY | ENVIRONMENTAL ISSUE/ PARAMETER | MITIGATION MEASURES CHECKLIST |
| A. Contractor mobilization (General Conditions) | Notification and Worker Safety | - The local construction and environment inspectorates and communities have been notified of upcoming activities - The public has been notified of the works through appropriate notification in the media and/or at publicly accessible sites (including the site of the works) - All legally required permits have been acquired for construction and/or rehabilitation - All work will be carried out in a safe and disciplined manner designed to minimize impacts on neighboring residents and environment. - Workers’ PPE will comply with international good practice (always hardhats, as needed masks and safety glasses, harnesses and safety boots) - Appropriate signposting of the sites will inform workers of key rules and regulations to follow. |
| B. Rehabilitation and /or Construction Activities (civil works) | Air Quality | - Keep demolition debris in controlled area and spray with water mist to reduce debris dust - Suppress dust during pneumatic drilling/wall destruction by ongoing water spraying and/or installing dust screen enclosures at site - Keep surrounding environment (side-walks, roads) free of debris to minimize dust - There will be no open burning of construction / waste material at the site - There will be no excessive idling of construction vehicles at sites |
|  | Noise | - Construction noise will be limited to restricted times agreed to in the permit - During operations the engine covers of generators, air compressors and other powered mechanical equipment should be closed, and equipment placed as far away from residential areas as possible |
|  | Waste management | - Waste collection and disposal pathways and sites will be identified for all major waste types expected from demolition and construction activities. - Mineral construction and demolition wastes will be separated from general refuse, organic, liquid and chemical wastes by on-site sorting and stored in appropriate containers. - Construction waste will be collected and disposed properly by licensed collectors - The records of waste disposal will be maintained as proof for proper management as designed. - Whenever feasible the contractor will reuse and recycle appropriate and viable materials (except asbestos) |
| C. Wastewater | Water Quality | - The site will establish appropriate erosion and sediment control measures such as e.g. hay bales and / or silt fences to prevent sediment from moving off site and causing excessive turbidity in nearby streams and rivers. - The approach to handling sanitary wastes and wastewater from building sites (installation or reconstruction) must be approved by the local authorities - Before being discharged into receiving waters, effluents from individual wastewater systems must be treated in order to meet the minimal quality criteria set out by national guidelines on effluent quality and wastewater treatment - Monitoring of new wastewater systems (before/after) will be carried out; - Actions of contractors must be accomplished in a way to prevent accidental spilling of waste water from entering to the reservoirs or into groundwater during processing and mixing of concrete. They must not fall into the water courses/canals without special settling in dams (pools), and without passing through special gravel filters and other processing. |
| D. Toxic Materials/Substances | Asbestos management | - If asbestos is located on the project site, mark clearly as hazardous material - When possible the asbestos will be appropriately contained and sealed to minimize exposure - The asbestos prior to removal (if removal is necessary) will be treated with a wetting agent to minimize asbestos dust - Asbestos will be handled and disposed by skilled & experienced professionals - If asbestos material is be stored temporarily, the wastes should be securely enclosed inside closed containments and marked appropriately - The removed asbestos will not be reused and should be buried |
|  | Toxic / hazardous waste management | - Temporarily storage on site of all hazardous or toxic substances will be in safe containers labeled with details of composition, properties and handling information - The containers of hazardous substances should be placed in an leak-proof container to prevent spillage and leaching - The wastes are transported by specially licensed carriers and disposed in a licensed facility. - Paints with toxic ingredients or solvents or lead-based paints will not be used |
|  | Oil substances/wastes | - Car washes and places of mechanisms and machines service must be equipped with sumps and oil and petrol catchers; - Used oil and technical liquids should pour off into containers and then should send to the recovery; - Exclude leakage of petroleum products during transportation; - All the oil wastes of operational materials of maintenance should be collected and stored in specially designated areas with following cleaning in established order. |
|  | Polychlorinated Biphenils (PCBs) | - Strictly obey the regulatory documents in terms of getting access and operating while taking oil samples and in particular the “Safety rules for maintaining of electrical equipment” the II edition issued on 1989, Moscow; - Used only glass bottles for oil sampling; - In order to prevent the skin from coming into contact with PCBs, use one-way protective gloves. - Protect eyes against possible oil splashes by wearing goggles; - The sample should be taken by using the drain tap, located at the bottom of the transformer; - As there is a risk that highly toxic dioxins are unintentionally formed and released during the Clhorine identification by using applying the Beilstein Method, testing should only be performed in a laboratory by experienced chemists. - In the case the Chlorine testing show the transformers contain PCBs it is necessary to follow the rules prescribed in the Guidebook on Environmental Sound PCB Management in Electrical Equipment, labelling the polluted equipment, keeping used oil and contaminated transformers in the tanks in a guarded facility, until when the proper utilization/disposal measures will be in place. |
| - Dismantling/installing old/new equipment and conducting earthworks | Crane/excavators/bulldozers operations | - It is strictly imperative to obey the existing national regulations on conducting these activities; - While approaching to the air electrical lines under tension the works should be carried out under the supervision of electricians; - The cranes should be installed and fixed in a stable position to prevent their tipping or spontaneous displacement under the action of its own weight, and the engine. - For mechanized management of earthworks it is necessary to check the serviceability of machineries, availability of their fencing and safety devices. Working on defective machines is not permitted; - To exclude injuries members of mechanized brigades operating cranes and bulldozers should know and strictly follow all safety engineering rules during operations of relevant machines; - Workers serving machines should be provided with instructions, comprising following: (a) Machine controlling instruction and caring about the workplace; (b) Safety engineering requirements; (c) Guidance of signals system; (d) The maximum loads and speeds of machines; (e) The measures have to be taken by the worker in the case of accident or malfunction of the machines. - To control the machines are allowed people specially trained and have certificate of competence of controlling machines. - The basic requirements of cranes and bulldozers operations are as follows: (a) All rotating parts of machines - gears, chain and temporary transfer, fans, flywheels, etc. must be fenced by casing. Turning on the mechanisms without fences is prohibited; (b) Examination, adjustment, tightening bolts, lubrication and preventive maintenance of the equipment during their work is banned; and (c) In areas where these machines work implementation of any other works and existence of people are not allowed. If in exploit soil will be found large stones, stumps or other objects the machine must be stopped and the objects which can cause an accident should be removed. |
|  | Welding activities | - Strictly imperative to obey the existing national regulations on conducting these activities; - The personal should have protective equipment, rubber gloves, special boots, as well as special helmets. - Prior to starting welding operations, all workers have to pass labor safety training course. - Use the protective gear which as minimum includes: (a) Respirator/Welders Mask; (b) Protective clothing: All skin areas need to be protected to protect against molten metal and sparks. This includes: Long sleeve shirts; Pants that cover the tops of shoes; Gloves; Shoes or boots; (c) Eye protection devices against injuries from debris and from the effects of the ultraviolet light; (d) Helmets. - Fire protection: prepare and use extinguishers as well as sand and water. |
|  | Dismantling/installing electrical equipment | - Strictly obey the existing national regulations on conducting these activities; - Carry out the routine inspection of the machinery and equipment for the purpose of trouble shooting and observance of the time of repair; - Organize training and instruction of the workers engaged in maintenance of the machinery, tools and equipment on safe methods and techniques of work; - It is prohibited: to distribute faulty or unchecked tools for work performance as well as to leave off-hand mechanical tools connected to the electrical supply network or compressed air pipelines; to pull up and bend the cables and air hose pipes; to lay cables and hose pipes with their intersection by wire ropes, electric cables, to handle the rotating elements of power driven hand tools. |

| PART 3: MONITORING PLAN |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Phase/project activity | What (Is the parameter to be monitored?) | Where (Is the parameter to be monitored?) | How (Is the parameter to be monitored?) | When (Define the frequency / or continuous?) | Why (Is the parameter being monitored?) | Cost (if not included in project budget) | Who (Is responsible for monitoring?) |
| During project implementation |  |  |  |  |  |  |  |
| Transformer oil testing on PCBs | Presence of Chlorine/ safety rules of PCBs testing | At the stations taking samples from transformers and testing the laboratory | Using Belstien method | Once in the beginning at the project implementation | Avoiding health impacts | Covered by BT | BT Environmental Protection Department |
| Civil works (construction/ rehabilitation) | Parameters given in construction permit - all special conditions of construction issued by different bodies | Project documentation, Construction permits | A part of regular inspection by BT | During construction and prior to issuance of the Operation permit | Regular review stipulated in the construction permits to ensure compliance with the specified by national legislation and EMP environmental requirements | Included in the costs of Contractors | Supervision BT Engineer and PMC Environmental Specialist |
|  | Air quality and noise | At the construction site | Visually | During construction phase | To avoid environmental pollution and workers health impacts | PMC expenditures as part of the project implementation costs | BT Environmental Department and PMC Environment Specialist |
|  | Waste water | At the construction site | Visually | During construction phase | To avoid environmental pollution and workers health impacts | PMC expenditures as part of the project implementation costs | BT Environmental Department and PMC Environment Specialist |
|  | Construction waste management, hazardous materials and asbestos | At the construction sites and | Visual observations and analysing supporting documents for waste collection and transportation, which is submitted to the competent communal enterprise; Reporting documents from landfills | During the construction phase and after reporting on waste management | Avoiding environmental pollution and health impacts and needed in accordance with the waste-related national regulations | Expenditure of the BT PMC and operating costs for the Contractor | PMC Environmental Specialist |
| Dismantling/installing new electrical equipment/welding operations | Labor safety | At the construction site (for dismantling or installing of equipment) | Visual observation and analysis of presented report on conducted works, accidents, if any, reports on conducted training | Before and during construction and per national requirements in terms of ensuring labour safety | Avoiding accidents and health impacts | Contractors expenditure on training and ensuring labour safety, including costs for protective gear; Supervision costs of PMC Environmental Specialist | PMC Environmental Specialist |
| During operation |  |  |  |  |  |  |  |
| Electrical station operation | Labor safety | At the electrical stations | Protective gears, obeying of safety rules, conducted training | Periodically per specified in national norms and standards procedures and timing | Avoiding accidents and health impacts to station workers | BT own expenses | Chief Engineer of the station |

# ANNEX 9. BASIC GUIDELINES ON CONSULTATIONS

Wide-ranging consultations help to: (i) ensure that people are made aware of a project and have the opportunity to comment on it, (ii) improve responsiveness, accountability and transparency on the part of project management, (iii) promote better decision-making, and (iv) increase cooperation of community and government partners during project implementation and local ownership after handover. Initial meetings with stakeholders provide a forum not just for dissemination of information about a sub project and its potential impacts, but also constitute an important opportunity to hear people’s concerns and take on board their recommendations to the extent possible in project design. These meetings also will lay the foundations for systematic consultation and participation of the community in all subsequent stages of a sub project’s development.

It is a basic requirement of the World Bank OP 4.01 (Environmental Assessment) to have adequate consultation and participation from the stakeholders, records of which will need to be part of the EA documentation.

As a first step, stakeholders need to be identified. These will fall into two categories: (i) Direct stakeholders who will be directly affected by the project, i.e. different groups within communities, especially vulnerable groups including women and landless, and (ii) Indirect stakeholders who have an interest in the project, or who could influence its outcome, e.g. national and local government agencies, donors and NGOs.

Following stakeholder identification, participatory methods such as focus group discussions and semi-structured interviews will be used (by ES PMU/NSIFT staff /facilitating partners/ line agencies safeguards staff) to conduct meetings with representatives from each group both to inform the development of safeguards instruments and to consult stakeholders through the lifetime of the project. A written record of main points discussed in all meetings must be made and filed for easy retrieval. Meetings will be arranged at times to ensure the maximum participation of stakeholders. Separate meetings will be held with women through women’ CDCs and/or other relevant mechanisms.

Consultation with indirect stakeholders will be conducted in parallel to those with communities. These will include meetings with representatives from relevant line government departments and agencies etc. Meetings will also be held with NGOs working in sub project localities to inform them about the project and explore opportunities for cooperation to lever the impact of the sub Project activities.

Annex 10. VOLUNTARY LAND DONATION FORM

| Oblast |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| District |  |  |  |  |  |  |  |  |
| Settlement/Township |  |  |  |  |  |  |  |  |
| Village/Mahalla |  |  |  |  |  |  |  |  |
| Subproject ID |  |  |  |  |  |  |  |  |
| Technical Facilitator |  |  |  |  |  |  |  |  |
| Name of Land-owner |  |  |  |  |  | Beneficiary of Subproject: Y/N |  |  |
| Sex: | Age: |  |  |  | Occupation: |  |  |  |
| Address: |  |  |  |  |  |  |  |  |
| Description of land that will be taken by the subproject: |  |  |  | Area affected (Sq. ft): Length (ft): Width (ft): |  | Total landholding area (sq. ft) |  | Ratio of land affected to total land held: |
| Description of annual crops growing on the land now and project impact: |  |  |  |  |  |  |  |  |
|  |  |  | Type of tree/crop |  |  |  | No. of trees/area of crops |  |
| Trees that will be destroyed |  |  |  |  |  |  |  |  |
| Fruit trees |  |  |  |  |  |  |  |  |
| Trees used for other economic or household purposes |  |  |  |  |  |  |  |  |
| Mature forest trees |  |  |  |  |  |  |  |  |
| Other significant crops grown on donated land |  |  |  |  |  |  |  |  |
| Total Trees (#) Crop area: |  |  |  |  |  |  |  |  |
| Describe any other assets that will be lost or must be moved to implement the project |  |  |  |  |  |  |  |  |
| Value of donated assets: |  |  |  |  |  |  |  |  |
| Will affected people needed to be physically relocated? |  |  |  |  |  |  |  |  |

By signing or providing a thumbprint on this form, the land user or owner agrees to contribute assets to the project. The contribution is voluntary. If the land user or owner does not want to contribute his/her assets to the project, he or she should refuse to sign or to provide a thumbprint.

Date:							Date:

Village Project Support Committee:			Affected persons’ signatures:

representative’s signature				(both husband and wife)

# ANNEX 11. EXAMPLE OF TEMPLATE FOR GRIEVANCE REDRESS LOG

| # | Priority | Date Feedback Received | Feedback Channel | Category of feedback | Summary Description | Anonymous (Yes/No) | Person assigned to address feedback | Status (resolved, pending, escalated) | Date of resolution of feedback | Communication about resolution |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |

Annex 12. MINUTES OF CONSULTATIONS WITH INTERESTED PARTIES ON DRAFT ENVIRONMENTAL AND SOCIAL MANAGEMENT FRAMEWORK

- Public Consultations on draft Environmental and Social impacts assessment framework document for CASA-1000 Community Support Project (CSP), Resettlement policy basis issues-  in Khatlon Province

Purpose:  To describe the objectives and activities for the proposed Project, including environmental and social management framework issues and solicit feedback

Khatlon Province Public Consultations (December 2018)

Date: 4 December 2018 Location: Kushoniyon district, conference-hall of Khukumat building Panel Members: - Jabbori Gafor, Chairman of Kushoniyon district - Aziz Kholov, environmental specialist of ESPMU, Barki Tojik; - Nurullo Nazarov, M, Manager of the branch department, NSIFT - Guljahon Berdieva, Senior specialist, NSIFT - Abulkosim Kotibov, Manager of the Central office department, NSIFT List of participants (presented below): 19 participants

Comments, notes, conclusions At the meeting, presentations were made on the environmental and social management framework issues for the proposed CASA-1000 CSP project. Information was given on the requirements of WB safeguards policies, national environmental legislation, potential impacts of the sub-projects, safety ussues, proposed mitigation measures in EMP, aspects of monitoring (hard copy of the ESMF summary in Tajik and Russian, Power point presentations, in Tajik). The questions from participants were on route of CASA-1000 line and number of villages in CoI within Kushoniyon district, any potential environmental and social risks for the local people, scope of CSP (will it cover the rehabilitation/construction of educational facilities or not, etc.). The participants actively participated in the discussions, which were mainly focused on the following: the responsibility of borrowers (beneficiaries) for carrying out activities on a grant, coverage of the project and selection criteria for sub-projects; capacity building activities and the need for a campaign to disseminate information and trainings for local people. Particular attention was paid to the relevance of the project for returning migrants, women, women heads of households, youth, vulnerable groups of the population, including disabled people. Participants noted that the components of the proposed project will help increase the benefits from the CASA-1000 project, improve livelihood levels in the district. . All participants concluded that the implementation of the ESMF provisions and appropriate mitigation measures for the consequences of the project activities will have a largely positive impact on their safety , livelihood and the business climate of the country. Greeting of public consultations participants and presentations of main aspects of ESMF– Kushoniyon district, 4 December 2018

List of public consultations participants in Kushoniyon  district, 4 December 2018

| N | Name of participants | Profession |
| --- | --- | --- |
| 1 | Sh. Safarzoda | Deputy Charman of the district |
| 2 | A.Karimzoda | Chief doctor of the district |
| 3 | S.Kamolzodi | Director of KDF BMMF |
| 4 | Kh.Mahmadshoev | Farmer of Bustonqala village |
| 5 | O.Safarov | Director of Water Users Association |
| 6 | H.Nazirov | Manager of the hospital |
| 7 | M.Tumoshev | Accountant of the district hospital |
| 8 | Sh.Nurmahmadzoda | Head of education department |
| 9. | G.Berdieva | Senior specialist, NSIFT |
| 10 | B.Abdurahmanov | specialist of the Committee of environment protection |
| 11 | A.Kholov | Environmental specialist of ES PMU |
| 12 | N.Kalonov | represesentative of NSIFT in Kushoniyon district |
| 13 | A.Jalilov | Head of farm |
| 14 | A.Yusupov | Head of department of the district hospital |
| 15 | H.Barotov | Chief master |
| 16 | J.Ismonov | Specialist of economy department |
| 17 | E.Imomov | Head of farm |
| 18. | N.Nazarov | worker |
| 19 | A.Kotibov | Manager of department, NSIFT |

- Public Consultations on draft Environmental and Social impacts assessment framework document for CASA-1000 Community Support Project (CSP), Resettlement policy basis issues-  in Khatlon Province

Purpose:  To describe the objectives and activities for the proposed Project, including environmental and social management framework issues and solicit feedback

Khatlon Province Public Consultations (December 2018)

Date: 5 December 2018 Location: Jaihun district, conference-hall of Khukumat building Panel Members: - Aminzoda, Chairman of Jaihun district - Aziz Kholov, environmental specialist of ESPMU, Barki Tojik; - Nurullo Nazarov, M, Manager of the branch department, NSIFT - Guljahon Berdieva, Senior specialist, NSIFT - Abulkosim Kotibov, Manager of the Central office department, NSIFT List of participants (presented below): 57 participants

Comments, notes, conclusions At the meeting, presentations were made on the environmental and social management framework issues for the proposed CASA-1000 CSP project. Information was given on the requirements of WB safeguards policies, national environmental legislation, potential impacts of the sub-projects, safety ussues, proposed mitigation measures in EMP, aspects of monitoring (hard copy of the ESMF summary in Tajik and Russian, Power point presentations, in Tajik). The questions from participants were on possibility to involve the local NGOs to the project activities, potential environmental and social risks for the local people, date of the project commencement etc. Participants noted that the components of the proposed project will help increase the benefits from the CASA-1000 project, improve livelihood levels in the district. . All participants concluded that the implementation of the ESMF provisions and appropriate mitigation measures for the consequences of the project activities will have a largely positive impact on their safety, livelihood and the business climate of the country. Public consultations participants and presentations of main aspects of ESMF– Jaihun district, 5 December 2018

List of public consultations participants in Jaihun  district, 5 December 2018

| N | Name of participants | Profession |
| --- | --- | --- |
| 1 | O.Balhiyorova | Student, resident of Dusti town |
| 2 | S.Bakovulova | Student, resident of Dusti town |
| 3 | N.Nakdomova | worker, resident of Dusti town |
| 4 | Sh.Shirinova | Director of Water Users Association |
| 5 | R.Mahmudova | Student, jamoat Jaihund Zarnisor |
| 6 | T.Safarova | Jamoat Zarnisor, student |
| 7 | S.Palavgonova | Jamoat Zarnisor, student |
| 8 | G.Aftalova | Jamoat Zarnisor, student |
| 9. | R.Gulomova | Jamoar Rozikobod, library specialist |
| 10 | S.Sheralishoeva | Jamoat Vakhdat, student |
| 11 | G.Alieva | Jamoat Rozikobod, student |
| 12 | O.Sharipova | Jamoat Vakhdat, student |
| 13 | O.Sheralishoeva | Jamoat Vakhdat, student |
| 14 | D.Raupov | Jamoat Rozikobod, student |
| 15 | B.Khojaeva | Dusti town, NGO “Mohi Munir”, specialist |
| 16 | K.Nazarshoeva | 1 May village, NGO “Mohi Munir”, worker |
| 17 | Z.Ashurova | Pahtakor village, Manager of NGO “Mohi Munir” |
| 18. | M.Ashurova | Kumsangir village, student |
| 19 | K.Vazirova | Kumsangir village, student |
| 20 | F.Shohnasimova | Kumsangir village, student |
| 21 | Z.Mamadnazarova | Kumsangir village, student |
| 22 | A.Talabov | Kuhdamov village, student |
| 23 | N.Sorieva | Kuhdamov village, student |
| 24 | S.Primkulova | Kuhdamov village, student |
| 25 | N.Korshieva | Kuhdamov village, student |
| 26 | B.Abdunamazova | Istiklol village, student |
| 27 | F.Ethonova | Istiklol village, student |
| 28 | M.Zinatshoeva | Istiklol village, student |
| 29 | R.Hushatchinova | Istiklol village, student |
| 30 | G.Gafurova | Vahdat village, student |
| 31 | G.Davlatova | 1 May villagem student |
| 32 | N.Mirvalieva | Dusti town, student |
| 33 | S.Saidburhonova | Dusti town, student |
| 34 | M.Navruzmamadova | Dusti town, student |
| 35 | N.Navrozova | Dusti town, student |
| 36 | A.Bozorov | Dusti town, doctor |
| 37 | A.Sarkulieva | Dusti town, student |
| 38 | M.Idrisova | Rudaki village, student |
| 39 | H.Rahmonova | Rudaki village, student |
| 40 | O.Abdulloeva | Rudaki village, student |
| 41 | Z.Nazarova | Rudaki village, student |
| 42 | O.Sidikova | Zarbdor village, student |
| 43 | H.Kurbonova | Kuhdemon village, student |
| 44 | R.Davlatova | Zarbdor village, student |
| 45 | S.Pardaev | Kuhdemon village, head of farm |
| 46 | Z.Holmatov | Kuhdemon village, Chairman of mahalla |
| 47. | S.Majnunov | Aini village, farmer |
| 48 | M.Zamburov | Zarbdor village, chairman of mahalla |
| 49 | M.Siyakov | Fathobod village, farm “Safarali” |
| 50 | H.Dovlatov | Chief engineer |
| 51 | J.Hikmatzoda | Dysti town, head of educational department |
| 52 | A.Kholov | Environmental specialist of ES PMU |
| 53 | B.Abdurahimov | Speciaist of the Committee of environment protection |
| 54 | N.Nazarov | Bokhtar town, representative of NSIFT |
| 55 | G.Berdieva | Specialist of NSIFT |
| 56 | M.Asakolov | Kumsangir village, head of jamoat |
| 57 | A.Kotibov | Manager of NSIFT |

- Public Consultations on draft Environmental and Social impacts assessment framework document for CASA-1000 Community Support Project (CSP), Resettlement policy basis issues-  in Sughd Province

Purpose:  To describe the objectives and activities for the proposed Project, including environmental and social management framework issues and solicit feedback

Sughd Province Public Consultations (December 2018)

Date: 7 December 2018 Location: Jabbor Rasulov district, conference-hall of Khukumat building Panel Members: - Faizullo Kosimi, First Deputy Chairman of Jabbor Rasulov district - Khisrav Sharipov, specialist of ESPMU, Barki Tojik; - Temur Bobohojaev, specialist of ESPMU, Barki Tojik - Abulkosim Kotibov, Manager of the Central office department, NSIFT List of participants (presented below): 16 participants

Comments, notes, conclusions At the meeting, presentations were made on the environmental and social management framework issues for the proposed CASA-1000 CSP project. Information was given on the requirements of WB safeguards policies, national environmental legislation, potential impacts of the sub-projects, safety ussues, proposed mitigation measures in EMP, aspects of monitoring (hard copy of the ESMF summary in Tajik and Russian, Power point presentations, in Tajik). The questions from participants were on route of the CASA-1000 TL in jamoat Hayouti Nav, potential environmental and social risks for the local people, date of the project commencement etc. Turaeva Z., specialist of department on women and family issies asked about the compensations to the 2-3 families of one household which can be potentially affected by land aquizition for TL. Participants noted that the components of the proposed project will help increase the benefits from the CASA-1000 project, improve livelihood levels in the district. . All participants concluded that the implementation of the ESMF provisions and appropriate mitigation measures for the consequences of the project activities will have a largely positive impact on their safety, livelihood and the business climate of the country. Public consultations participants and presentations of main aspects of ESMF– Jabbor Rasulov district, 7 December 2018

List of public consultations participants in Jabbor Rasulov district, 7 December 2018

| N | Name of participants | Profession |
| --- | --- | --- |
| 1 | H.Niyozov | Jamoat Gulyakandoz, chief engineer |
| 2 | B.Zoirov | Jamoat Gulyakandoz, chief accountant |
| 3 | M.Negmatova | Jamoat Gulyakandoz, senior specialist |
| 4 | N.Ishokova | Jamoat Gulyakandoz, leading specialist |
| 5 | I.Tohirov | Chairman of Hayoti Nav jamoat |
| 6 | V.Khudoiberdieva | Jamoat Gulyakandoz, specialist of epidemiological department |
| 7 | Z.Turaeva | Jamoat Dehmoi,specialist of Department for women and family issues |
| 8 | A.Aliev | Jamoat Gulhona, senior specialist of department for social protection |
| 9. | K.Karimova | Jamoat hayoti Nav, chaiman of mahalla, |
| 10 | F.Karimzoda | Mehrobod town, head of environment protection department |
| 11 | Z.Rahimov | Jamoat Gulhona, senior specialist of department for economy and trade |
| 12 | F.Kosimi | Chairman First Deputy of Jabbor Rasulov district |
| 13 | S.Mirsoliev | Jamoat Hayoti Nav, chairman of mahalla |
| 14 | B.Abdurahimov | Specialist of the Committee of environment protection |
| 15 | H.Sharipov | Specialist of ES PMU, Barki Tojik |
| 16 | A.Kotibov | Manager of department, NSIFT |

- Public Consultations on draft Environmental and Social impacts assessment framework document for CASA-1000 Community Support Project (CSP), Resettlement policy basis issues-  in Sughd Province

Purpose:  To describe the objectives and activities for the proposed Project, including environmental and social management framework issues and solicit feedback

Sughd Province Public Consultations (December 2018)

Date: 8 December 2018 Location: Isfara district, small conference-hall of Khukumat building Panel Members: - Jaffar Haidarzoda, Deputy Chairman of Isfara district - Khisrav Sharipov, specialist of ESPMU, Barki Tojik; - Temur Bobohojaev, specialist of ESPMU, Barki Tojik - Abulkosim Kotibov, Manager of the Central office department, NSIFT List of participants (presented below): 35 participants

Comments, notes, conclusions At the meeting, presentations were made on the environmental and social management framework issues for the proposed CASA-1000 CSP project. Information was given on the requirements of WB safeguards policies, national environmental legislation, potential impacts of the sub-projects, safety ussues, proposed mitigation measures in EMP, aspects of monitoring (hard copy of the ESMF summary in Tajik and Russian, Power point presentations, in Tajik). The questions from participants were on route of the CASA100 transmission line, potential environmental and social risks for the local people, date of the project commencement etc. Participants noted that the components of the proposed project will help increase the benefits from the CASA-1000 project, improve livelihood levels in the district. All participants concluded that the implementation of the ESMF provisions and appropriate mitigation measures for the consequences of the project activities will have a largely positive impact on their safety, livelihood and the business climate of the country. Consultations in Isfara district – 8 December 2018

List of public consultations participants in Isfara, 8 December 2018

| N | Name of participants | Profession, organization |
| --- | --- | --- |
| 1 | M.Pochoeva | Isfara city, medical doctor |
| 2 | Sh.Barieva | Isfara city, medical doctor |
| 3 | N.Ohonov. | Isfara city, Head of environment protection department |
| 4 | N.Rustamov | Chorkuh jamoat, head of water distribution department |
| 5 | S.Kosim | Isfara city, Director of school |
| 6 | R.Juraev | Kulnoma jamoat, head of land administration department |
| 7 | D.Aminova | Isfara city, deputy head of educational department |
| 8 | R.Vahobova | Isfara city, supervisor of KOK |
| 9 | U.Khalokov | Chorkuh jamoat, deputy chairman of jamoat |
| 10 | V.Semiglazova | Isfara city, head of municipal department of “Khojagii manziliyu communali” agency |
| 11 | M.Kalandarov | Isfara city, chairman of mahalla coincil |
| 12 | H.Nosirjonov | Isfara city, head of social protection department |
| 13 | M.Mamadova | Isfara city, senior specialist of social protection department |
| 14 | Kh.Ahmedov. | Isfara city, head of local energy department |
| 15 | M.Homidov | Surh jamoat, specialist of KATS |
| 16 | B.Ahmedov | Isfara city, head of energy department |
| 17 | A.Hasanov | Isfara city, head of construction department, KATS |
| 18 | M.Rizvonov | Surh jamoat, doctor |
| 19 | H.Yunusova | Isfara city, housewife |
| 20 | O.Shahobiddinov | Isfara city, pensioner |
| 21 | Sh.Karimova | Isfara city, pensioner |
| 22 | M.Pulatova | Isfara city, chairman of mahalla |
| 23 | A.Gafurova | Sanitary epidemiological service, doctor |
| 24 | A.Urunov | Kulkand jamoat, head of department of Barki Tojik |
| 25 | J.Saifiddinov | Navgilem jamoat, deputy chairman |
| 26 | I.Pulotova | Isfara city, head of HR department |
| 27 | S.Fozilbekova | Isfara city, specialist of technical department |
| 28 | M.Juraev | Isfara city, deputy director of school |
| 29 | B.Saidzoda | Isfara city, head of education department |
| 30 | I.Fattoev | Isfara city, economy department, specialist |
| 31 | J.Haidarzoda | Deputy Chairman of Isfara district |
| 32 | T.Bobohojaev | Specilaist of ES PMU, Barki Tojik |
| 33 | B.Abdurahimov | Specialist, Committee of environment protection |
| 34 | Kh.Sharipov | Specialist of ES PMU, Barki Tojik |
| 35 | A.Kotibov | Manager of department, NSIFT |

Used source for updating – Third Environmental Performance Review of Tajikistan, UNECE, 2017

Land Code (1992)

‘Public Participation Audit’. 2013. The Danish Institute for Human Rights. https://nhri.ohchr.org/EN/News/Lists/News/Attachments/136/Punlic%20Participation%20Audit.pdf

‘Commercial Laws of Tajikistan: An Assessment by the EBRD’. Office of the General Counsel. April 2012. European Bank for Reconstruction and Development.

Russian version of the law, available at: http://base.spinform.ru/show_doc.fwx?rgn=78602

These provisions concern the hampering of gatherings (Article 106); disorderly conduct (Article 460); disobedience to police (Article 479); and violation of rules of conducting gatherings (Article 480).

Category FI is applied to all proposed projects that involve investment of Bank funds through a participating financial intermediary (PFI) to be used for sub-projects of which the environmental impacts cannot be determined during appraisal of the World Bank project.

In addition to proposed mitigation activities, EMPs include a monitoring plan and reporting requirements, institutional arrangements for EMP implementation and take note of capacity building activities and

necessary expenses in this regard.

Communities may use approved village/Jamoat/district Development Plans/Programs, where they solve communities’ problems effectively and help to organize resources.

http://www.barqitojik.tj/upload/iblock/f34/RFP%20CASA%201000%20CSP%20Tajikistan%20RUS.pdf, http://www.barqitojik.tj/upload/iblock/794/Tajikistan%20%20CASA-1000%20CSP%20ESMF.pdf

CASA 1000 Resettlement Policy Framework. February 2014. Government of the Republic of Tajikistan

These figures were provided by focus group respondents and may not match to official data.

Regions of Republic of Tajikistan, Statistical Yearbook, State Statistics Agency under the Government of the Republic of Tajikistan

Water Sector Reform Program of the Republic of Tajikistan for 2016-2025

Glass Half Full: Drinking Water, Sanitation and Hygiene Conditions in Tajikistan, WB 2017

Glass Half Full: Drinking Water, Sanitation and Hygiene Conditions in Tajikistan, WB 2017

http://www.seas.columbia.edu/earth/wtert/sofos/Boboeva_thesis.pdf

Land acquisitions includes displacement of people, negative impact on livelihood, encroachment on private property, land that is purchased/transferred and affects people who are living and/or squatters and/or operate a business (kiosks) on land that is being acquired.

Toxic / hazardous material includes but is not limited to asbestos, toxic paints, noxious solvents, removal of lead paint, etc.