REPUBLIC OF AZERBAIJAN

MINISTRY OF JUSTICE

### JUDICIAL SERVICES AND SMART INFRASTRUCTURE PROJECT

ENVIRONMENTAL MANAGEMENT PLAN

September 12, 2013

ACRONYMS

| AF CIS | Additional Financing Commonwealth of Independent States |
| --- | --- |
| COE | Council of Europe |
| EA | Environmental Assessment |
| EMP | Environmental Management Plan |
| IBRD | International Bank for Reconstruction and Development |
| IDA | International Development Association |
| JSSIP JMT | Judicial Services and Smart Infrastructure Project Judicial Modernization Team |
| M&E | Monitoring and Evaluation |
| MENR | Ministry of Ecology and Natural Resources |
| MOJ | Ministry of Justice |
| NGO | Non-Governmental Organization |
| PIM | Project Implementation Manual |
| PIU-JMP | Project Implementation Unit of the Ministry of Justice |

TABLE OF CONTENT

JUDICIAL SERVICES AND SMART INFRASTRUCTURE PROJECT	1

INTRODUCTION AND SUMMARY	4

Environmental Assessment	6

A.	IBRD Safeguards Policy	6

B.	Azerbaijan Legislation	6

C.	Potential Environmental Impacts	7

D. Physical cultural resources safeguard	8

E.   Consultations	9

F.	Institutional Arrangements and Budget	9

ANNEX I: ENVIRONMENTAL MITIGATION PLAN	10

Sample EMP Checklist for Construction and Rehabilitation Activities	10

ANNEX I-a: EMP CHECKLIST FOR CONSTRUCTION OF NEW ADMINISTRATIVE BUILDING OF BAKU CITY NARIMANOV DISTRICT COURT	17

ANNEX I-B: EMP CHECKLIST FOR CONSTRUCTION OF SHIRVAN COURT COMPLEX	25

ANNEX II SAMPLE OF PERMITS REQUIRED	33

Annex II- PROJECT CONSULTATIONS………………………………………………..…. 338

# INTRODUCTION AND SUMMARY

- The World Bank requires environmental assessment (EA) of projects proposed for Bank financing to help ensure that they are environmentally sound and sustainable, and thus improve decision making (OP 4.01, January 1999).  The Bank favors preventive measures over mitigatory or compensatory measures, whenever feasible.

The Republic of Azerbaijan has requested a loan from the International Bank for Reconstruction and Development toward the cost of the proposed Judicial Services and Smart Infrastructure Project (JSSIP). The objective of the project is to scale up the delivery of key judicial services, modernize the associated infrastructure, and thereby improve citizen access to and satisfaction with the justice system. The Project will consist of three components:

Component A: Improved delivery of judicial services;

Component B: Expansion and Modernization of Justice Infrastructure;

Component C: Capacity Building and Sustainability.

The objective of Component A is to improve and scale up access to key judicial services for citizens, businesses and other users, and improve the justice system’s ability to deliver these services. Key judicial services will be modernized and scaled up across Azerbaijan. These include free legal aid for the poor and vulnerable; expanding e-services such as electronic case management, e-filing, e-notary system; and scaling up measures to improve efficiency and transparency, and reduce opportunities for corruption – e.g. through electronic document  management, audio-video recording of court proceedings, and video conferencing.

The objective of Component B is to expand and modernize the physical and ICT infrastructure so as to improve delivery of judicial services.  It will finance core justice sector physical infrastructure at [thirteen] separate locations across the country. These comprise (a) construction of five modern court complexes in each of Azerbaijan’s four largest urban centers (Baku, Gandja, Sumgait and Shirvan), each envisaged to house several courts; (b) three modern court houses to complete the physical justice infrastructure in the high-caseload capital urban area, such as Narimanov, Surakhani and Khatai districts of Baku city ; (c) three modern court houses in more distant locations serving a mix of rural, urban and remote areas and areas with significant minority populations (Absheron, Qusar and Masalli District Courts), (d) construction of the MOJ Data Center to house the envisaged core justice ICT infrastructure and IT Department and (e) providing basic sector disaster recovery capability by rehabilitating and upgrading the MOJ Backup Center. In addition to the above physical infrastructure, Component B will also finance furniture, fixtures and equipment (FF&E) for the physical facilities as well as the basic ICT infrastructure for the sector, such as a Wide Area Network (WAN), fiber-optic cabling, Data Centers, Disaster Recovery Center, and ICT management systems.

Component C will finance strengthening of MOJ and justice sector capacity and sustainability.  Activities include (a) strengthening the MOJ ICT, M&E and statistical capacity; (b) policy and strategy capacity; (c) strengthening the training capacity and quality of the Judicial Academy and improving the professionalism of judges, judicial staff and MOJ staff; and (d) project implementation, project M&E and results monitoring.

The activities proposed to be implemented under the Component B of the JSSIP are similar to those financed by the current Judicial Modernization Project (JMP) and the associated Additional Financing. They include construction courthouses, court complexes and rehabilitation of the other physical infrastructure. The implementation of Component B will be associated with minor environmental impacts which are expected to occur during construction activities. There are no environmental issues associated with Components A and C which provide technical assistance, training, public information services and office equipment. The project has been assigned World Bank environmental category B, since it involves only moderate environmental impacts that can be managed during implementation of the project.  This Environmental Management Plan (EMP) provides mitigation plans and monitoring plans to ensure appropriate attention to environmental and social safeguards issues, and tracking progress or problems in their management.

# Environmental Assessment

## A.	IBRD Safeguards Policy

The World Bank requires environmental assessment (EA) of projects proposed for Bank financing to help ensure that they are environmentally sound and sustainable, and thus improve decision making (OP 4.01, January 1999).

EA is a process whose breadth, depth, and type of analysis depend on the nature, scale, and potential environmental impact of the proposed project. EA evaluates a project's potential environmental risks and impacts in its area of influence; examines project alternatives; identifies ways of improving project selection, siting, planning, design, and implementation by preventing, minimizing, mitigating, or compensating for adverse environmental impacts and enhancing positive impacts; and includes the process of mitigating and managing adverse environmental impacts throughout project implementation. The Bank favors preventive measures over mitigatory or compensatory measures, whenever feasible.

EA takes into account the natural environment (air, water, and land); human health and safety; social aspects (involuntary resettlement, indigenous peoples, and cultural property); and trans-boundary and global environmental aspects. It also takes into account the variations in project and country conditions; the findings of country environmental studies; national environmental action plans; the country's overall policy framework, national legislation, and institutional capabilities related to the environment and social aspects; and obligations of the country, pertaining to project activities, under relevant international environmental treaties and agreements. The Bank does not finance project activities that would contravene such country obligations, as identified during the EA.

Key considerations to be taken into account during the EA process include:

Generic initial screening to determine appropriate environmental assessment;

Compliance with existing environmental regulations in Azerbaijan;

Linkages with social assessment;

Analysis of alternatives;

Public participation and consultation with affected people and organizations; and

Disclosure of information.

## B.	Azerbaijan Legislation

B.1 Environmental Legislation and Procedures

Activities carried out under the project will conform to current laws in Azerbaijan and sound environmental principles. In general construction and building renovation activities will not contribute to the permanent degradation of the physical and human environment.

Environmental protection in Azerbaijan is governed by the Law on Environment Protection (1999). The Law establishes the main environmental protection principles, and the rights and obligations of the State, public associations and citizens regarding environmental protection.  It establishes the requirements for the preparation of environmental impact assessments, environmental quality standards and requirements for permitting the activities that affect the environment, prevention and reduction of environmental pollution, environmental monitoring and control, the role of the public and sanctions imposed on law violators.  Other laws governing specific issues such as sanitary-epidemiological welfare, land reform, energy, health, water, forests, cadastre and land use, industrial and domestic wastes, ecological safety, water supply and wastewater, atmospheric protection and specially protected areas have been adopted since 1992.  In addition, a large number (some 75+) of Decisions of the Cabinet of Ministers have been issued to help interpret the body of environmental legislation and related Presidential Degrees and Orders.

According to Article 42 of the Law on Environmental protection, the Ministry of Ecology and Natural Resources of the Republic of Azerbaijan (MENR) is the competent authority for reviewing the EIA request and documentation prepared by independent experts hired by the project developer prior to initiation of a new investment project.  Other key laws forming the legal basis for EIA are the Law on Ecological Safety (1999) and the Provision on the Process of Environmental Impact Assessment in Azerbaijan (1996).  The EIA application may be submitted to the head office of the MOE or to a local branch office.  In the process of reviewing the EIA application the MOE evaluates the following criteria:

- Whether the proposed project envisions new technologies;

- The volumes and complexity of the proposed processes or technologies;

- The expected environmental consequences;

- Whether the proposed project would create significant changes for the local population;   and

- Public response to the proposal.

B.2 Construction standards and regulations

In Azerbaijan, engineering survey, design and construction standards and regulations are governed by the State Construction Committee. Rules of conducting supervision and control procedures by the State Construction Committee had been approved by the Cabinet of Ministers in 2003. Subject to the State Construction Committee regulations all construction operations are to be carried out with due regard to the environmental requirements. Following the existing construction rules, construction or renovation works are to be carried out on the basis of the approved project (design) documents only. The State Construction Committee issues special licenses to conduct engineering survey and design operations (no license is required for construction operations).

The project design documents include descriptions of proposed construction and related activities together with applications for permits from relevant authorities for geological studies of soil characteristics, fire safety, public health, utilities (gas, water, electricity, and telecommunications) and environmental assessment. The relevant authorities conduct inspections during construction to monitor compliance with the permits, and may issue significant fines if violations are found.

## C.	Potential Environmental Impacts

Component B under JSSIP Expansion and Modernization of Justice Infrastructure s includes construction of new courthouses on the sites of state-owned land in urban centers and in the districts of the country, namely Baku, Gandja, Sumgait and Shirvan cities. The selection of specific courthouses has been made in accordance with MOJ’s assessment of the needs for improved judicial services during the preparation of the project.  The other project components have no environmental impact, apart from the general very positive impact that modernization of the judicial system would contribute to a more efficient and transparent practice of rule of law, which is a necessary element for effective environmental regulatory compliance.

The short-term negative environmental impacts, which inevitably occur during construction works, will be minimized by proper planning and application of preventive measures, and will be mitigated by restorative actions after the civil works are completed.  Use of construction materials, which are hazardous to human health (e.g., asbestos), will not be permitted, consistent with Azeri regulations. The main environmental risks for the project are:

During renovation and construction of the facilities:

- Dust raised from the roads in the construction sites and from material carrying trucks

- Waste water from construction/renovation sites

- Disposal of solid wastes

- Use of materials that may damage health (i.e. heavy-metal (lead) containing paints, asbestos-cement tiles, pipes, copper pipes, inflammable and toxic materials etc.)

- Quarries

- Construction site protection activities

- Protection of habitats

- Restoration of lands damaged by excavation

- Noise generated by the construction machinery

- Traffic Disruption

During operation of the facilities:

- Air pollution due to heating

- Solid wastes disposal

- Waste water disposal

The environmental mitigation and monitoring plans can be prepared using  the EMP Checklist for Construction or Rehabilitation attached at Annex __ An example of a courthouse project design together with applications for permits is attached as Annex __.

## D. Physical cultural resources

The World Bank's Safeguard Policy 'Physical Cultural Resources' OP 4.11 is triggered to avoid any disturbance to the sites which may represent historical value, and to any historical monuments located on or in the vicinity of the Project construction areas. Initial assessment of the historical significance of a site proposed for court houses construction, is undertaken as part of the preparation of the site-specific EMP, and allows for a decision to be taken on the acceptability of the proposed site for the Project purposes. Archaeological findings at construction sites within the project framework are not anticipated, because historical monuments discovered to date are located away from the Project area. Under national law, the works require a clearance certificate from the Archaeological department, and this department will be kept informed of any potential findings from the construction site, for subsequent action.

The Contractor must immediately stop work and inform the local authorities and the Ministry of Justice PIU if any historical monument or archaeological findings are discovered. Local authorities and Ministry of Justice should, in their turn, report to the Ministry of Culture and Tourism and Institute of Archaeology and Ethnography. Construction works can only be resumed after the findings are properly treated and adequate official recommendation of the above bodies are issued. If necessary, the Project design can be revised accordingly or the construction site can be moved to another place.

## E.   Consultations

During preparation of the original project consultations were held with the relevant departments of MOJ, responsible for facilities management and construction, and with the Ministry of Environment Department of Environmental Expertise (MENR/DEE) to define and clarify the appropriate content of the Environmental Management Plan.  All site-specific EMPs will be duly disclosed and discussed with involved stakeholders, including executive authorities of the project areas and other relevant organizations/communities.

## F.	Institutional Arrangements and Budget

The implementing agency under the project is the Ministry of Justice (MOJ) through the Project Implementation Unit of the Judicial Modernization Project (established under Minister of Justice decree dated January 15, 2008).The multi-disciplinary PIU-JMP will be supported through the provision of experts, training and logistics in accordance with fully integrated good practice PIU model of Bank projects. The JMP-PIU is responsible for ensuring adequate budget and procurement of goods, works and services for implementation of the EMP mitigation and monitoring measures and for supervision. Specifically, the PIU-JMP civil engineers and technical supervisors will ensure that firms contracted to carry out works for all new construction and renovations of existing buildings obtain permits and clearances as required per Azerbaijan national regulations and will ensure that contractors properly implemented all mitigation measures envisaged in site specific EMPs for each construction site.

Budget for implementation and monitoring of the EMP is provided under component B of the Project. Implementation of specific mitigation measures at the works contract level will be funded as part of works contract and implemented by the firm selected to perform the works.

# ANNEX I: ENVIRONMENTAL MITIGATION PLAN

# Sample EMP Checklist for Construction and Rehabilitation Activities

PART A: General Project and Site Information

EMP CHECKLIST FOR CONSTRUCTION (name of the construction site)

PART A: General Project and Site Information

| INSTITUTIONAL & ADMINISTRATIVE |
| --- |
| Country | Azerbaijan |
| Project title | Judicial Services and Smart Infrastructure Project |
| Scope of project and activity | Component |
| Institutional arrangements (Name and contacts) | WB (Project Team Leader) | Project Management | Local Counterpart and/or Recipient |
| Implementation arrangements (Name and contacts) | Safeguard Supervision | Local Counterpart Supervision | Local Inspectorate Supervision | Contactor |
| SITE DESCRIPTION |
| Name of site |  |
| Describe site location |  | Attachement 1: |
| Who owns the land? |  |
| Description of geographic, physical, biological, geological, hydrographic and socio-economic context |  |
| Locations and distance for material sourcing, especially aggregates, water, stones? |  |
| LEGISLATION |
| Identify national & local legislation & permits that apply to project activity |  |
| PUBLIC CONSULTATION |
| Identify when / where the public consultation process took place |  |
| INSTITUTIONAL CAPACITY BUILDING |
| Will there be any capacity building? |  |

PART B: safeguards information

| ENVIRONMENTAL /SOCIAL SCREENING |
| --- |
| Will the site activity include/involve any of the following? | Activity | Status | Triggered Actions |
|  | Building rehabilitation | No | N/A |
|  | New construction | [] Yes [] No | See Section A below |
|  | Individual wastewater treatment system | [ ] Yes [] No | See Section B below |
|  | Historic building(s) and districts1 | [ ] Yes [] No | See Section C below |
|  | Acquisition of land | [ ] Yes [] No | See Section D below |
|  | Hazardous or toxic materials | [] Yes [ ] No | See Section E below |
|  | Impacts on forests and/or protected areas | [ ] Yes [] No | See Section F below |
|  | Traffic and Pedestrian Safety | [] Yes [ ] No | See Section H below |

PART C: Mitigation measures

| ACTIVITY | PARAMETER | MITIGATION MEASURES CHECKLIST |
| --- | --- | --- |
| 0. General Conditions | Notification and Worker Safety Response: Done, see. BD | The local construction and environment inspectorates and communities have been notified of upcoming activities The public has been notified of the works through appropriate notification in the media and/or at publicly accessible sites (including the site of the works) All legally required permits have been acquired for construction and/or rehabilitation The Contractor formally agrees that all work will be carried out in a safe and disciplined manner designed to minimize impacts on neighboring residents and environment. Workers’ PPE will comply with international good practice (always hardhats, as needed masks and safety glasses, harnesses and safety boots) Appropriate signposting of the sites will inform workers of key rules and regulations to follow. |
| A. General Rehabilitation and /or Construction Activities | Air Quality | During interior demolition debris-chutes shall be used above the first floor Demolition debris shall be kept in controlled area and sprayed with water mist to reduce debris dust During pneumatic drilling/wall destruction dust shall be suppressed by ongoing water spraying and/or installing dust screen enclosures at site The surrounding environment (side walks, roads) shall be kept free of debris to minimize dust There will be no open burning of construction / waste material at the site There will be no excessive idling of construction vehicles at sites |
|  | Noise | Construction noise will be limited to restricted times agreed to in the permit During operations the engine covers of generators, air compressors and other powered mechanical equipment shall be closed, and equipment placed as far away from residential areas as possible |
|  | Water Quality | The site will establish appropriate erosion and sediment control measures such as e.g. hay bales and / or silt fences to prevent sediment from moving off site and causing excessive turbidity in nearby streams and rivers. |
|  | Waste management | Waste collection and disposal pathways and sites will be identified for all major waste types expected from demolition and construction activities. Mineral construction and demolition wastes will be separated from general refuse, organic, liquid and chemical wastes by on-site sorting and stored in appropriate containers. Construction waste will be collected and disposed properly by licensed collectors The records of waste disposal will be maintained as proof for proper management as designed. Whenever feasible the contractor will reuse and recycle appropriate and viable materials (except asbestos) |
| B. Individual wastewater treatment system | Water Quality | The approach to handling sanitary wastes and wastewater from building sites (installation or reconstruction) must be approved by the local authorities Before being discharged into receiving waters, effluents from individual wastewater systems must be treated in order to meet the minimal quality criteria set out by national guidelines on effluent quality and wastewater treatment Monitoring of new wastewater systems (before/after) will be carried out Construction vehicles and machinery will be washed only in designated areas where runoff will not pollute natural surface water bodies. |
| C. Historic building(s) | Cultural Heritage | If the building is a designated historic structure, very close to such a structure, or located in a designated historic district, notification shall be made and approvals/permits be obtained from local authorities and all construction activities planned and carried out in line with local and national legislation. It shall be ensured that provisions are put in place so that artifacts or other possible “chance finds” encountered in excavation or construction are noted and registered, responsible officials contacted, and works activities delayed or modified to account for such finds. |

| ACTIVITY | PARAMETER | MITIGATION MEASURES CHECKLIST |
| --- | --- | --- |
| D. Acquisition of land | Land Acquisition Plan/Framework | If expropriation of land was not expected but is required, or if loss of access to income of legal or illegal users of land was not expected but may occur, that the Bank’s Task Team Leader shall be immediately consulted. The approved Land Acquisition Plan/Framework (if required by the project) will be implemented |
| E. Toxic Materials | Asbestos management | If asbestos is located on the project site, it shall be marked clearly as hazardous material When possible the asbestos will be appropriately contained and sealed to minimize exposure The asbestos prior to removal (if removal is necessary) will be treated with a wetting agent to minimize asbestos dust Asbestos will be handled and disposed by skilled & experienced professionals If asbestos material is be stored temporarily, the wastes should be securely enclosed inside closed containments and marked appropriately. Security measures will be taken against unauthorized removal from the site. The removed asbestos will not be reused |
|  | Toxic / hazardous waste management | Temporarily storage on site of all hazardous or toxic substances will be in safe containers labeled with details of composition, properties and handling information The containers of hazardous substances shall be placed in an leak-proof container to prevent spillage and leaching The wastes shall be transported by specially licensed carriers and disposed in a licensed facility. Paints with toxic ingredients or solvents or lead-based paints will not be used |
| F. Affected forests, wetlands and/or protected areas | Protection | All recognized natural habitats, wetlands and protected areas in the immediate vicinity of the activity will not be damaged or exploited, all staff will be strictly prohibited from hunting, foraging, logging or other damaging activities. A survey and an inventory shall be made of large trees in the vicinity of the construction activity, large trees shall be marked and cordoned off with fencing, their root system protected, and any damage to the trees avoided Adjacent wetlands and streams shall be protected from construction site run-off with appropriate erosion and sediment control feature to include by not limited to hay bales and silt fences There will be no unlicensed borrow pits, quarries or waste dumps in adjacent areas, especially not in protected areas. |
| G. Disposal of medical waste | Infrastructure for medical waste management | In compliance with national regulations the contractor will insure that newly constructed and/or rehabilitated health care facilities include sufficient infrastructure for medical waste handling and disposal; this includes and not limited to: Special facilities for segregated healthcare waste (including soiled instruments “sharps”, and human tissue or fluids) from other waste disposal; and Appropriate storage facilities for medical waste are in place; and If the activity includes facility-based treatment, appropriate disposal options are in place and operational |
| H Traffic and Pedestrian Safety | Direct or indirect hazards to public traffic and pedestrians by construction activities | In compliance with national regulations the contractor will insure that the construction site is properly secured and construction related traffic regulated. This includes but is not limited to Signposting, warning signs, barriers and traffic diversions: site will be clearly visible and the public warned of all potential hazards Traffic management system and staff training, especially for site access and near-site heavy traffic. Provision of safe passages and crossings for pedestrians where construction traffic interferes. Adjustment of working hours to local traffic patterns, e.g. avoiding major transport activities during rush hours or times of livestock movement Active traffic management by trained and visible staff at the site, if required for safe and convenient passage for the public. Ensuring safe and continuous access to office facilities, shops and residences during renovation activities, if the buildings stay open for the public. |

PART D: Monitoring Plan

| Phase | What (Is the parameter to be monitored?) | Where (Is the parameter to be monitored?) | How (Is the parameter to be monitored?) | When (Define the frequency / or continuous?) | Why (Is the parameter being monitored?) | Cost (if not included in project budget) | Who (Is responsible for monitoring?) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| During activity preparation | site access traffic management availability of waste disposal facilities | at the site at the site in site vicinity | check if design and project planning foresee diligent procedures | before launch of construction | safety of general public, timely detection of waste disposal bottlenecks | marginal, within budget | Contractor, Engineer |
| During activity implementation | hazardous waste inventory (asbestos) construction material quality control (eg. paints / solvents) | on site Contractor’s store / building yard | visual / analytical if in doubt visual / research in toxic materials databases | before start of rehabilitation works before approval to use materials | public and workplace health and safety | marginal, within budget; (prepare special account for analyses at PMU?) | Contractor, Engineer |
| During activity supervision | dust generation noise emissions wastewater volumes & quality waste types and volumes | on site and in immediate neighborhood, close to potential impacted residents | Visual consultation of locals visual, analytical if suspicious count of waste transports off site | daily daily daily / continuous every batch | avoidance of public nuisance avoidance of negative impacts on ground/ surface waters ensuring proper waste management and disposal | marginal, within budget | Contractor, Engineer |

# ANNEX I-a: EMP CHECKLIST FOR CONSTRUCTION OF NEW ADMINISTRATIVE BUILDING OF BAKU CITY NARIMANOV DISTRICT COURT

PART A: General Project and Site Information

| INSTITUTIONAL & ADMINISTRATIVE |
| --- |
| Country | Azerbaijan |
| Project title | Judicial Services and Smart Infrastructure Project |
| Scope of project and activity | Component B: Expansion and Modernization of Justice Infrastructure Construction of Baku City Narimanov District Court. |
| Institutional arrangements (Name and contacts) | WB (Project Team Leader) Amitabha Mukherjee | Project Management Ramin Qurbanov- project coordinator, Azer Jafarov- Project Director | Local Counterpart and/or Recipient The Ministry of Finance-project counterpart |
| Implementation arrangements (Name and contacts) | Safeguard Supervision PIU - JMP | Local Counterpart Supervision PIU - JMP civil engineer, technical supervisors | Local Inspectorate Supervision Ministry of Emergency Affairs / | Contactor |
| SITE DESCRIPTION |
| Name of site | Construction area for Narimanov District Court (Baku City Narimanov District Court). |
| Describe site location | Y. Bakuvi street, 809 quarter, Narimanov District, Baku City. | Attachement 1: Site Map-Yes |
| Who owns the land? | The Ministry of Justice of the Republic of Azerbaijan |
| Description of geographic, physical, biological, geological, hydrographic and socio-economic context | Construction site has been designed on the 0.14 hectare land allocated for Narimanov District Court at the Y. Bakuvi street, 809 quarter, Narimanov District; in compliance with the decision #481 of the Executive Power of Baku City dated 14 December 2011. The site is surrounded with the neighbor sites from the east and north, Y.Bakuvi street from the south and from the west with the site allocated for the building of Ministry of National Security. Site area is almost plain and slopes towards south. According to the site survey, geological and lithologic structures are made from sediments of the Middle Fourth Epoch (Qııhz). Caspian sediments are represented by clay and sand while Baku sediments consist of sand-stones. For Absheron peninsula and for the construction site ground standard is natural clay and sand. Underground water exists 3.50-5.80 m below the surface. On the west part of the site underground water exists 1,80-2,50 m. According to the chemical control the average sulfate and chloride are aggressive. According to the seismic investigations of the construction site area the most powerful earthquake vibration maximum is 7,6-8,5 points. Construction site is not considered as specific cultural heritage object, landscape protection or sanitary areas and no changes will occur to natural landscape during construction. |
| Locations and distance for material sourcing, especially aggregates, water, stones? | Distance to material sourcing- Absheron peninsula, distance 15 km. |
| LEGISLATION |
| Identify national & local legislation & permits that apply to project activity | These instruments include (i) Land Code (25 June 1999), (ii) Civil Code (1 December 1998), (iii) Cabinet of Ministers Resolution No.42 (15 March 2000), (iv) Cabinet of Ministers Resolution No110 (June 1999), (v) the Law of the Azerbaijan Republic on acquisition of lands for states needs (20 April 2010). Decision # 481 of the Executive Power of Baku City dated 14December 2013. Local regulations, rules and standards approved and issued by the State Committee on Urban Planning and Architecture of the Republic of Azerbaijan |
| PUBLIC CONSULTATION |
| Identify when / where the public consultation process took place | This site specific EMP will be discussed with relevant stakeholders later in 2013. |
| INSTITUTIONAL CAPACITY BUILDING |
| Will there be any capacity building? | Carrying out capacity building trainings is not required. After taking over the building it will be continue to take appropriate actions to preserve environmental rules with zero harm to environment. |

PART B: safeguards information

| ENVIRONMENTAL /SOCIAL SCREENING |
| --- |
| Will the site activity include/involve any of the following? | Activity | Status | Triggered Actions |
|  | Building rehabilitation | [X ] Yes [X] No | See Section A below |
|  | New construction | [X ] Yes [] No | See Section A below |
|  | Individual wastewater treatment system | [X ] Yes [X] No | See Section B below |
|  | Historic building(s) and districts | [ ] Yes [X] No | See Section C below |
|  | Acquisition of land | [ ] Yes [X] No | See Section D below |
|  | Hazardous or toxic materials | [X] Yes [X ] No | See Section E below |
|  | Impacts on forests and/or protected areas | [ ] Yes [X] No | See Section F below |
|  | Traffic and Pedestrian Safety | [X] Yes [ ] No | See Section H below |

PART C: Mitigation measures

| ACTIVITY | PARAMETER | MITIGATION MEASURES CHECKLIST |
| --- | --- | --- |
| 0. General Conditions | Notification and Worker Safety Response: Done, see. BD | The local construction and environment inspectorates and communities have been notified of upcoming activities The public has been notified of the works through appropriate notification in the media and/or at publicly accessible sites (including the site of the works) All legally required permits have been acquired for construction and/or rehabilitation The Contractor formally agrees that all work will be carried out in a safe and disciplined manner designed to minimize impacts on neighboring residents and environment. Workers’ PPE will comply with international good practice (always hardhats, as needed masks and safety glasses, harnesses and safety boots) Appropriate signposting of the sites will inform workers of key rules and regulations to follow. |
| A. General Rehabilitation and /or Construction Activities | Air Quality | During interior demolition debris-chutes shall be used above the first floor Demolition debris shall be kept in controlled area and sprayed with water mist to reduce debris dust During pneumatic drilling/wall destruction dust shall be suppressed by ongoing water spraying and/or installing dust screen enclosures at site The surrounding environment (side walks, roads) shall be kept free of debris to minimize dust There will be no open burning of construction / waste material at the site There will be no excessive idling of construction vehicles at sites |
|  | Noise | Construction noise will be limited to restricted times agreed to in the permit During operations the engine covers of generators, air compressors and other powered mechanical equipment shall be closed, and equipment placed as far away from residential areas as possible |
|  | Water Quality | The site will establish appropriate erosion and sediment control measures such as e.g. hay bales and / or silt fences to prevent sediment from moving off site and causing excessive turbidity in nearby streams and rivers. |
|  | Waste management | Waste collection and disposal pathways and sites will be identified for all major waste types expected from demolition and construction activities. Mineral construction and demolition wastes will be separated from general refuse, organic, liquid and chemical wastes by on-site sorting and stored in appropriate containers. Construction waste will be collected and disposed properly by licensed collectors The records of waste disposal will be maintained as proof for proper management as designed. Whenever feasible the contractor will reuse and recycle appropriate and viable materials (except asbestos) |
| B. Individual wastewater treatment system | Water Quality | The approach to handling sanitary wastes and wastewater from building sites (installation or reconstruction) must be approved by the local authorities Before being discharged into receiving waters, effluents from individual wastewater systems must be treated in order to meet the minimal quality criteria set out by national guidelines on effluent quality and wastewater treatment Monitoring of new wastewater systems (before/after) will be carried out Construction vehicles and machinery will be washed only in designated areas where runoff will not pollute natural surface water bodies. |
| C. Historic building(s) N/A | Cultural Heritage | If the building is a designated historic structure, very close to such a structure, or located in a designated historic district, notification shall be made and approvals/permits be obtained from local authorities and all construction activities planned and carried out in line with local and national legislation. It shall be ensured that provisions are put in place so that artifacts or other possible “chance finds” encountered in excavation or construction are noted and registered, responsible officials contacted, and works activities delayed or modified to account for such finds. |

| ACTIVITY | PARAMETER | MITIGATION MEASURES CHECKLIST |
| --- | --- | --- |
| D. Acquisition of land | Land Acquisition Plan/Framework | If expropriation of land was not expected but is required, or if loss of access to income of legal or illegal users of land was not expected but may occur, that the Bank’s Task Team Leader shall be immediately consulted. The approved Land Acquisition Plan/Framework (if required by the project) will be implemented |
| E. Toxic Materials | Asbestos management | If asbestos is located on the project site, it shall be marked clearly as hazardous material When possible the asbestos will be appropriately contained and sealed to minimize exposure The asbestos prior to removal (if removal is necessary) will be treated with a wetting agent to minimize asbestos dust Asbestos will be handled and disposed by skilled & experienced professionals If asbestos material is be stored temporarily, the wastes should be securely enclosed inside closed containments and marked appropriately. Security measures will be taken against unauthorized removal from the site. The removed asbestos will not be reused |
|  | Toxic / hazardous waste management | Temporarily storage on site of all hazardous or toxic substances will be in safe containers labeled with details of composition, properties and handling information The containers of hazardous substances shall be placed in an leak-proof container to prevent spillage and leaching The wastes shall be transported by specially licensed carriers and disposed in a licensed facility. Paints with toxic ingredients or solvents or lead-based paints will not be used |
| F. Affected forests, wetlands and/or protected areas N/A | Protection | All recognized natural habitats, wetlands and protected areas in the immediate vicinity of the activity will not be damaged or exploited, all staff will be strictly prohibited from hunting, foraging, logging or other damaging activities. A survey and an inventory shall be made of large trees in the vicinity of the construction activity, large trees shall be marked and cordoned off with fencing, their root system protected, and any damage to the trees avoided Adjacent wetlands and streams shall be protected from construction site run-off with appropriate erosion and sediment control feature to include by not limited to hay bales and silt fences There will be no unlicensed borrow pits, quarries or waste dumps in adjacent areas, especially not in protected areas. |
| G. Disposal of medical waste N/A | Infrastructure for medical waste management | In compliance with national regulations the contractor will insure that newly constructed and/or rehabilitated health care facilities include sufficient infrastructure for medical waste handling and disposal; this includes and not limited to: Special facilities for segregated healthcare waste (including soiled instruments “sharps”, and human tissue or fluids) from other waste disposal; and Appropriate storage facilities for medical waste are in place; and If the activity includes facility-based treatment, appropriate disposal options are in place and operational |
| H Traffic and Pedestrian Safety | Direct or indirect hazards to public traffic and pedestrians by construction activities | In compliance with national regulations the contractor will insure that the construction site is properly secured and construction related traffic regulated. This includes but is not limited to Signposting, warning signs, barriers and traffic diversions: site will be clearly visible and the public warned of all potential hazards Traffic management system and staff training, especially for site access and near-site heavy traffic. Provision of safe passages and crossings for pedestrians where construction traffic interferes. Adjustment of working hours to local traffic patterns, e.g. avoiding major transport activities during rush hours or times of livestock movement Active traffic management by trained and visible staff at the site, if required for safe and convenient passage for the public. Ensuring safe and continuous access to office facilities, shops and residences during renovation activities, if the buildings stay open for the public. |

PART D: Monitoring Plan

| Phase | What (Is the parameter to be monitored?) | Where (Is the parameter to be monitored?) | How (Is the parameter to be monitored?) | When (Define the frequency / or continuous?) | Why (Is the parameter being monitored?) | Cost (if not included in project budget) | Who (Is responsible for monitoring?) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| During activity preparation | site access traffic management availability of waste disposal facilities | at the site at the site in site vicinity | check if design and project planning foresee diligent procedures | before launch of construction | safety of general public, timely detection of waste disposal bottlenecks | marginal, within budget | Contractor, Engineer |
| During activity implementation | hazardous waste inventory (asbestos) construction material quality control (eg. paints / solvents) | on site Contractor’s store / building yard | visual / analytical if in doubt visual / research in toxic materials databases | before start of rehabilitation works before approval to use materials | public and workplace health and safety | marginal, within budget; (prepare special account for analyses at PMU?) | Contractor, Engineer |
| During activity supervision | dust generation noise emissions wastewater volumes & quality waste types and volumes | on site and in immediate neighborhood, close to potential impacted residents | Visual consultation of locals visual, analytical if suspicious count of waste transports off site | daily daily daily / continuous every batch | avoidance of public nuisance avoidance of negative impacts on ground/ surface waters ensuring proper waste management and disposal | marginal, within budget | Contractor, Engineer |

# ANNEX I-b: EMP Checklist for Construction of Shirvan Court Complex

PART A: General Project and Site Information

| INSTITUTIONAL & ADMINISTRATIVE |
| --- |
| Country | Azerbaijan |
| Project title | Judicial Services and Smart Infrastructure Project |
| Scope of project and activity | Component B: Expansion and Modernization of Justice Infrastructure Construction of Shirvan Court Complex |
| Institutional arrangements (Name and contacts) | WB (Project Team Leader) Amitabha Mukherjee | Project Management Ramin Qurbanov- project coordinator, Azer Jafarov- Project Director | Local Counterpart and/or Recipient The Ministry of Finance-project counterpart |
| Implementation arrangements (Name and contacts) | Safeguard Supervision PIU - JMP | Local Counterpart Supervision PIU - JMP civil engineer, technical supervisors | Local Inspectorate Supervision Ministry of Emergency Affairs | Contactor |
| SITE DESCRIPTION |
| Name of site | Construction works of Shirvan Court Complex. |
| Describe site location | Land for building of Shirvan City Court is situated in the F. Ismaylov street, Shirvan City. | Attachement 1: Site Map-Yes |
| Who owns the land? | The Ministry of Justice of the Republic of Azerbaijan |
| Description of geographic, physical, biological, geological, hydrographic and socio-economic context | The construction site been designed on the 1,0 hectare land allocated to the balance of Ministry of Justice, Republic of Azerbaijan and situated in the F.Ismaylov street, Shirvan City, following the decision of Shirvan City Executive Power number #36 dated August 17, 2010. Absolute altitude of ground surface is between 13-16 m, and slopes towards west, south-west. Investigated site is situated in the north-east part of Shirvan city. Geomorphologic specification of the site: from Kura intermountain lowlands to the south-east of Shirvan low land. The site for construction is almost empty and plain. According to the lithological composition the site is represented by clay sediments. For Shirvan city and for the construction site ground standard is natural moisture clay and gravel. This area has II cateqory of medium ground. Underground water exists 3.50-4.00 m below the surface. According to the chemical control are weak aggressive. According to the seismic investigations of the construction site area the most powerful earthquake vibration maximum is 7,6-8,5 points. Construction site is not considered as specific cultural heritage object, landscape protection or sanitary areas and no changes will occur to natural landscape during construction work. |
| Locations and distance for material sourcing, especially aggregates, water, stones? | For local materials distance is 15 km, Shirvan city and around districts; for other materials is 170-200 km from Absheron peninsula. |
| LEGISLATION |
| Identify national & local legislation & permits that apply to project activity | These instruments include (i) Land Code (25 June 1999), (ii) Civil Code (1 December 1998), (iii) Cabinet of Ministers Resolution No.42 (15 March 2000), (iv) Cabinet of Ministers Resolution No110 (June 1999), (v) the Law of the Azerbaijan Republic on acquisition of lands for states needs (20 April 2010). Decision of Shirvan City Executive Power number #36 dated August 17, 2010. Local regulations, rules and standards approved and issued by the State Committee on Urban Planning and Architecture of the Republic of Azerbaijan. |
| PUBLIC CONSULTATION |
| Identify when / where the public consultation process took place | This site specific EMP will be discussed later in 2013. |
| INSTITUTIONAL CAPACITY BUILDING |
| Will there be any capacity building? | Carrying out capacity building trainings not required. After taking over the building it will be continue to take appropriate actions to preserve environmental rules with zero harm to environment. |

PART B: safeguards information

| ENVIRONMENTAL /SOCIAL SCREENING |
| --- |
| Will the site activity include/involve any of the following? | Activity | Status | Triggered Actions |
|  | Building rehabilitation | [ ] Yes [X] No | See Section A below |
|  | New construction | [ X] Yes [] No | See Section A below |
|  | Individual wastewater treatment system | [ ] Yes [X] No | See Section B below |
|  | Historic building(s) and districts1 | [ ] Yes [X] No | See Section C below |
|  | Acquisition of land | [ ] Yes [X] No | See Section D below |
|  | Hazardous or toxic materials | [X] Yes [ ] No | See Section E below |
|  | Impacts on forests and/or protected areas | [] Yes [X] No | See Section F below |
|  | Traffic and Pedestrian Safety | [X] Yes [ ] No | See Section H below |

PART C: Mitigation measures

| ACTIVITY | PARAMETER | MITIGATION MEASURES CHECKLIST |
| --- | --- | --- |
| 0. General Conditions | Notification and Worker Safety Response: Done, see. BD | The local construction and environment inspectorates and communities have been notified of upcoming activities The public has been notified of the works through appropriate notification in the media and/or at publicly accessible sites (including the site of the works) All legally required permits have been acquired for construction and/or rehabilitation The Contractor formally agrees that all work will be carried out in a safe and disciplined manner designed to minimize impacts on neighboring residents and environment. Workers’ PPE will comply with international good practice (always hardhats, as needed masks and safety glasses, harnesses and safety boots) Appropriate signposting of the sites will inform workers of key rules and regulations to follow. |
| A. General Rehabilitation and /or Construction Activities | Air Quality | During interior demolition debris-chutes shall be used above the first floor Demolition debris shall be kept in controlled area and sprayed with water mist to reduce debris dust During pneumatic drilling/wall destruction dust shall be suppressed by ongoing water spraying and/or installing dust screen enclosures at site The surrounding environment (side walks, roads) shall be kept free of debris to minimize dust There will be no open burning of construction / waste material at the site There will be no excessive idling of construction vehicles at sites |
|  | Noise | Construction noise will be limited to restricted times agreed to in the permit During operations the engine covers of generators, air compressors and other powered mechanical equipment shall be closed, and equipment placed as far away from residential areas as possible |
|  | Water Quality | The site will establish appropriate erosion and sediment control measures such as e.g. hay bales and / or silt fences to prevent sediment from moving off site and causing excessive turbidity in nearby streams and rivers. |
|  | Waste management | Waste collection and disposal pathways and sites will be identified for all major waste types expected from demolition and construction activities. Mineral construction and demolition wastes will be separated from general refuse, organic, liquid and chemical wastes by on-site sorting and stored in appropriate containers. Construction waste will be collected and disposed properly by licensed collectors The records of waste disposal will be maintained as proof for proper management as designed. Whenever feasible the contractor will reuse and recycle appropriate and viable materials (except asbestos) |
| B. Individual wastewater treatment system | Water Quality | The approach to handling sanitary wastes and wastewater from building sites (installation or reconstruction) must be approved by the local authorities Before being discharged into receiving waters, effluents from individual wastewater systems must be treated in order to meet the minimal quality criteria set out by national guidelines on effluent quality and wastewater treatment Monitoring of new wastewater systems (before/after) will be carried out Construction vehicles and machinery will be washed only in designated areas where runoff will not pollute natural surface water bodies. |
| C. Historic building(s) N/A | Cultural Heritage | If the building is a designated historic structure, very close to such a structure, or located in a designated historic district, notification shall be made and approvals/permits be obtained from local authorities and all construction activities planned and carried out in line with local and national legislation. It shall be ensured that provisions are put in place so that artifacts or other possible “chance finds” encountered in excavation or construction are noted and registered, responsible officials contacted, and works activities delayed or modified to account for such finds. |

| ACTIVITY | PARAMETER | MITIGATION MEASURES CHECKLIST |
| --- | --- | --- |
| D. Acquisition of land | Land Acquisition Plan/Framework | If expropriation of land was not expected but is required, or if loss of access to income of legal or illegal users of land was not expected but may occur, that the Bank’s Task Team Leader shall be immediately consulted. The approved Land Acquisition Plan/Framework (if required by the project) will be implemented |
| E. Toxic Materials | Asbestos management | If asbestos is located on the project site, it shall be marked clearly as hazardous material When possible the asbestos will be appropriately contained and sealed to minimize exposure The asbestos prior to removal (if removal is necessary) will be treated with a wetting agent to minimize asbestos dust Asbestos will be handled and disposed by skilled & experienced professionals If asbestos material is be stored temporarily, the wastes should be securely enclosed inside closed containments and marked appropriately. Security measures will be taken against unauthorized removal from the site. The removed asbestos will not be reused |
|  | Toxic / hazardous waste management | Temporarily storage on site of all hazardous or toxic substances will be in safe containers labeled with details of composition, properties and handling information The containers of hazardous substances shall be placed in an leak-proof container to prevent spillage and leaching The wastes shall be transported by specially licensed carriers and disposed in a licensed facility. Paints with toxic ingredients or solvents or lead-based paints will not be used |
| F. Affected forests, wetlands and/or protected areas N/A | Protection | All recognized natural habitats, wetlands and protected areas in the immediate vicinity of the activity will not be damaged or exploited, all staff will be strictly prohibited from hunting, foraging, logging or other damaging activities. A survey and an inventory shall be made of large trees in the vicinity of the construction activity, large trees shall be marked and cordoned off with fencing, their root system protected, and any damage to the trees avoided Adjacent wetlands and streams shall be protected from construction site run-off with appropriate erosion and sediment control feature to include by not limited to hay bales and silt fences There will be no unlicensed borrow pits, quarries or waste dumps in adjacent areas, especially not in protected areas. |
| G. Disposal of medical waste N/A | Infrastructure for medical waste management | In compliance with national regulations the contractor will insure that newly constructed and/or rehabilitated health care facilities include sufficient infrastructure for medical waste handling and disposal; this includes and not limited to: Special facilities for segregated healthcare waste (including soiled instruments “sharps”, and human tissue or fluids) from other waste disposal; and Appropriate storage facilities for medical waste are in place; and If the activity includes facility-based treatment, appropriate disposal options are in place and operational |
| H Traffic and Pedestrian Safety | Direct or indirect hazards to public traffic and pedestrians by construction activities | In compliance with national regulations the contractor will insure that the construction site is properly secured and construction related traffic regulated. This includes but is not limited to Signposting, warning signs, barriers and traffic diversions: site will be clearly visible and the public warned of all potential hazards Traffic management system and staff training, especially for site access and near-site heavy traffic. Provision of safe passages and crossings for pedestrians where construction traffic interferes. Adjustment of working hours to local traffic patterns, e.g. avoiding major transport activities during rush hours or times of livestock movement Active traffic management by trained and visible staff at the site, if required for safe and convenient passage for the public. Ensuring safe and continuous access to office facilities, shops and residences during renovation activities, if the buildings stay open for the public. |

PART D: Monitoring Plan

| Phase | What (Is the parameter to be monitored?) | Where (Is the parameter to be monitored?) | How (Is the parameter to be monitored?) | When (Define the frequency / or continuous?) | Why (Is the parameter being monitored?) | Cost (if not included in project budget) | Who (Is responsible for monitoring?) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| During activity preparation | site access traffic management availability of waste disposal facilities | at the site at the site in site vicinity | check if design and project planning foresee diligent procedures | before launch of construction | safety of general public, timely detection of waste disposal bottlenecks | marginal, within budget | Contractor, Engineer |
| During activity implementation | hazardous waste inventory (asbestos) construction material quality control (eg. paints / solvents) | on site Contractor’s store / building yard | visual / analytical if in doubt visual / research in toxic materials databases | before start of rehabilitation works before approval to use materials | public and workplace health and safety | marginal, within budget; (prepare special account for analyses at PMU?) | Contractor, Engineer |
| During activity supervision | dust generation noise emissions wastewater volumes & quality waste types and volumes | on site and in immediate neighborhood, close to potential impacted residents | Visual consultation of locals visual, analytical if suspicious count of waste transports off site | daily daily daily / continuous every batch | avoidance of public nuisance avoidance of negative impacts on ground/ surface waters ensuring proper waste management and disposal | marginal, within budget | Contractor, Engineer |

# ANNEX II

# SAMPLE OF PERMITS REQUIRED

MIA of the Azerbaijan Republic

Chief State Fire Safety Department

State Fire Control Division

OPINION

Regarding allocation of land plot ----to the Ministry of Justice

NTNS-112								21.08.2003

1)	 On the basis of the examination and measurements conducted on the area, intended for construction with participation of representative of the establishment, the land plot of 0,051 ha  allocated for designing of the administrative building for Nizami District Court at the address:  crossing of  Nizami and Sh. Mirzayev streets, Nizami district, Baku city, Quarter  2543-44 is

FIT

on condition that:

it must be used in accordance with the requirements of Legislative and Normative Acts that are valid at the territory of the Azerbaijan Republic, including the Land Code of the Azerbaijan Republic, Technical Norms and Rules  on 2.07.01.89 “Town planning, planning and construction of urban and rural settlements”;  Technical Norms and Rules 2.08.02-89 on “Public building and installations; Technical Norms and Rules on 2.01.02-85 “Norms against fire”, “Fire Safety Rules (FSR 05-86) of EQQQ  during implementation of Construction-Assembly works” and etc, that is:

- No  area exceeding the allocated land plot will be seized and the land plot will be used for the intended purpose;

- A space for firefighting purposes between the buildings/installations will be ensured, access way for firefighting vehicles along perimeters of the designed administrative building and reserve water  for extinguishing fire will be taken into account.

2)	According to the clauses 24 and 25 of the Law “About Fire Safety”, clauses 5, 7, 15 of the Law “About Entrepreneurial Activity”, clauses 7,1, 11.3, 20.2 of the Law “About Investment Activity”, as well as the Decree dated 06.07.98,  # 151 of the Cabinet of Ministers of the Azerbaijan Republic

IT IS STRONGLY FORBIDDEN

to carry out construction works without a written consent of fire protection  authorities regarding compliance of Investment Projects with  requirements of Technical Norms and Rules  against fire.

- The Implementing  Agency to be instructed  that  based on “Fire Safety Rules” FSR 05-86 of the Technical Norms and Rules on “Organization of Construction Activities”,  when construction-assembly works are carried out,  the Chief State Fire Safety Department shall be reported in writing one month prior to the commencement of construction-assembly works.

- The opinion is valid for 2 (two) years).

Deputy Chief of the Department                                          Y.A. Mahsimov

Azerbaijan Republic

The Ministry of Environment and Natural Resources

Absheron-Baku Regional Department for Environment and Natural Resources

November 13, 2003

To:  Mr. A.Abdullayev

Acting Chief Architect

Chief Architecture and Town Planning Department

Baku city Executive Authority

In response to your letter, dated 08.07.2003, 18/03-8/2027 the documents regarding the construction of an administrative building for Nizami District Court at the address: Nizami District, crossing of Nizami and  Sh. Mirzayev streets, quarter 2543-44  have been considered at our department and in this connection we would like to note the  following: The territory in the north is surrounded by Nasimi street, in the south by an  individual house, in the west by Sh. Mirzayev street and in the east by green plantations.

The Absheron-Baku Regional Environment and Natural Resources Department coordinates the submitted documents on the following conditions:

- to ensure protection of the green plantations in the area;

- to strictly observe the provisions of the Law of the Azerbaijan Republic “About Environmental Protection” while construction works are carried out;

- after the construction works are finished to implement improvement works in the surrounding area, lay out a greenery and take care of it in accordance with land treatment rules.

- to submit the design documents to the Ecological Expertise Department of the Ministry of Environment and Natural Resources of the Azerbaijan Republic for obtaining ecological opinion.

Head of the Department:    M.I. Aliyev

Ministry of Health of the Azerbaijan Republic

Baku City Hygiene and Epidemiology Center

03.09.2003

To:  Baku City Chief Architecture and Town Planning Department

For information to: 	Mr. Ismaylov, Director, Nizami District Hygiene and Epidemiology Center

In response to your inquiry, dated 08.07.2003, #18/03-8/2027 Baku City Hygiene and Epidemiology Center submits the opinion, dated 29.08.2003, 13-30/118-25 regarding allocation of a land plot to the Ministry of Justice for construction of administrative building for Nizami district Court at the quarter 2543-44, at the territory of intersection of Nasimi and Sh. Mirzayev streets,  Nizami district, Baku city.

Attachment: opinion dated 29.08.2003, #13-30/118-25- 1 copy

Chief State Sanitary Physician of Baku City    F. Z. Huseynov.

Responsible person: E. Mammadov

Tel. 21 17-41

Registration form #151

OPINION

issued for selection and allocation of land plot for construction of industrial enterprises, utility, hydro-technical and other facilities

# 13-30/118-25						August 29, 2003

- Name of the establishment for which land plot is allocated and its superior body

to the Ministry of Justice of the Azerbaijan Republic

Administrative building of Nizami District Court

2.Address of the land plotNizami District, quarter 2543-44, crossing of Nasimiand Sh. Mirzayev streets

3. Sanitary classification and protection zone of the production (in conformity with the SN 245-71)  _____________________________________________________

4. Possible impact of the establishment to be constructed on the environment and the living conditions of the population __________________________________

5.  Name of the design organization conducting investigationOn contract basis

6. Data of the conducted investigation ___________________________________

7. Examination of the area was conducted (yes, no)yes_____________________

at the spotyesby a commission ___________________________

in the person  of representatives  officer of Nizami District Court

sanitary control bodiesBaku city Hygiene and Epidemiology Center________

what documents were presented during the examination of the area

1. Main parameters of the area: 2. Extract from 1:2000 scale map

To mention the documents on the basis of which the opinion was issued, if no on-    sight examination  was conducted________________________________________

____________________________________________________________________

8. Sanitary characteristics of the land plot (territory)

a) area0,051 hareliefcalm

b) Previous use of the land plotwas not used

c) location of the territory in relation to the surrounding territory and the buildings at the territory:   In the north the land plot issurrounded by Nasimi  street, in the east by green plantations, in the south by private house, in the west by Sh. Mirzayev street.

d) Possibility of creation of a protection zone between  industrial enterprises and residential areas

e) Industrial enterprises located at the territory where construction works will be carried out and their sanitary classification in accordance with SN # 245-71

f) prevailingwindsnorth-west, south-east

c) structure of the soil strata, level of underground waters, existence of  swamps, green plantationsRadiological background of the area is normal and constitutes 8-9 mkR/hour.

h) Possibility of creation of water supply sources, sanitary protection zone

to the city network, possible

i) Possibility of connecting the establishment to sewage system

possible

j) The place where the sewage waters will be flown to  (correspondence to the SN # 245-71 and possibility of negative impact on  water supply)_______________________

k)  Availability of extra land plot for future expansion of the establishment

l) Existence of motor-road (local, state roads) Sh. Mirzayev and Nasimi streets

OPINION

Baku city, Nizami district, quarter 2543-44, crossing of Nasimi and Sh. Mirzayev streets

Address

From sanitary-hygienic point of view the land plot:

- is fit for construction of the administrative building of Nizami District Court of the Ministry of Justice of the Azerbaijan Republic

name of the establishment

- Conditionally fit (to note necessary measures to render the area healthy)

1). To conduct the design work in conformity with the Technical Norms and Rules of AzDTN  # 2.6-1 and 2.08.02-89

2. During the design works to observe the necessary sanitary-protection zone of the neighboring private buildings and measures for protection of the environment.

3.  To ensure that the design documents are coordinated with  Baku City Hygiene and Epidemiology Center.

4. One month prior to commencement of construction works the State Sanitary Service authorities shall be informed.

- not fit (to substantiate)

Period of validity of the opinion:_____________________________________________

Till August 29, 2005.

F.Z. Huseynov

Director,

Baku City Hygiene and Epidemiology Center

Note: The opinion is submitted:

- to Baku city EA MSBI

- Hygiene and Epidemiology Center of Nizami district

Responsible person: E.Mammadov

Tel.21-17-41

Annex III. Project consultations

Judicial Services and Smart Infrastructure Project

Minutes of the project consultations relating to the discussion of the Environmental Management Plan for   the proposed project)

City:   								Date:

List of participants:

Proceedings:

Resolved:

(End of the Project Environment Management Plan)

# Footnotes

1 Site investigations have not indicated any historical monuments on the site however the project EMP describe procedure to be followed in case of any chance fined.

2Land acquisitions includes displacement of people, change of livelihood encroachment on private property this is to  land that is purchased/transferred and affects people who are living and/or squatters and/or operate a business (kiosks) on land that is being acquired.

3  Toxic / hazardous material includes but is not limited to asbestos, toxic paints, noxious solvents, removal of lead paint, etc.

Site investigations have not indicated any historical monuments on the site however the project EMP describe procedure to be followed in case of any chance fined.

Land acquisitions includes displacement of people, change of livelihood encroachment on private property this is to  land that is purchased/transferred and affects people who are living and/or squatters and/or operate a business (kiosks) on land that is being acquired.

Toxic / hazardous material includes but is not limited to asbestos, toxic paints, noxious solvents, removal of lead paint, etc.

1 Site investigations have not indicated any historical monuments on the site however the project EMP describe procedure to be followed in case of any chance fined.

2Land acquisitions includes displacement of people, change of livelihood encroachment on private property this is to  land that is purchased/transferred and affects people who are living and/or squatters and/or operate a business (kiosks) on land that is being acquired.

3  Toxic / hazardous material includes but is not limited to asbestos, toxic paints, noxious solvents, removal of lead paint, etc.

# Text boxes

E4360