SFG3430 V2

February 2014

West Bengal Pollution Board (WBPCB)

in association with KADAM,		Witteveen+Bosand Tauw

Dhapa Dumpsite

Environmental and

Social Assessment

Report

APPENDIx

FINAL REPORT

Appendix 1: Climatological Tables

ANNEXURE-II

ANNEXURE-III

ANNEXURE-IV

| COMPARISON OF TEST RESULTS OF GROUND WATER (LEACHATE) SAMPLES - THREE CAMPAIGNS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sr No | Parameter | Unit | GROUND WATER SAMPLES (LEACHATE) TEST RESULTS (1ST CAMPAIGN) |  |  |  | GROUND WATER (LEACHATE) SAMPLES TEST RESULTS (2ND CAMPAIGN) |  |  |  | GROUND WATER (LEACHATE) SAMPLES TEST RESULTS (3RD CAMPAIGN) |  |  |  | Minimum Value | Average Value | Maximum Value | STANDARDS FOR LEACHATES DISPOSAL AS PER MSW RULES (Inland Surface Waters) | STANDARDS FOR DRINKING WATER - IS 10500 - 2004** |  |
|  |  |  | BH - 5 (GW-5) | BH - 6 (GW-6) | BH - 7 (GW-7) | BH - 8 (GW-8) | BH - 5 (GW-5) | BH - 6 (GW-6) | BH - 7 (GW-7) | BH - 8 (GW-8) | BH - 5 (GW-5) | BH - 6 (GW-6) | BH - 7 (GW-7) | BH - 8 (GW-8) |  |  |  |  | Desirable Limit | Permissible Limit |
|  | Date of Sampling |  | 09-06-2012 | 11-06-2012 | 11-06-2012 | 15-06-2012 | 23-07-2012 | 24-07-2012 | 23-07-2012 | 25-07-2012 | 11-09-2012 | 12-09-2012 | 11-09-2012 | 12-09-2012 |  |  |  |  |  |  |
|  | SGS Certificate |  | CA: GL: 312008456 | CA: GL: 312008579 | CA: GL: 312008578 | CA: GL: 312008951 | CA: GL: 3120012556 | CA: GL: 3120012558 | CA: GL: 3120012555 | CA: GL: 3120012496 | CA: GL: 3120013712 | CA: GL: 3120013769 | CA: GL: 3120013711 | CA: GL: 3120013767 |  |  |  |  |  |  |
| A | GENERAL PARAMETERS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Ammonia as NH3 | mg/l | 47.98 | 17.59 | 37.32 | 53.31 | 0.77 | 13.95 | <0.10 | 115.57 | 28.46 | 24.23 | 25.7 | 16.89 | 0.77 | 34.7 | 115.57 | - | _ | _ |
| 2 | BOD @ 27°C for 3 days | mg/l | 1535 | 800 | 1225 | 1270 | 42 | 170 | 29 | 233 | 383 | 383 | 238 | 125 | 29 | 536.1 | 1535 | 30 | _ | _ |
| 3 | COD | mg/l | 2941 | 2157 | 2941 | 3762 | 233 | 1408 | 155 | 1893 | 2486 | 1847 | 1441 | 968 | 155 | 1852.7 | 3762 | 250 | _ | _ |
| 4 | Chlorides | mg/l | 3930.7 | 2680.02 | 3216.02 | 2590.69 | 803.3 | 2300.35 | 766.78 | 1752.65 | 3468.78 | 2647.23 | 2008.24 | 1460.54 | 766.78 | 2302.1 | 3930.7 | 1000 | 250 | 1000 |
| 5 | Colour | Hazen Units | Yellowish Brown | Dark Yellowish Brown | Dark Yellowish Brown | Dark Yellowish Brown | YELLOWISH | GREYISH BROWN | LIGHT GREEN | YELLOWISH BROWN | BROWNISH YELLOW | BROWNISH | BROWNISH YELLOW | BROWNISH YELLOW | - | - | - | - | 5 | 25 |
| 6 | Conductivity at 25°C | microsiemen/ cm | 22500 | 19650 | 23800 | 28000 | 5850 | 18250 | 4900 | 19860 | 23100 | 19700 | 16800 | 12600 | 4900 | 17917.5 | 28000 | - | _ | _ |
| 7 | Cyanide (as CN) | mg/l | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | 0 | 0.0 | 0 | 0.2 | 0.05 | No Relaxation |
| 8 | Dissolved Oxygen | mg/l | 0.5 | 3.9 | 4.2 | 0.4 | 0.5 | 0.02 | 0.5 | 0.5 | 0.3 | 0.4 | 0.7 | 0.2 | 0.02 | 1.0 | 4.2 | - | _ | _ |
| 9 | Iron (Fe) | mg/l | 8.32 | 8.62 | 5.38 | 41.6 | 2.59 | 14.59 | 22.66 | 4.88 | 12.28 | 69.2 | 11.46 | 2.21 | 2.21 | 17.0 | 69.2 | - | 0.3 | 1 |
| 10 | Fluoride as F | mg/l | 4.52 | 0.6 | 1.08 | 1.84 | 0.51 | 0.51 | 0.64 | 1.07 | 4.52 | 0.86 | 0.75 | 1.67 | 0.51 | 1.5 | 4.52 | 2 | 1 | 1.5 |
| 11 | Manganese (Mn) | mg/l | 0.32 | 0.34 | 0.27 | 1.18 | 0.8 | 0.52 | 0.97 | 0.13 | 0.15 | 2.21 | 0.33 | 0.19 | 0.13 | 0.6 | 2.21 | - | 0.1 | 0.3 |
| 12 | Mineral Oil * *Mineral Oil is analysed as Oil and Grease by Gravimetric method | mg/l | 6.2 | 5 | 7.2 | <2.0 | 3 | 4 | 2.6 | 5.6 | 6.4 | 4.8 | 4.2 | 3.4 | 2.6 | 4.8 | 7.2 | - | 0.01 | 0.02 |
| 13 | Nitrite (NO2) | mg/l | 0.47 | 0.45 | 0.65 | 0.73 | 0.77 | 0.23 | 0.5 | 0.32 | 0.04 | 0.03 | 0.03 | 0.02 | 0.02 | 0.4 | 0.77 | - | 45 | No Relaxation |
| 14 | Nitrate (NO3) | mg/l | 172.79 | 108.97 | 140.73 | 182.16 | 56.58 | 126.15 | 34.6 | 192.66 | 244.95 | 102.94 | 167.76 | 110.12 | 34.6 | 136.7 | 244.95 | - | _ | _ |
| 15 | pH @ 25°C | - | 7.7 | 7.47 | 7.9 | 7.3 | 7.06 | 6.95 | 7.16 | 7.41 | 7.16 | 6.98 | 7.2 | 6.97 | 6.95 | 7.3 | 7.9 | 5.5 - 9 | 6.5 - 8.5 | No Relaxation |
| 16 | Phenolic compounds (as (C6H5OH) | mg/l | 0.08 | <0.05 | 0.18 | <0.05 | 0.24 | 0.07 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | 0.07 | 0.1 | 0.24 | 1 | 0.001 | 0.002 |
| 17 | Phoshorous as P | mg/l | 0.19 | 2.78 | 2.1 | 0.66 | 0.13 | <0.10 | <0.10 | 1.61 | 1.79 | 5.01 | 5.65 | 3.73 | 0.13 | 2.4 | 5.65 | - | _ | _ |
| 18 | Odour (Smell) | - | Pungent | Pungent | Pungent | Pungent | ODOUR LESS | PUNGENT | ODOUR LESS | PUNGENT | PUNGENT | PUNGENT | PUNGENT | PUNGENT | - | 0.0 | - | - | Agreeable | Agreeable |
| 19 | Temperature | °C | 22.1 | 32.7 | 37.1 | 34.4 | 34.1 | 36.4 | 40.4 | 40.5 | 33.8 | 31.2 | 38.9 | 40.1 | 22.1 | 35.1 | 40.5 | - | _ | _ |
| 20 | Turbidity | NTU | 82 | 235 | 57.2 | 165 | 37.6 | 540 | 680 | 82.4 | 20.2 | 540 | 196 | 22.2 | 20.2 | 221.5 | 680 | - | 5 | 10 |
| 21 | Total Organic Carbon (TOC) | mg/l | 946 | 547 | 946 | 532 | 91 | 493 | 52 | 800 | 1047 | 553 | 581 | 407 | 52 | 582.9 | 1047 | - | _ | _ |
| 22 | Total Dissolved Solids (TDS) | mg/l | 14120 | 15970 | 14960 | 21520 | 3894 | 12464 | 3420 | 13782 | 15214 | 12994 | 11106 | 8360 | 3420 | 12317.0 | 21520 | 2100 | 500 | 2000 |
| 23 | Total Suspended Solids (TSS) | mg/l | 67.6 | 60 | 36.8 | 110 | 78 | 1700 | 876 | 85 | 40 | 2375 | 249 | 24 | 24 | 475.1 | 2375 | 100 | _ | _ |
| 24 | Total Nitrogen as N | mg/l | 1158.71 | 799.65 | 578.57 | 3012.19 | 118.85 | 2462.87 | 9.83 | 5393.6 | 2308.19 | 3032.13 | 2033.72 | 2156.8 | 9.83 | 1922.1 | 5393.6 | 100 | _ | _ |
| B | MICROBIAL GROWTH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | E-coli | MPN/100 ml | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | 0 | 0.0 | 0 | - | Absent/100 ml | _ |
| 2 | Total Coliforms | MPN/100 ml | <2MPN | <1.8 MPN | <1.8 MPN | <1.8 MPN | <1.8MPN | <1.8MPN | <1.8MPN | <1.8 | <1.8 | <1.8 | <1.8 | <1.8 | 0 | 0.0 | 0 | - | Absent/100 ml | Absent/100 ml |
| C | HEAVY METALS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Lead (Pb) | mg/l | 0.06 | 0.06 | 0.03 | 0.25 | <0.005 | 0.09 | 0.05 | 0.02 | 0.07 | 0.5 | 0.08 | <0.005 | 0.02 | 0.1 | 0.5 | 0.1 | 0.01 | No Relaxation |
| 2 | Arsenic (As) | mg/l | 0.04 | <0.005 | <0.005 | 0.023 | <0.005 | <0.005 | <0.005 | 0.02 | 0.05 | <0.005 | 0.02 | <0.005 | 0.02 | 0.0 | 0.05 | 0.2 | 0.01 | 0.05 |
| 3 | Cadmium (Cd) | mg/l | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | 0 | 0.0 | 0 | 2 | 0.003 | No Relaxation |
| 4 | Chromium (Cr) | mg/l | 0.25 | 0.23 | 0.28 | 1.17 | 0.03 | 0.2 | 0.03 | 0.18 | 0.31 | 0.59 | 0.27 | 0.05 | 0.03 | 0.3 | 1.17 | 2 | 0.05 | 0.05 |
| 5 | Copper (Cu) | mg/l | 0.01 | 0.04 | 0.02 | 0.11 | <0.01 | 0.08 | 0.02 | 0.02 | 0.02 | 0.41 | 0.04 | <0.01 | 0.01 | 0.1 | 0.41 | 3 | 0.05 | 1.5 |
| 6 | Mercury (Hg) | mg/l | <0.001 | <0.001 | <0.001 | <0.005 | <0.001 | <0.001 | <0.001 | 0.02 | <0.001 | <0.001 | <0.001 | <0.001 | 0.02 | 0.0 | 0.02 | 0.01 | 0.001 | No Relaxation |
| 7 | Molybdenum (Mo) | mg/l | 0.01 | <0.01 | <0.01 | 0.02 | <0.01 | <0.01 | <0.01 | <0.01 | 0.01 | <0.01 | <0.01 | <0.01 | 0.01 | 0.0 | 0.02 | - | 0.07 | No Relaxation |
| 8 | Silver (Ag) | mg/l | <0.005 | <0.005 | <0.005 | 1.56 | <0.01 | <0.01 | <0.01 | <0.01 | <0.005 | <0.005 | <0.005 | <0.005 | 1.56 | 1.6 | 1.56 | - | _ | _ |
| 9 | Zinc (Zn) | mg/l | 0.11 | 0.13 | 0.17 | 0.46 | 0.02 | 0.23 | 0.05 | 0.11 | 0.15 | 1.03 | 0.17 | 0.01 | 0.01 | 0.2 | 1.03 | 5 | 5 | 15 |
| 10 | Nickel (Ni) | mg/l | 0.28 | 0.13 | 0.16 | 0.88 | 0.03 | 0.11 | 0.02 | 0.2 | 0.35 | 0.21 | 0.15 | 0.07 | 0.02 | 0.2 | 0.88 | 3 | 0.02 | No Relaxation |
| D | VOLATILE ORGANIC COMPOUNDS (VOC'S) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Benzene | µg/l | BDL | 2.8 | 0.75 | 3.43 | BDL | 7.93 | BDL | BDL | 3.13 | 12.78 | 2.58 | 2.26 | 0.75 | 4.5 | 12.78 | - | _ | _ |
| 2 | Bromobenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 3 | Bromochloromethane | µg/l | BDL | BDL | 0.28 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.28 | 0.3 | 0.28 | - | _ | _ |
| 4 | Bromodichloromethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 329.72 | BDL | BDL | BDL | 329.72 | 329.7 | 329.72 | - | _ | _ |
| 5 | Bromoform | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 6 | n-Butyl Benzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 7 | Sec-Butyl Benzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 8 | Ter-Butyl Benzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 9 | Carbontetrachloride | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |

| Sr No | Parameter | Unit | GROUND WATER SAMPLES (LEACHATE) TEST RESULTS (1ST CAMPAIGN) |  |  |  | GROUND WATER (LEACHATE) SAMPLES TEST RESULTS (2ND CAMPAIGN) |  |  |  | GROUND WATER (LEACHATE) SAMPLES TEST RESULTS (3RD CAMPAIGN) |  |  |  | Minimum Value | Average Value | Maximum Value | STANDARDS FOR LEACHATES DISPOSAL AS PER MSW RULES (Inland Surface Waters) | STANDARDS FOR DRINKING WATER - IS 10500 - 2004** |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | BH - 5 (GW-5) | BH - 6 (GW-6) | BH - 7 (GW-7) | BH - 8 (GW-8) | BH - 5 (GW-5) | BH - 6 (GW-6) | BH - 7 (GW-7) | BH - 8 (GW-8) | BH - 5 (GW-5) | BH - 6 (GW-6) | BH - 7 (GW-7) | BH - 8 (GW-8) |  |  |  |  | Desirable Limit | Permissible Limit |
|  | Date of Sampling |  | 09-06-2012 | 11-06-2012 | 11-06-2012 | 15-06-2012 | 23-07-2012 | 24-07-2012 | 23-07-2012 | 25-07-2012 | 11-09-2012 | 12-09-2012 | 11-09-2012 | 12-09-2012 |  |  |  |  |  |  |
|  | SGS Certificate |  | CA: GL: 312008456 | CA: GL: 312008579 | CA: GL: 312008578 | CA: GL: 312008951 | CA: GL: 3120012556 | CA: GL: 3120012558 | CA: GL: 3120012555 | CA: GL: 3120012496 | CA: GL: 3120013712 | CA: GL: 3120013769 | CA: GL: 3120013711 | CA: GL: 3120013767 |  |  |  |  |  |  |
| A | GENERAL PARAMETERS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 | Chlorobenzene | µg/l | BDL | BDL | BDL | 0.76 | BDL | 1.25 | BDL | BDL | BDL | BDL | BDL | BDL | 0.76 | 1.0 | 1.25 | - | _ | _ |
| 11 | Chloroform | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 12 | 2-Chlorotoluene | µg/l | BDL | 0.72 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.72 | 0.7 | 0.72 | - | _ | _ |
| 13 | 4-Chlorotoluene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 14 | Dibromochloromethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 15 | 1,2-Dibromo-3- chloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 16 | 1,2-Dibromoethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 17 | Dibromomethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 18 | 1,2-Dichlorobenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 19 | 1,3-Dichlorobenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 20 | 1,4-Dichlorobenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 21 | 1,1-Dichloroethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 22 | 1,2-Dichloroethane | µg/l | BDL | BDL | BDL | BDL | BDL | 0.2 | BDL | BDL | BDL | BDL | BDL | BDL | 0.2 | 0.2 | 0.2 | - | _ | _ |
| 23 | 1,1-Dichloroethene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 24 | Cis-1,2-Dichlororethene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 25 | Trans-1,2-Dichloroethene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 26 | 1,2-Dichloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 27 | 1,3-Dichloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 28 | 2,2-Dichloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 29 | 1,1-Dichloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 30 | Cis-1,3-Dichloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 31 | Trans-1,3- Dichloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 32 | Ethylbenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.96 | 1.11 | 1.36 | 1.28 | 0.96 | 1.2 | 1.36 | - | _ | _ |
| 33 | Hexachloro Butadine | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 34 | Isopropylbenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 35 | p-Isopropyltoluene | µg/l | BDL | BDL | BDL | BDL | BDL | 1.61 | 1.07 | BDL | 8.55 | 2.58 | BDL | 0.96 | 0.96 | 3.0 | 8.55 | - | _ | _ |
| 36 | Dichloromethane | µg/l | 2.1 | BDL | BDL | 95.6 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 2.1 | 48.9 | 95.6 | - | _ | _ |
| 37 | Naphtalene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 7.02 | BDL | 13.52 | BDL | 7.02 | 10.3 | 13.52 | - | _ | _ |
| 38 | Propylbenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 39 | Styrene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 7.94 | BDL | BDL | 7.94 | 7.9 | 7.94 | - | _ | _ |
| 40 | 1,1,1,2- Tetrachloroethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 41 | 1,1,2,2- Tetrachloroethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 42 | Tetrachloroethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 43 | Toluene | µg/l | BDL | 3.22 | BDL | 2.45 | BDL | BDL | BDL | BDL | 0.9 | BDL | 1.89 | 0.36 | 0.36 | 1.8 | 3.22 | - | _ | _ |
| 44 | 1,2,3-Trichlorobenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 45 | 1,2,4-Trichlorobenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.29 | BDL | 0.29 | 0.3 | 0.29 | - | _ | _ |
| 46 | 1,1,1-Trichloroethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 47 | 1,1,2-Trichloroethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 48 | Trichloroethene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 49 | 1,2,3-Trichloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 50 | 1,2,4-Trimethyl Benzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.46 | BDL | 0.46 | 0.5 | 0.46 | - | _ | _ |
| 51 | 1,3,5-Trimethyl Benzene | µg/l | BDL | BDL | 0.1 | BDL | BDL | BDL | BDL | BDL | BDL | 0.42 | BDL | BDL | 0.1 | 0.3 | 0.42 | - | _ | _ |
| 52 | m & p-Xylene | µg/l | 0.14 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 2.23 | BDL | BDL | 0.14 | 1.2 | 2.23 | - | _ | _ |
| 53 | o-Xylene | µg/l | 0.26 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.54 | 1.13 | 0.26 | 0.6 | 1.13 | - | _ | _ |
| 54 | Trichlorofluoromethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| E | Polynuclear Aromatic Hydrocarbons (PAH) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Acenaphthlyene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 2 | Acenaphthene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 3 | Anthracene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 4 | Benzo(alpha) Anthracene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 5 | Benzo(alpha) Pyrene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 6 | Benzo(b) Fluorathene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 7 | Benzo(g,h,i) Perylene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 8 | Benzo(k) Fluorathene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |

| Sr No | Parameter | Unit | GROUND WATER SAMPLES (LEACHATE) TEST RESULTS (1ST CAMPAIGN) |  |  |  | GROUND WATER (LEACHATE) SAMPLES TEST RESULTS (2ND CAMPAIGN) |  |  |  | GROUND WATER (LEACHATE) SAMPLES TEST RESULTS (3RD CAMPAIGN) |  |  |  | Minimum Value | Average Value | Maximum Value | STANDARDS FOR LEACHATES DISPOSAL AS PER MSW RULES (Inland Surface Waters) | STANDARDS FOR DRINKING WATER - IS 10500 - 2004** |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | BH - 5 (GW-5) | BH - 6 (GW-6) | BH - 7 (GW-7) | BH - 8 (GW-8) | BH - 5 (GW-5) | BH - 6 (GW-6) | BH - 7 (GW-7) | BH - 8 (GW-8) | BH - 5 (GW-5) | BH - 6 (GW-6) | BH - 7 (GW-7) | BH - 8 (GW-8) |  |  |  |  | Desirable Limit | Permissible Limit |
|  | Date of Sampling |  | 09-06-2012 | 11-06-2012 | 11-06-2012 | 15-06-2012 | 23-07-2012 | 24-07-2012 | 23-07-2012 | 25-07-2012 | 11-09-2012 | 12-09-2012 | 11-09-2012 | 12-09-2012 |  |  |  |  |  |  |
|  | SGS Certificate |  | CA: GL: 312008456 | CA: GL: 312008579 | CA: GL: 312008578 | CA: GL: 312008951 | CA: GL: 3120012556 | CA: GL: 3120012558 | CA: GL: 3120012555 | CA: GL: 3120012496 | CA: GL: 3120013712 | CA: GL: 3120013769 | CA: GL: 3120013711 | CA: GL: 3120013767 |  |  |  |  |  |  |
| A | GENERAL PARAMETERS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 | Crysene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 10 | Dibenzo(a,h) Anthracene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 11 | Fluoranthene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 12 | Fluorene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 13 | Indeno(1,2,3-cd) Pyrene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 14 | Naphtalene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 15 | Pyrene | µg/l | BDL | BDL | BDL | 0.59 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.59 | 0.6 | 0.59 | - | _ | _ |
| 16 | Phenanthrene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| F | Polychlorinated Biphenyls (PCB) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | 2-Chlorobiphenyl | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | 0.0005 | No Relaxation |
| 2 | 2,3-Dichlorobiphenyl | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 3 | 2,4,5-Trichlorobiphenyl | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 4 | 2,2',4,4'- Tetrachlorobiphenyl | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 5 | 2,2',3'4,6- Pentachlorobiphenyl | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 6 | 2,2',4.4'5,6'- Hexachlorobiphenyl | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 7 | 2,2',3,3',4,4',6- Heptachlorobiphenyl | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| 8 | 2,2',3,3',4,5',6,6'- Octachlorobiphenyl | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | _ |
| G | PESTICIDES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Alpha- HCH | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | - | _ | 0.01 |
| 2 | Beta-HCH | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 1.0 | 0 | - | _ | 0.04 |
| 3 | Gamma - HCH (Lindane) | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 2.0 | 0 | - | _ | 2 |
| 4 | Delta - HCH | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 3.0 | 0 | - | _ | 0.04 |
| 5 | O,P - DDT | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 4.0 | 0 | - | _ | _ |
| 6 | P,P - DDT | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 5.0 | 0 | - | _ | _ |
| 7 | O,P - DDD | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 6.0 | 0 | - | _ | _ |
| 8 | P,P - DDD | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 7.0 | 0 | - | _ | _ |
| 9 | O,P - DDE | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 8.0 | 0 | - | _ | _ |
| 10 | Alpha-Endosulphan | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 9.0 | 0 | - | _ | _ |
| 11 | Beta-Endosulphan | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 10.0 | 0 | - | _ | _ |
| 12 | Endosulphan Sulphate | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 11.0 | 0 | - | _ | _ |
| 13 | Monocrotophos | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 12.0 | 0 | - | _ | _ |
| 14 | Ethion | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 13.0 | 0 | - | _ | _ |
| 15 | Chlorpyrifos | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 14.0 | 0 | - | _ | _ |
| 16 | Phorate | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 15.0 | 0 | - | _ | _ |
| 17 | Phorate Sulphoxide | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 16.0 | 0 | - | _ | _ |
| 18 | Phorate Sulphone | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 17.0 | 0 | - | _ | _ |
| 19 | 2,4-D | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 18.0 | 0 | - | _ | _ |
| 20 | Butachlor | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 19.0 | 0 | - | _ | _ |
| 21 | Isoproturon | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 20.0 | 0 | - | _ | _ |
| 22 | Alachlor | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 21.0 | 0 | - | _ | _ |
| 23 | Atrazine | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 22.0 | 0 | - | _ | _ |
| 24 | Methyl Parathion | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 23.0 | 0 | - | _ | _ |
| 25 | Methyl Paraoxan | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 24.0 | 0 | - | _ | _ |
| 26 | Malathion | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 25.0 | 0 | - | _ | _ |
| 27 | Malaoxon | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 26.0 | 0 | - | _ | _ |
| 28 | Aldrin | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 27.0 | 0 | - | _ | _ |
| 29 | Dieldrin | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 28.0 | 0 | - | _ | _ |

**Note: " - " Data not available

ANNEXURE-V

| COMPARISON OF TEST RESULTS OF GROUND WATER (TUBEWELL) SAMPLES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sr No | Parameter | Unit | GROUND WATER (EXISTING TUBEWELLS) SAMPLES TEST RESULTS (2ND CAMPAIGN) |  |  |  |  |  | ADDITIONAL EXISTING WELLS IN STUDY AREA |  |  | Minimum Value | Average Value | Maximum Value | STANDARDS FOR DRINKING WATER - IS 10500 - 2004** |  |
|  |  |  | Existing Borehole at Martinpara (TS 6) | Existing Borehole at -Malaktala Village (TS-1) | Existing Borehole at Dump Site near Makaltala Village (TS-2) | Existing Borehole AT Bone Factory (TS 3) | Existing Borehole at Durgapur (TS- 4) | Existing Borehole at ITC Sonar Bangla (TS-5) | Existing Borewell at Uchhupota | Existing Borewell at Khanaberia | Existing Borewell at Anantabadal |  |  |  | Desirable Limit | Permissible Limit |
|  | Date of Sampling |  | 10-07-2012 | 10-07-2012 | 10-07-2012 | 10-07-2012 | 10-07-2012 | 24-07-2012 | 15-06-2013 | 15-06-2013 | 15-06-2013 |  |  |  |  |  |
|  | SGS Certificate |  | CA: GL: 3120012502 | CA: GL: 3120012498 | CA: GL: 3120012499 | CA: GL: 3120012500 | CA: GL: 3120012501 | CA: GL: 3120012560 | KG-13- 004569.001 | KG-13- 004569.002 | KG-13- 004569.003 |  |  |  |  |  |
| A | GENERAL PARAMETERS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Ammonia as NH3 | mg/l | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | 0.21 | 0.14 | 0.28 | 0.14 | 0.0 | 0 | _ | _ |
| 2 | BOD @ 27°C for 3 days | mg/l | <2.0 | <2.0 | 2 | <2.0 | <2.0 | <2.0 | 1.1 | 0.7 | 1 | 0.7 | 1.2 | 2 | _ | _ |
| 3 | COD | mg/l | 14 | 10 | 16 | <5.0 | 8 | 8 | 5.12 | 3.42 | 5.12 | 3.42 | 8.7 | 16 | _ | _ |
| 4 | Chlorides | mg/l | 419.91 | 456.42 | 429.03 | 438.16 | 438.16 | 419.91 | 374.46 | 392.29 | 481.45 | 374.46 | 427.8 | 481.45 | 250 | 1000 |
| 5 | Colour | Hazen Units | COLOURLESS | COLOURLESS | COLOURLESS | COLOURLESS | COLOURLESS | COLOURLESS | 40 | 5 | 15 | 5 | 20.0 | 40 | 5 | 25 |
| 6 | Conductivity at 25°C | microsiemen/ cm | 1810 | 1914 | 1887 | 1980 | 1996 | 1724 | 1804 | 1823 | 2120 | 1724 | 1895.3 | 2120 | _ | _ |
| 7 | Cyanide (as CN) | mg/l | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | 0 | 0.0 | 0 | 0.05 | No Relaxation |
| 8 | Dissolved Oxygen | mg/l | 0.9 | 0.7 | 0.3 | 0.5 | 1.2 | 1.9 | 0.9 | 0.8 | 0.8 | 0.3 | 0.9 | 1.9 | _ | _ |
| 9 | Iron (Fe) | mg/l | 1.02 | 1.62 | 0.9 | 0.05 | 0.08 | 0.25 | 2.7155 | 0.1171 | 0.285 | 0.05 | 0.8 | 2.7155 | 0.3 | 1 |
| 10 | Fluoride as F | mg/l | 0.36 | 0.36 | 0.33 | 0.36 | 0.37 | 0.4 | 0.53 | 0.23 | 0.39 | 0.23 | 0.4 | 0.53 | 1 | 1.5 |
| 11 | Manganese (Mn) | mg/l | 0.22 | 0.38 | 0.29 | 0.39 | <0.18 | 0.3 | 0.2178 | 0.3751 | 0.3658 | 0.2178 | 0.3 | 0.39 | 0.1 | 0.3 |
| 12 | Mineral Oil * *Mineral Oil is analysed as Oil and Grease by Gravimetric method | mg/l | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | 0 | 0.0 | 0 | 0.01 | 0.02 |
| 13 | Nitrite (NO2) | mg/l | 0.01 | 0.02 | 0.02 | 0.01 | 0.01 | 0.09 | 0.13 | 0.1 | 0.12 | 0.01 | 0.1 | 0.13 | 45 | No Relaxation |
| 14 | Nitrate (NO3) | mg/l | 1.65 | 1.06 | 1.31 | 0.69 | 1.35 | 0.73 | 0.05 | 0.04 | 0.01 | 0.01 | 0.8 | 1.65 | _ | _ |
| 15 | pH @ 25°C | - | 7.02 | 6.99 | 7.04 | 7.1 | 7.16 | 7.02 | 6.24 | 6.13 | 6.22 | 6.13 | 6.8 | 7.16 | 6.5 - 8.5 | No Relaxation |
| 16 | Phenolic compounds (as (C6H5OH) | mg/l | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | 0 | 0.0 | 0 | 0.001 | 0.002 |
| 17 | Phoshorous as P | mg/l | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | 0 | 0.0 | 0 | _ | _ |
| 18 | Odour (Smell) | - | ODOURLESS | ODOURLESS | ODOURLESS | ODOURLESS | ODOURLESS | ODOURLESS | ODOURLESS | ODOURLESS | ODOURLESS | 0 | 0.0 | 0 | Agreeable | Agreeable |
| 19 | Temperature | °C | 33.7 | 29.8 | 35.8 | 37.4 | 36.4 | 30.2 | 29.1 | 28.8 | 28.9 | 28.8 | 32.2 | 37.4 | _ | _ |
| 20 | Turbidity | NTU | 1.3 | 24.8 | 13.5 | 0.02 | 9.99 | 4.12 | 94.2 | 2.75 | 7.14 | 0.02 | 17.5 | 94.2 | 5 | 10 |
| 21 | Total Organic Carbon (TOC) | mg/l | 1.46 | < 0.5 | < 0.5 | < 0.5 | < 0.5 | 3 | < 0.5 | < 0.5 | < 0.5 | 1.46 | 2.2 | 3 | _ | _ |
| 22 | Total Dissolved Solids (TDS) | mg/l | 1268 | 1478 | 1460 | 1524 | 1536 | 1328 | 1176 | 1184 | 1384 | 1176 | 1370.9 | 1536 | 500 | 2000 |
| 23 | Total Suspended Solids (TSS) | mg/l | <5 | <5 | <5 | <5 | <5 | <5 | 11.04 | 2.36 | 4.84 | 2.36 | 6.1 | 11.04 | _ | _ |
| 24 | Total Nitrogen as N | mg/l | 0.53 | 0.4 | 0.46 | 0.32 | 0.45 | 0.31 | 0.9 | 0.49 | 0.74 | 0.31 | 0.5 | 0.9 | _ | _ |
| B | MICROBIAL GROWTH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | E-coli | MPN/100 ml | Absent | Absent | Absent | Absent | Absent | Absent | <1.8 | <1.8 | <1.8 | 0 | 0.0 | 0 | Absent/100 ml | _ |
| 2 | Total Coliforms | MPN/100 ml | < 2 | 23 | < 2 | 7.8 | < 2 | <1.8MPN | 9.2 | 350 | <1.8 | 7.8 | 97.5 | 350 | Absent/100 ml | Absent/100 ml |
| C | HEAVY METALS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Lead (Pb) | mg/l | <0.005 | <0.005 | <0.005 | 0.02 | <0.005 | <0.005 | <0.005 | 0.0068 | 0.0054 | 0.0054 | 0.0 | 0.02 | 0.01 | No Relaxation |
| 2 | Arsenic (As) | mg/l | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | 0 | 0.0 | 0 | 0.01 | 0.05 |

| COMPARISON OF TEST RESULTS OF GROUND WATER (TUBEWELL) SAMPLES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sr No | Parameter | Unit | GROUND WATER (EXISTING TUBEWELLS) SAMPLES TEST RESULTS (2ND CAMPAIGN) |  |  |  |  |  | ADDITIONAL EXISTING WELLS IN STUDY AREA |  |  | Minimum Value | Average Value | Maximum Value | STANDARDS FOR DRINKING WATER - IS 10500 - 2004** |  |
|  |  |  | Existing Borehole at Martinpara (TS 6) | Existing Borehole at -Malaktala Village (TS-1) | Existing Borehole at Dump Site near Makaltala Village (TS-2) | Existing Borehole AT Bone Factory (TS 3) | Existing Borehole at Durgapur (TS- 4) | Existing Borehole at ITC Sonar Bangla (TS-5) | Existing Borewell at Uchhupota | Existing Borewell at Khanaberia | Existing Borewell at Anantabadal |  |  |  | Desirable Limit | Permissible Limit |
|  | Date of Sampling |  | 10-07-2012 | 10-07-2012 | 10-07-2012 | 10-07-2012 | 10-07-2012 | 24-07-2012 | 15-06-2013 | 15-06-2013 | 15-06-2013 |  |  |  |  |  |
|  | SGS Certificate |  | CA: GL: 3120012502 | CA: GL: 3120012498 | CA: GL: 3120012499 | CA: GL: 3120012500 | CA: GL: 3120012501 | CA: GL: 3120012560 | KG-13- 004569.001 | KG-13- 004569.002 | KG-13- 004569.003 |  |  |  |  |  |
| 3 | Cadmium (Cd) | mg/l | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | 0 | 0.0 | 0 | 0.003 | No Relaxation |
| 4 | Chromium (Cr) | mg/l | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0 | 0.0 | 0 | 0.05 | 0.05 |
| 5 | Copper (Cu) | mg/l | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0 | 0.0 | 0 | 0.05 | 1.5 |
| 6 | Mercury (Hg) | mg/l | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | 0 | 0.0 | 0 | 0.001 | No Relaxation |
| 7 | Molybdenum (Mo) | mg/l | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0 | 0.0 | 0 | 0.07 | No Relaxation |
| 8 | Silver (Ag) | mg/l | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0 | 0.0 | 0 | _ | _ |
| 9 | Zinc (Zn) | mg/l | 0.01 | 0.83 | 0.7 | 0.03 | 4.29 | <0.01 | 1.0298 | 2.5268 | 4.9098 | 0.01 | 1.8 | 4.9098 | 5 | 15 |
| 10 | Nickel (Ni) | mg/l | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0 | 0.0 | 0 | 0.02 | No Relaxation |
| D | VOLATILE ORGANIC COMPOUNDS (VOC'S) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Benzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 2 | Bromobenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 3 | Bromochloromethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 4 | Bromodichloromethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 5 | Bromoform | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 6 | n-Butyl Benzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 7 | Sec-Butyl Benzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 8 | Ter-Butyl Benzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 9 | Carbontetrachloride | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 10 | Chlorobenzene | µg/l | BDL | BDL | BDL | BDL | BDL | 0.84 | BDL | BDL | BDL | 0.84 | 0.8 | 0.84 | _ | _ |
| 11 | Chloroform | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 12 | 2-Chlorotoluene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 13 | 4-Chlorotoluene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 14 | Dibromochloromethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 15 | 1,2-Dibromo-3- chloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 16 | 1,2-Dibromoethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 17 | Dibromomethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 18 | 1,2-Dichlorobenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 19 | 1,3-Dichlorobenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 20 | 1,4-Dichlorobenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 21 | 1,1-Dichloroethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 22 | 1,2-Dichloroethane | µg/l | BDL | BDL | BDL | BDL | BDL | 0.57 | BDL | BDL | BDL | 0.57 | 0.6 | 0.57 | _ | _ |
| 23 | 1,1-Dichloroethene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 24 | Cis-1,2-Dichlororethene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 25 | Trans-1,2- Dichloroethene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 26 | 1,2-Dichloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 27 | 1,3-Dichloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 28 | 2,2-Dichloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 29 | 1,1-Dichloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 30 | Cis-1,3-Dichloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 31 | Trans-1,3- Dichloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 32 | Ethylbenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 33 | Hexachloro Butadine | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 34 | Isopropylbenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 35 | p-Isopropyltoluene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 36 | Dichloromethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 37 | Naphtalene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 38 | Propylbenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 39 | Styrene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 40 | 1,1,1,2- Tetrachloroethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |

| COMPARISON OF TEST RESULTS OF GROUND WATER (TUBEWELL) SAMPLES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sr No | Parameter | Unit | GROUND WATER (EXISTING TUBEWELLS) SAMPLES TEST RESULTS (2ND CAMPAIGN) |  |  |  |  |  | ADDITIONAL EXISTING WELLS IN STUDY AREA |  |  | Minimum Value | Average Value | Maximum Value | STANDARDS FOR DRINKING WATER - IS 10500 - 2004** |  |
|  |  |  | Existing Borehole at Martinpara (TS 6) | Existing Borehole at -Malaktala Village (TS-1) | Existing Borehole at Dump Site near Makaltala Village (TS-2) | Existing Borehole AT Bone Factory (TS 3) | Existing Borehole at Durgapur (TS- 4) | Existing Borehole at ITC Sonar Bangla (TS-5) | Existing Borewell at Uchhupota | Existing Borewell at Khanaberia | Existing Borewell at Anantabadal |  |  |  | Desirable Limit | Permissible Limit |
|  | Date of Sampling |  | 10-07-2012 | 10-07-2012 | 10-07-2012 | 10-07-2012 | 10-07-2012 | 24-07-2012 | 15-06-2013 | 15-06-2013 | 15-06-2013 |  |  |  |  |  |
|  | SGS Certificate |  | CA: GL: 3120012502 | CA: GL: 3120012498 | CA: GL: 3120012499 | CA: GL: 3120012500 | CA: GL: 3120012501 | CA: GL: 3120012560 | KG-13- 004569.001 | KG-13- 004569.002 | KG-13- 004569.003 |  |  |  |  |  |
| 41 | 1,1,2,2- Tetrachloroethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 42 | Tetrachloroethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 43 | Toluene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 44 | 1,2,3-Trichlorobenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 45 | 1,2,4-Trichlorobenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 46 | 1,1,1-Trichloroethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 47 | 1,1,2-Trichloroethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 48 | Trichloroethene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 49 | 1,2,3-Trichloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 50 | 1,2,4-Trimethyl Benzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 51 | 1,3,5-Trimethyl Benzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 52 | m & p-Xylene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 53 | o-Xylene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 54 | Trichlorofluoromethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| E | Polynuclear Aromatic Hydrocarbons (PAH) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Acenaphthlyene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 2 | Acenaphthene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 3 | Anthracene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 4 | Benzo(alpha) Anthracene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 5 | Benzo(alpha) Pyrene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 6 | Benzo(b) Fluorathene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 7 | Benzo(g,h,i) Perylene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 8 | Benzo(k) Fluorathene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 9 | Crysene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 10 | Dibenzo(a,h) Anthracene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 11 | Fluoranthene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 12 | Fluorene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 13 | Indeno(1,2,3-cd) Pyrene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 14 | Naphtalene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 15 | Pyrene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 16 | Phenanthrene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| F | Polychlorinated Biphenyls (PCB) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | 2-Chlorobiphenyl | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | 0.0005 | No Relaxation |
| 2 | 2,3-Dichlorobiphenyl | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 3 | 2,4,5-Trichlorobiphenyl | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 4 | 2,2',4,4'- Tetrachlorobiphenyl | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 5 | 2,2',3'4,6- Pentachlorobiphenyl | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 6 | 2,2',4.4'5,6'- Hexachlorobiphenyl | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 7 | 2,2',3,3',4,4',6- Heptachlorobiphenyl | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 8 | 2,2',3,3',4,5',6,6'- Octachlorobiphenyl | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| G | PESTICIDES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Alpha- HCH | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | 0.01 |
| 2 | Beta-HCH | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | 0.04 |
| 3 | Gamma - HCH (Lindane) | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | 2 |
| 4 | Delta - HCH | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | 0.04 |
| 5 | O,P - DDT | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 6 | P,P - DDT | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |

| COMPARISON OF TEST RESULTS OF GROUND WATER (TUBEWELL) SAMPLES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sr No | Parameter | Unit | GROUND WATER (EXISTING TUBEWELLS) SAMPLES TEST RESULTS (2ND CAMPAIGN) |  |  |  |  |  | ADDITIONAL EXISTING WELLS IN STUDY AREA |  |  | Minimum Value | Average Value | Maximum Value | STANDARDS FOR DRINKING WATER - IS 10500 - 2004** |  |
|  |  |  | Existing Borehole at Martinpara (TS 6) | Existing Borehole at -Malaktala Village (TS-1) | Existing Borehole at Dump Site near Makaltala Village (TS-2) | Existing Borehole AT Bone Factory (TS 3) | Existing Borehole at Durgapur (TS- 4) | Existing Borehole at ITC Sonar Bangla (TS-5) | Existing Borewell at Uchhupota | Existing Borewell at Khanaberia | Existing Borewell at Anantabadal |  |  |  | Desirable Limit | Permissible Limit |
|  | Date of Sampling |  | 10-07-2012 | 10-07-2012 | 10-07-2012 | 10-07-2012 | 10-07-2012 | 24-07-2012 | 15-06-2013 | 15-06-2013 | 15-06-2013 |  |  |  |  |  |
|  | SGS Certificate |  | CA: GL: 3120012502 | CA: GL: 3120012498 | CA: GL: 3120012499 | CA: GL: 3120012500 | CA: GL: 3120012501 | CA: GL: 3120012560 | KG-13- 004569.001 | KG-13- 004569.002 | KG-13- 004569.003 |  |  |  |  |  |
| 7 | O,P - DDD | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 8 | P,P - DDD | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 9 | O,P - DDE | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 10 | Alpha-Endosulphan | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 11 | Beta-Endosulphan | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 12 | Endosulphan Sulphate | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 13 | Monocrotophos | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 14 | Ethion | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 15 | Chlorpyrifos | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 16 | Phorate | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 17 | Phorate Sulphoxide | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 18 | Phorate Sulphone | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 19 | 2,4-D | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 20 | Butachlor | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 21 | Isoproturon | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 22 | Alachlor | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 23 | Atrazine | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 24 | Methyl Parathion | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 25 | Methyl Paraoxan | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 26 | Malathion | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 27 | Malaoxon | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 28 | Aldrin | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |
| 29 | Dieldrin | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0 | _ | _ |

**Note: Comparision of Ground Water Quality is made with the Drinking Water Quality Standards as per IS 10500

" - " Data not available

Exceeding Limits

ANNEXURE-VI

|  | COMPARISON OF TEST RESULTS OF SURFACE WATER SAMPLES - 3 CAMPAIGNS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Sr No | Parameter | Unit | SURFACE WATER SAMPLES TEST RESULTS (1ST CAMPAIGN) |  |  |  |  | SURFACE WATER SAMPLES TEST RESULTS (2ND CAMPAIGN) |  |  |  |  | SURFACE WATER SAMPLES TEST RESULTS (3RD CAMPAIGN) |  |  |  |  | Minimum Value | Average Value | Maximum Value | GENERAL STANDARDS FOR DISCHARGE OF POLLUTANTS TO INLAND SURFACE WATERS (CPCB) ** |
|  |  |  |  | SW - 1 | SW - 2 | SW - 3 | SW - 4 | SW - 5 | SW - 1 | SW - 2 | SW - 3 | SW - 4 | SW - 5 | SW - 1 | SW - 2 | SW - 3 | SW - 4 | SW - 5 |  |  |  |  |
|  |  | Date of Sampling |  | 06-12-2012 | 06-12-2012 | 06-12-2012 | 06-12-2012 | 06-12-2012 | 11-07-2012 | 11-07-2012 | 11-07-2012 | 11-07-2012 | 11-07-2012 | 07-09-2012 | 07-09-2012 | 07-09-2012 | 07-09-2012 | 07-09-2012 |  |  |  |  |
|  |  | SGS Certificate |  | CA: GL: 3120008580 | CA: GL: 3120008613 | CA: GL: 3120008581 | CA: GL: 3120008610 | CA: GL: 3120008612 | CA: GL: 3120012470 | CA: GL: 3120012471 | CA: GL: 3120012473 | CA: GL: 3120012475 | CA: GL: 3120012474 | CA: GL: 3120013413 | CA: GL: 3120013414 | CA: GL: 3120013415 | CA: GL: 3120013416 | CA: GL: 3120013417 |  |  |  |  |
|  | A | GENERAL PARAMETERS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 1 | Ammonia as NH3 | mg/l | 1.87 | 12.26 | <0.10 | <0.10 | 2239.1 | < 0.1 | 5.87 | 1.3 | 110.31 | 1.93 | <0.10 | 8.81 | 6.61 | 0.81 | 24.24 | 0.81 | 219.4 | 2239.1 | 5 |
|  | 2 | BOD @ 27°C for 3 days | mg/l | 53 | 525 | 29 | 37 | 14000 | 4 | 38 | 4.5 | 750 | 12 | 3.2 | 77 | 68 | 21 | 1100 | 3.2 | 1114.8 | 14000.0 | 30 |
|  | 3 | COD | mg/l | 186 | 1520 | 118 | 147 | 22549 | 34 | 184 | 36 | 3009 | 57 | 29 | 423 | 410 | 110 | 2702 | 29 | 2100.9 | 22549.0 | 250 |
|  | 4 | Chlorides | mg/l | 607.47 | 1429.34 | 117.92 | 110.77 | 1786.68 | 525.29 | 766.78 | 182.57 | 1862.19 | 135.1 | 387.04 | 547.7 | 547.7 | 146.05 | 1825.68 | 110.77 | 731.9 | 1862.2 | _ |
|  | 5 | Colour | Hazen Units | LIGHT PALE YELLOW | DARK YELLOW | COLOUR LESS | COLOURLESS | DARK YELLOW BROWN | COLOURLESS | YELLOWISH | COLOURLESS | BROWNISH YELLOW | COLOURLESS | COLOURLESS | PALE YELLOW | PALE YELLOW | COLOURLESS | BROWNISH | 0 | 0.0 | 0.0 | All efforts should be made to remove colour and unpleasant odour as far as practicable |
|  | 6 | Conductivity at 25°C | microsiemen/ cm | 2420 | 8200 | 810 | 775 | 28200 | 2090 | 4040 | 1156 | 21700 | 895 | 1910 | 3450 | 3400 | 1240 | 12680 | 775 | 6197.7 | 28200.0 | _ |
|  | 7 | Cyanide (as CN) | mg/l | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | 0.15 | 0.15 | 0.2 | 0.2 | 0.2 |
|  | 8 | Dissolved Oxygen | mg/l | 8.1 | 1.2 | 0.9 | 0.9 | 0.6 | 9.2 | 3.1 | 2.1 | 2.3 | 1.5 | 7.2 | 3.9 | 3.9 | 4.2 | 0.5 | 0.5 | 3.3 | 9.2 | _ |
|  | 9 | Iron (Fe) | mg/l | 0.18 | 15.54 | 0.58 | 2.09 | 2.75 | 0.12 | 0.18 | 0.85 | 1.25 | 0.42 | 0.34 | 9.76 | 2.42 | 3.5 | 2.16 | 0.12 | 2.8 | 15.5 | 3 |
|  | 10 | Fluoride as F | mg/l | 0.21 | 0.47 | 0.19 | 0.19 | 0.83 | 0.32 | 0.44 | 0.31 | 0.68 | 0.29 | 0.23 | 0.35 | 0.25 | 0.22 | 0.27 | 0.19 | 0.4 | 0.8 | 2 |
|  | 11 | Manganese (Mn) | mg/l | 0.18 | 0.36 | 0.16 | 0.16 | 0.37 | 0.07 | 0.14 | 0.15 | 0.05 | 0.11 | 0.18 | 0.46 | 0.35 | 0.25 | 0.27 | 0.05 | 0.2 | 0.5 | 2 |
|  | 12 | Mineral Oil * *Mineral Oil is analysed as Oil and Grease by Gravimetric method | mg/l | 3.6 | 6.4 | 2.8 | 3.2 | 55 | <2.0 | 2.9 | <2.0 | 9.6 | <2.0 | <2.0 | 3 | 3 | 2.1 | 7.5 | 2.1 | 9.0 | 55.0 | 10 |
|  | 13 | Nitrite (NO2) | mg/l | 3.67 | 181.53 | 11.47 | 4.47 | 0.57 | 0.76 | 0.1 | 0.45 | 0.41 | 0.71 | 2.36 | 0.01 | 0.25 | 0.03 | 0.03 | 0.01 | 13.8 | 181.5 | _ |
|  | 14 | Nitrate (NO3) | mg/l | 9.07 | 6.31 | 25.46 | 68.69 | 119.76 | 12.28 | 108.46 | 23.03 | 212.66 | 28.43 | 2.61 | 70.78 | 65.56 | 2.59 | 130.76 | 2.59 | 59.1 | 212.7 | 10 |
|  | 15 | pH @ 25°C | - | 9.1 | 7.6 | 6.8 | 6.9 | 9.6 | 7.2 | 7.4 | 7.5 | 7.5 | 7.9 | 7.61 | 7.77 | 7.61 | 7.4 | 7.6 | 6.8 | 7.7 | 9.6 | 5.5 - 9.0 |
|  | 16 | Phenolic compounds (as (C6H5OH) | mg/l | 0.05 | <0.05 | 0.11 | <0.05 | 0.11 | <0.05 | <0.05 | <0.05 | 0.11 | <0.05 | <0.05 | 0.19 | 0.22 | <0.05 | 1.21 | 0.05 | 0.3 | 1.2 | 1 |
|  | 17 | Phoshorous as P | mg/l | <0.10 | 0.15 | 0.12 | 0.22 | 5.27 | 0.19 | 0.8 | 0.69 | 1.78 | 0.86 | 0.76 | 1 | 1.63 | 0.94 | 1.76 | 0.12 | 1.2 | 5.3 | 5 |
|  | 18 | Odour (Smell) | - | Odourless | Pungent | Odourless | Odourless | Pungent | ODOURLESS | ODOURLESS | ODOURLESS | PUNGENT | ODOURLESS | ODOURLESS | PUNGENT | PUNGENT | PUNGENT | PUNGENT | 0 | 0.0 | 0.0 | All efforts should be made to remove colour and unpleasant odour as far as practicable |
|  | 19 | Temperature | °C | 36.6 | 36.4 | 35.1 | 34.3 | 39.6 | 34.4 | 37.3 | 33.9 | 33.7 | 35.1 | 35.8 | 32.7 | 34 | 35.7 | 37.5 | 32.7 | 35.5 | 39.6 | Shall not exceed 5 °C above the receiving water temperature |
|  | 20 | Turbidity | NTU | 9.56 | 39.5 | 7.26 | 28.5 | 640 | 4.2 | 13.7 | 9.9 | 410 | 33.2 | 7.54 | 50.6 | 50.6 | 48.2 | _ | 4.2 | 96.6 | 640.0 | _ |
|  | 21 | Total Organic Carbon (TOC) | mg/l | 6 | 295 | 6 | 31 | 5736 | 18 | 15 | 15 | 904 | 12 | 12 | 88 | 118 | 22 | 824 | 6 | 540.1 | 5736.0 | _ |
|  | 22 | Total Dissolved Solids (TDS) | mg/l | 1632 | 5232 | 574 | 496 | 18812 | 1380 | 2652 | 792 | 14780 | 624 | 1350 | 2392 | 2348 | 902 | 8406 | 496 | 4158.1 | 18812.0 | _ |
|  | 23 | Total Suspended Solids (TSS) | mg/l | 27 | 67.2 | 16 | 12.8 | 2100 | <5 | 17 | 10 | 916 | 43 | 19 | 142 | 92 | 262 | 516 | 10 | 302.9 | 2100.0 | 100 |
|  | 24 | Total Nitrogen as N | mg/l | 7.55 | 449.02 | 28.45 | 18.79 | 2990.73 | 3.17 | 330.52 | 58.69 | 4446.22 | 37.58 | 1.49 | 204.98 | 226.56 | 39.9 | 785.54 | 1.49 | 641.9 | 4446.2 | 100 |
|  | B | MICROBIAL GROWTH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 1 | E-coli | MPN/100 ml | Absent | Absent | Absent | Absent | Absent | 21 | 48 | 6.8 | Absent | 4 | 70 | 110 | 48 | 94 | 32 | 4 | 48.2 | 110.0 | _ |
|  | 2 | Total Coliforms | MPN/100 ml | 920 | 920 | 1600 | 1600 | 1600 | 920 | 1600 | 350 | 540 | 170 | 2200 | 2800 | 920 | 3500 | 1600 | 170 | 1416.0 | 3500.0 | _ |
|  | C | HEAVY METALS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 1 | Lead (Pb) | mg/l | 0.01 | 0.35 | 0.01 | 0.02 | 0.03 | <0.005 | <0.005 | <0.005 | <0.005 | 0.02 | 0.01 | 0.15 | 0.07 | 0.04 | 0.05 | 0.01 | 0.1 | 0.4 | 0.01 |
|  | 2 | Arsenic (As) | mg/l | <0.005 | 0.02 | <0.005 | <0.005 | <0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | <0.005 | <0.005 | <0.005 | 0.005 | 0.016 | 0.016 | 0.0 | 0.0 | 0.01 |
|  | 3 | Cadmium (Cd) | mg/l | <0.005 | 0.01 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | 0.01 | 0.0 | 0.0 | 0.003 |
|  | 4 | Chromium (Cr) | mg/l | 0.02 | 5.7 | 0.02 | 0.06 | 0.16 | <0.01 | 0.02 | 0.01 | <0.01 | 0.61 | <0.01 | 0.18 | 0.12 | 0.06 | 0.97 | 0.01 | 0.7 | 5.7 | _ |
|  | 5 | Copper (Cu) | mg/l | <0.01 | 0.56 | 0.01 | 0.03 | 0.02 | <0.01 | <0.01 | 0.01 | <0.01 | 0.03 | <0.01 | 0.14 | 0.08 | 0.04 | 0.15 | 0.01 | 0.1 | 0.6 | 0.05 |
|  | 6 | Mercury (Hg) | mg/l | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | 0 | 0.0 | 0.0 | 0.001 |
|  | 7 | Molybdenum (Mo) | mg/l | <0.01 | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.03 | 0.01 | 0.0 | 0.0 | 0.07 |
|  | 8 | Silver (Ag) | mg/l | <0.005 | 0.01 | <0.005 | <0.005 | <0.005 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | 0.01 | 0.0 | 0.0 | _ |
|  | 9 | Zinc (Zn) | mg/l | 0.02 | 3.44 | 0.04 | 0.09 | 0.08 | <0.01 | 0.02 | 0.14 | 0.05 | 0.2 | 0.03 | 0.31 | 0.13 | 0.12 | 0.3 | 0.02 | 0.4 | 3.4 | 5 |
|  | 10 | Nickel (Ni) | mg/l | 0.01 | 0.11 | 0.01 | 0.02 | 0.07 | <0.01 | 0.01 | <0.01 | <0.01 | 0.02 | <0.01 | 0.03 | 0.02 | 0.01 | 0.1 | 0.01 | 0.0 | 0.1 | 0.02 |
|  | D | VOLATILE ORGANIC COMPOUNDS (VOC'S) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 1 | Benzene | µg/l | BDL | 0.13 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.13 | 0.1 | 0.1 | _ |
|  | 2 | Bromobenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 3 | Bromochloromethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 4 | Bromodichloromethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 5 | Bromoform | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.3 | 0.3 | 0.3 | 0.3 | _ |
|  | 6 | n-Butyl Benzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 7 | Sec-Butyl Benzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 8 | Ter-Butyl Benzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 9 | Carbontetrachloride | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 10 | Chlorobenzene | µg/l | BDL | BDL | BDL | BDL | 0.56 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.56 | 0.6 | 0.6 | _ |
|  | 11 | Chloroform | µg/l | BDL | 1.17 | BDL | 1.67 | 0.51 | BDL | BDL | BDL | BDL | BDL | 0.45 | 0.76 | BDL | BDL | BDL | 0.45 | 0.9 | 1.7 | _ |
|  | 12 | 2-Chlorotoluene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 13 | 4-Chlorotoluene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 14 | Dibromochloromethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 15 | 1,2-Dibromo-3- chloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 16 | 1,2-Dibromoethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 17 | Dibromomethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 18 | 1,2-Dichlorobenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 19 | 1,3-Dichlorobenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 20 | 1,4-Dichlorobenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 21 | 1,1-Dichloroethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 22 | 1,2-Dichloroethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | 0.53 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.53 | 0.5 | 0.5 | _ |
|  | 23 | 1,1-Dichloroethene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 24 | Cis-1,2-Dichlororethene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 25 | Trans-1,2-Dichloroethene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | COMPARISON OF TEST RESULTS OF SURFACE WATER SAMPLES - 3 CAMPAIGNS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Sr No | Parameter | Unit | SURFACE WATER SAMPLES TEST RESULTS (1ST CAMPAIGN) |  |  |  |  | SURFACE WATER SAMPLES TEST RESULTS (2ND CAMPAIGN) |  |  |  |  | SURFACE WATER SAMPLES TEST RESULTS (3RD CAMPAIGN) |  |  |  |  | Minimum Value | Average Value | Maximum Value | GENERAL STANDARDS FOR DISCHARGE OF POLLUTANTS TO INLAND SURFACE WATERS (CPCB) ** |
|  |  |  |  | SW - 1 | SW - 2 | SW - 3 | SW - 4 | SW - 5 | SW - 1 | SW - 2 | SW - 3 | SW - 4 | SW - 5 | SW - 1 | SW - 2 | SW - 3 | SW - 4 | SW - 5 |  |  |  |  |
|  |  | Date of Sampling |  | 06-12-2012 | 06-12-2012 | 06-12-2012 | 06-12-2012 | 06-12-2012 | 11-07-2012 | 11-07-2012 | 11-07-2012 | 11-07-2012 | 11-07-2012 | 07-09-2012 | 07-09-2012 | 07-09-2012 | 07-09-2012 | 07-09-2012 |  |  |  |  |
|  |  | SGS Certificate |  | CA: GL: 3120008580 | CA: GL: 3120008613 | CA: GL: 3120008581 | CA: GL: 3120008610 | CA: GL: 3120008612 | CA: GL: 3120012470 | CA: GL: 3120012471 | CA: GL: 3120012473 | CA: GL: 3120012475 | CA: GL: 3120012474 | CA: GL: 3120013413 | CA: GL: 3120013414 | CA: GL: 3120013415 | CA: GL: 3120013416 | CA: GL: 3120013417 |  |  |  |  |
|  | 26 | 1,2-Dichloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 27 | 1,3-Dichloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 28 | 2,2-Dichloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 29 | 1,1-Dichloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 30 | Cis-1,3-Dichloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 31 | Trans-1,3- Dichloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 32 | Ethylbenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 33 | Hexachloro Butadine | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 34 | Isopropylbenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 35 | p-Isopropyltoluene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 36 | Dichloromethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 3.66 | BDL | BDL | 3.66 | 3.7 | 3.7 | _ |
|  | 37 | Naphtalene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 38 | Propylbenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 39 | Styrene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 40 | 1,1,1,2-Tetrachloroethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 41 | 1,1,2,2-Tetrachloroethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 42 | Tetrachloroethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 43 | Toluene | µg/l | BDL | BDL | 2.78 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.13 | BDL | BDL | BDL | BDL | 0.13 | 1.5 | 2.8 | _ |
|  | 44 | 1,2,3-Trichlorobenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 45 | 1,2,4-Trichlorobenzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 46 | 1,1,1-Trichloroethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 47 | 1,1,2-Trichloroethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 48 | Trichloroethene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 49 | 1,2,3-Trichloropropane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 50 | 1,2,4-Trimethyl Benzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 51 | 1,3,5-Trimethyl Benzene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 52 | m & p-Xylene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 53 | o-Xylene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 54 | Trichlorofluoromethane | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | E | Polynuclear Aromatic Hydrocarbons (PAH) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 1 | Acenaphthlyene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 2 | Acenaphthene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 3 | Anthracene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 4 | Benzo(alpha) Anthracene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 5 | Benzo(alpha) Pyrene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 6 | Benzo(b) Fluorathene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 7 | Benzo(g,h,i) Perylene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 8 | Benzo(k) Fluorathene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 9 | Crysene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 10 | Dibenzo(a,h) Anthracene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 11 | Fluoranthene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 12 | Fluorene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 13 | Indeno(1,2,3-cd) Pyrene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 14 | Naphtalene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 15 | Pyrene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 16 | Phenanthrene | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | F | Polychlorinated Biphenyls (PCB) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 1 | 2-Chlorobipheny | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | 0.0005 |
|  | 2 | 2,3-Dichlorobiphenyl | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 3 | 2,4,5-Trichlorobipheny | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 4 | 2,2',4,4'- Tetrachlorobiphenyl | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 5 | 2,2',3'4,6- Pentachlorobiphenyl | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 6 | 2,2',4.4'5,6'- Hexachlorobiphenyl | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 7 | 2,2',3,3',4,4',6- Heptachlorobiphenyl | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 8 | 2,2',3,3',4,5',6,6'- Octachlorobiphenyl | µg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | G | PESTICIDES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 1 | Alpha- HCH | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 2 | Beta-HCH | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 3 | Gamma - HCH (Lindane) | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 4 | Delta - HCH | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 5 | O,P - DDT | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 6 | P,P - DDT | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 7 | O,P - DDD | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 8 | P,P - DDD | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 9 | O,P - DDE | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 10 | Alpha-Endosulphan | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 11 | Beta-Endosulphan | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 12 | Endosulphan Sulphate | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 13 | Monocrotophos | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 14 | Ethion | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 15 | Chlorpyrifos | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 16 | Phorate | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00002 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00002 | 0.0 | 0.0 | _ |
|  | 17 | Phorate Sulphoxide | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 18 | Phorate Sulphone | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 19 | 2,4-D | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 20 | Butachlor | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 21 | Isoproturon | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 22 | Alachlor | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 23 | Atrazine | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 24 | Methyl Parathion | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 25 | Methyl Paraoxan | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 26 | Malathion | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 27 | Malaoxon | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 28 | Aldrin | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |
|  | 29 | Dieldrin | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0.0 | 0.0 | _ |

Comparision of Surface Water Quality is made with the CPCB "GENERAL STANDARDS FOR DISCHARGE OF ENVIRONMENTAL POLLUTANTS PART-A : EFFLUENTS, Part (a): Discharge to

**Note: Inland Surface Waters", as part of The Environment (Protection) Rules, 1986, [SCHEDULE – VI] (See rule 3A) " - " Data not available

Exceeding Limits

ANNEXURE-VII

| COMPARISON OF TEST RESULTS OF SOIL SAMPLES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| COMPARISON OF TEST RESULTS OF SURFACE SOIL / SEDIMENT SAMPLES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | SURFACE SOIL / SEDIMENT SAMPLES TEST RESULTS (1ST CAMPAIGN) |  |  |  |  |  |  |  |  |  | SOIL SAMPLES TEST RESULTS (2ND CAMPAIGN) |  |  |  |  |  |  |  |  |
| Sr No | Parameter | Unit | Surface Sediment Samples |  |  | Mixed Waste Sample from BH - 6. 7 and 8 | Soil Samples from Boreholes |  |  |  |  |  | Surface Soil Samples |  |  |  | Minimum Value | Average Value | Maximum Value | Dutch Standards for Soil |  |
|  |  |  | SW - 1 | SW - 3 | SW - 5 |  | BH - 1 | BH - 2 | BH - 3 | BH - 4 | BH - 5 | BH - 8 | BH - 2 | BH - 3 | BH - 4 | BH - 5 |  |  |  |  |  |
|  | Date of Sampling |  | 12-06-2012 | 12-06-2012 | 12-06-2012 | 12-06-2012 | 18-05-2012 | 26-05-2012 | 24-05-2012 | 22-05-2012 | 21-05-2012 | 13-06-2012 | 17-07-2012 | 17-07-2012 | 13-07-2012 | 17-07-2012 |  |  |  | LIBV | THV |
|  | SGS Certificate |  | GG12- 006488.003 & CH:GL: 3110028779 | GG12- 006488.002 & CH:GL: 3110028753 | GG12- 006488.001 & CH:GL: 3110029721 | GG12- 006967.001 & CH:GL: 3110029754 | GG12- 005914.001 & CH:GL: 3110024811 | GG12- 005988.001 & CH:GL: 3110025935 | GG12- 005915.001 & CH:GL: 3110025569 | GG12- 005914.002 & CH:GL: 3110024815 | GG12- 005914.003 & CH:GL: 3110024816 | GG12- 006594.001 & CH:GL: 3110029084 | GG12- 007603.003 & CH:GL: 3110031918 | GG12- 007603.002 & CH:GL: 3110031917 | GG12- 007603.001 & CH:GL: 3110031915 | GG12- 007603.004 & CH:GL: 3110031919 |  |  |  |  |  |
|  | Depth of Sampling |  | 0 - 0.2 | 0 - 0.2 | 0 - 0.2 | 0 - 0.3 | 7 | 6 | 5 | 6 | 7 | 31 | 0 - 0.1 | 0 - 0.1 | 0 - 0.1 | 0 - 0.1 |  |  |  |  |  |
| A | GENERAL PARAMETERS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Iron | mg/kg | 7008.15 | 4490.52 | 4728.45 | 702.62 | 11805.84 | 11497.45 | 10664.53 | 13123.07 | 14672.67 | 7761.22 | 7186.98 | 4384.52 | 11428.57 | 6844 | 702.62 | 8307.04 | 14672.67 | _ | _ |
| 2 | Moisture | % | 36.25 | 35.51 | 31.45 | 31.05 | 28 | 32.6 | 44.85 | 29 | 29 | 33.12 | 27.05 | 40.14 | 18.51 | 24.7 | 18.51 | 31.52 | 44.85 | _ |  |
| 3 | Mineral Oil | mg/kg | 2.37 | BDL | BDL | BDL | BDL | BDL | 0.28 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.28 | 1.33 | 2.37 | BDL | 1000 |
| 4 | Total Organic Carbon (TOC) | % | 3.57 | 3.07 | 2.68 | 3.23 | 0.54 | 1.6 | 1.75 | 0.71 | 0.69 | 0.81 | 2.41 | 8.98 | 1.8 | 1.04 | 0.54 | 2.35 | 8.98 | _ | _ |
| B | HEAVY METALS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Lead (Pb) | mg/lkg | 40.06 | 67.28 | 25.65 | 51.56 | 5.94 | 31.96 | 84.57 | 12.99 | 31.62 | 13.47 | 332.94 | 136 | 78.12 | 96.19 | 5.94 | 72.03 | 332.94 | 58.1 | 499 |
| 2 | Arsenic (As) | mg/lkg | 0.86 | 1.03 | 0.79 | 2.43 | 2.44 | 5.92 | 5.3 | 3.03 | 3.77 | 1.41 | 0.92 | 0.94 | 1.27 | 0.86 | 0.79 | 2.21 | 5.92 | 5.6 | 71 |
| 3 | Cadmium (Cd) | mg/lkg | 1.1 | 3.46 | 0.44 | 0.82 | <0.1 | <1 | 0.54 | <0.1 | 0.1 | <0.1 | 0.5 | 1.75 | 2.12 | 1.41 | 0.10 | 1.22 | 3.46 | 0.6 | 11 |
| 4 | Chromium (Cr) | mg/lkg | 19.81 | 200.72 | 37.19 | 82.38 | 10.62 | 24.38 | 2.31 | 13.45 | 21.65 | 7.69 | 469.83 | 109.68 | 100.32 | 90.58 | 2.31 | 85.04 | 469.83 | 23 | 191 |
| 5 | Copper (Cu) | mg/lkg | 33.25 | 44.58 | 21.16 | 48.83 | 9.23 | 50.25 | 13.78 | 19.37 | 27.5 | 13.4 | 107.7 | 173.83 | 71.02 | 70.06 | 9.23 | 50.28 | 173.83 | 38.9 | 174 |
| 6 | Mercury (Hg) | mg/lkg | 0.32 | 0.3 | 0.11 | 0.32 | <0.1 | <0.5 | 2.54 | 0.19 | <0.1 | 0.12 | 0.9 | 0.93 | 0.67 | 0.19 | 0.11 | 0.60 | 2.54 | 1.4 | 36 |
| 7 | Molybdenum (Mo) | mg/lkg | 0.15 | 0.25 | 0.13 | 0.5 | <0.1 | <1 | 0.71 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | 0.13 | 0.35 | 0.71 | 0.7 | 190 |
| 8 | Silver (Ag) | mg/lkg | 0.69 | < 0.1 | 0.18 | 0.56 | <0.1 | <1 | 4.14 | 0.17 | <0.1 | 0.17 | 1.77 | 0.9 | 1.2 | 1.12 | 0.17 | 1.09 | 4.14 | 2.4 | 15 |
| 9 | Tin (Sn) | mg/lkg | 0.63 | 1.09 | 0.37 | 1.4 | <0.1 | <1 | 3.13 | 0.17 | <0.1 | <0.1 | 3.91 | 3.61 | 2.39 | 0.77 | 0.17 | 1.75 | 3.91 | 1.9 | 985 |
| 10 | Zinc (Zn) | mg/kg | 98.29 | 221.21 | 80.99 | 137.52 | 14.52 | 70.77 | 190.48 | 21.11 | 43.02 | 37.55 | 443.10 | 370.16 | 203.16 | 144.38 | 14.52 | 148.30 | 443.10 | 130.6 | 705 |
| C | Polynuclear Aromatic Hydrocarbons (PAH) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Naphthalene | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | < 0.10 | < 0.10 | < 0.10 | < 0.10 | 0.00 | 0.00 | 0.00 | BDL | _ |
| 2 | Acenaphthlyene | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | < 0.10 | < 0.10 | < 0.10 | < 0.10 | 0.00 | 0.00 | 0.00 | BDL | _ |
| 3 | Acenaphthene | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | < 0.10 | < 0.10 | < 0.10 | < 0.10 | 0.00 | 0.00 | 0.00 | BDL | _ |
| 4 | Fluorene | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | < 0.10 | < 0.10 | < 0.10 | < 0.10 | 0.00 | 0.00 | 0.00 | BDL | _ |
| 5 | Phenanthrene | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 1.57 | 0.13 | 0.47 | 0.10 | 0.10 | 0.57 | 1.57 | BDL | _ |
| 6 | Anthracene | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.56 | < 0.10 | 0.38 | < 0.10 | 0.38 | 0.47 | 0.56 | BDL | _ |
| 7 | Fluoranthene | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 2.70 | < 0.10 | 0.83 | 0.18 | 0.18 | 1.24 | 2.70 | BDL | _ |
| 8 | Pyrene | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 2.70 | < 0.10 | 0.83 | 0.18 | 0.18 | 1.24 | 2.70 | BDL | _ |
| 9 | Benz (a) anthracene | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 2.60 | < 0.10 | 0.81 | 0.25 | 0.25 | 1.22 | 2.60 | BDL | _ |
| 10 | Chrysene | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | < 0.10 | < 0.10 | < 0.10 | < 0.10 | 0.00 | 0.00 | 0.00 | BDL | _ |
| 11 | Benz (a) fluoranthene | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 1.67 | 0.11 | 0.41 | 0.26 | 0.11 | 0.61 | 1.67 | BDL | _ |
| 12 | Benz (k) fluoranthene | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 1.67 | 0.11 | 0.41 | 0.26 | 0.11 | 0.61 | 1.67 | BDL | _ |
| 13 | Benzo (a) pyrene | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 4.18 | 0.31 | 1.31 | 0.50 | 0.31 | 1.58 | 4.18 | BDL | _ |
| 14 | indeno (1.2.3 cd) pyrene | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 1.19 | < 0.10 | 0.36 | 0.16 | 0.16 | 0.57 | 1.19 | BDL | _ |
| 15 | Dibenz (ah) anthracene | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | < 0.10 | 0.42 | < 0.10 | 0.36 | 0.36 | 0.39 | 0.42 | BDL | _ |
| 16 | Benzo (ghi) perylene | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 1.19 | < 0.10 | 0.36 | 0.16 | 0.16 | 0.57 | 1.19 | BDL | _ |
| D | Polychlorinated Biphenyls (PCB) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | 2.4.4-Trichilrobyphenyl (PCB28) | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 2 | 2.2'.5.5'- Terachlorobyphenyl (PCB52) | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 3 | 2.2'.4.5.5'- Pentachlorobyphenyl (PCB101) | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 4 | 2.3'4.4.'5' - Pentachlorobiphenyl (PCB118) | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 5 | 2.2'3.'4.4.'5 - Hexachlorobiphenyl (PCB138) | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |

| COMPARISON OF TEST RESULTS OF SOIL SAMPLES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| COMPARISON OF TEST RESULTS OF SURFACE SOIL / SEDIMENT SAMPLES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | SURFACE SOIL / SEDIMENT SAMPLES TEST RESULTS (1ST CAMPAIGN) |  |  |  |  |  |  |  |  |  | SOIL SAMPLES TEST RESULTS (2ND CAMPAIGN) |  |  |  |  |  |  |  |  |
| Sr No | Parameter | Unit | Surface Sediment Samples |  |  | Mixed Waste Sample from BH - 6. 7 and 8 | Soil Samples from Boreholes |  |  |  |  |  | Surface Soil Samples |  |  |  | Minimum Value | Average Value | Maximum Value | Dutch Standards for Soil |  |
|  |  |  | SW - 1 | SW - 3 | SW - 5 |  | BH - 1 | BH - 2 | BH - 3 | BH - 4 | BH - 5 | BH - 8 | BH - 2 | BH - 3 | BH - 4 | BH - 5 |  |  |  |  |  |
|  | Date of Sampling |  | 12-06-2012 | 12-06-2012 | 12-06-2012 | 12-06-2012 | 18-05-2012 | 26-05-2012 | 24-05-2012 | 22-05-2012 | 21-05-2012 | 13-06-2012 | 17-07-2012 | 17-07-2012 | 13-07-2012 | 17-07-2012 |  |  |  | LIBV | THV |
|  | SGS Certificate |  | GG12- 006488.003 & CH:GL: 3110028779 | GG12- 006488.002 & CH:GL: 3110028753 | GG12- 006488.001 & CH:GL: 3110029721 | GG12- 006967.001 & CH:GL: 3110029754 | GG12- 005914.001 & CH:GL: 3110024811 | GG12- 005988.001 & CH:GL: 3110025935 | GG12- 005915.001 & CH:GL: 3110025569 | GG12- 005914.002 & CH:GL: 3110024815 | GG12- 005914.003 & CH:GL: 3110024816 | GG12- 006594.001 & CH:GL: 3110029084 | GG12- 007603.003 & CH:GL: 3110031918 | GG12- 007603.002 & CH:GL: 3110031917 | GG12- 007603.001 & CH:GL: 3110031915 | GG12- 007603.004 & CH:GL: 3110031919 |  |  |  |  |  |
|  | Depth of Sampling |  | 0 - 0.2 | 0 - 0.2 | 0 - 0.2 | 0 - 0.3 | 7 | 6 | 5 | 6 | 7 | 31 | 0 - 0.1 | 0 - 0.1 | 0 - 0.1 | 0 - 0.1 |  |  |  |  |  |
| 6 | 2.2'4.4.'5.5' - Hexachlorobiphenyl (PCB153) | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 7 | 2.2'3.'4.4.'5.5' - Hexachlorobiphenyl (PCB180) | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ |  |
| E | PESTICIDES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Monocrotophos | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 2 | Phorate | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 3 | Methyl Parathion | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 4 | Malathion | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 5 | Phorate Sulphoxide | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 6 | Phorate Sulphone | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 7 | Malaoxon | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 8 | Aldrin | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 9 | Dieldrin | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 10 | Butachlor | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 11 | Chlorpyrifos | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 12 | Atrazine | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 13 | Ethion | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 14 | Alachor | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 15 | 2.4 - D | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 16 | Isoproturon | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 17 | O.P-DDT | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 18 | P.P-DDT | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 19 | O.P.-DDE | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 20 | P.P.-DDE | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 21 | O.P-DDD | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 22 | P.P-DDD | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 23 | Alpha HCH | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 24 | Beta HCH | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 25 | Gama HCH(Lindane) | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 26 | Delta HCH | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 27 | Alpha -Endosulfan | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 28 | Beta-Endosulphan | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |
| 29 | Endosulfan sulphate | mg/kg | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.00 | 0.00 | 0.00 | _ | _ |

**Note: Comparision of Soil Quality is made with the Dutch Standards for Soil

" - " Data not available

Values above THV Limits

Values above LIBV and below THV